## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Equipment
High-resolution ultrasound machine | Visual Sonics | Vevo2100
13-24 MHz transducer | Visual Sonics | MS250 | Used for imaging rats
22-55 MHz transducer | Visual Sonics | MS550D | Used for imaging mice
Imaging Station | Visual Sonics | Imagine Station 1
1.2F Pressure catheter | Transonic | FTH-1211B-0018
SP200 pressure control unit | Transonic | FFS-095-DP01
Standard Infusion Only Harvard Pump 11 Plus syringe pump | Harvard Apparatus | 702208
Isoflurane vaporizer | VetEquip | 911103
Induction chamber | VetEquip | 941443
100% O2 | Airgas | OX USP200
Single Stage Brass 0-50 psi General Purpose Cylinder Regulator CGA540 | Airgas | Y11215B540
Stereo Boom Stand Microscope | National Optical | 420-BMSQ
Fiber optic illuminator & light pipe | Cole Palmer | EW-41500-50
Supplies
30G x 1/2" BD PrecisionGlide Needle | BD | 305106 | For tail vein cannulation in mice
Polyethylene Tubing PE10 | Becton Dickinson | 427401 | For tail vein cannulation in mice
27Gx1/2" Surfloe winged infusion set | Terumo | SV*27EL | For tail vein cannulation in rats
Signa Gel Electrode Gel | Parker | 15-25 | Use for ECG recording
Aquasonic Clear Ultrasound Gel | Parker | 03-08 | Use for ultrasound
1mL Sub-Q Syringes, 26G x 5/8" | BD | 309597
Nair | Nair |  | Depilatory cream
Histoacryl | TissueSeal | TS1050071FP | Tissue glue
Braided Silk Suture 6-0 | Teleflex | 104-S
Dumostar P55 fine forceps | Roboz | RS-4984
Microscissors | WPI | 501839
Fine scissors | FST | 14060-11
Medium forceps | Ted Pella | 5665
Hemostatic forceps | Roboz | RS-7131
Non-sterile cotton gauze sponge | Fisherbrand | 22-362-178
Cotton tipped applicators | Oritan | 803-WC
Label tape | Fisherbrand | 15-901-20
Drugs
Sodium chloride | Sigma Aldrich | S7653
R-Phenylephrine hydrochloride | Sigma Aldrich | P6126
Sodium nitroprusside dihydrate | Sigma Aldrich | 71778
Software
Prism | GraphPad
Excel | Microsoft

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=