# Submission ID #: 52161

# Editor Name: Renee Choi

# Videographer Name: Lyt Capell

# Film Date: 7/24/14

# Authors and Affiliations: Michael J. Rothrock1, Kelli L. Hiett2, John Gamble3, Andrew C. Caudill4, Kellie M. Cicconi-Hogan1, J. Gregory Caporaso5

1Egg Safety and Quality Research Unit, USDA-Agricultural, Research Service, Athens, GA, USA; 2Poultry Microbiological Safety & Processing Research Unit, USDA-Agricultural Research Service; 3Department of Biochemistry and Biophysics, Oregon State University, Corvallis, OR, USA; 4College of Public Health, University of Georgia, Athens, GA, USA; 5Department of Biological Genetics and Genomics, Northern Arizona University, Flagstaff, AZ, USA

# Title: A Hybrid DNA Extraction Method for the Qualitative and Quantitative Assessment of Bacterial Communities from Poultry Production Samples

# Corresponding Author:

# Michael J. Rothrock, Jr.

# Egg Safety and Quality Research Unit

# USDA-Agricultural Research Service

# 950 College Station Road

# Athens, GA, USA

# 706-546-3072 (phone)

# 706-546-3633 (fax)

# Michael.rothrock@ars.usda.gov

# Co-authors: Kelli L. Hiett: kelli.hiett@ars.usda.gov; John Gamble: gamblej@onid.oregonstate.edu; Andrew C. Caudill: acaudill@uga.edu; Kellie M. Cicconi-Hogan: kellie.hogan@ars.usda.gov; Gregory J. Caporaso: gregcaporaso@gmail.com

1. Brief Questionnaire:

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)__No_______  (If you can record images/videos using your own camera/software, then mark No). If yes, please list make and model of your microscope: _____________________________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___No_____ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps by their protocol number. _______1.4 – 2.6 ___________________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list the step by its protocol number.___1.5-1.7 ___________________

E.  Will the filming need to take place in multiple locations? (Y/N) ___No____ If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of the following experiment is to develop a novel DNA extraction technique that combines mechanical DNA homogenization with PCR-inhibitor removal and the gold standard enzymatic extraction method to environmental samples along the poultry production continuum. (Intro)

This is accomplished by first dividing out an environmental sample into microcentrifuge tubes containing a mixture of beads to effectively homogenize the complex environmental samples. (P1: Display the image of the chickens, if possible, use a graphic image of a chicken from the image database. Add the arrow from the chicken to the two tubes (add one more tube identical the the one in P1). When you show the two tubes, if possible, have the sample (brown puzzle piece like shape) float to the bottom of the tubes, but still on top of the gray beads. Shot 2.2.1)

The second step is to place the tubes into a high-powered homogenizer to efficiently release nucleic acids from the bacterial cells and the environmental matrix. (P2: Leave the tubes on the screen from P1 and spin them in place, if possible, or show the arrows provided to indicate the samples are homogenized, then show the tube to the right of the circular arrows, but duplicate the tube (with the beads afloat in the brown liquid). Shots 2.5.1 & 2.5.2)

Next, the homogenate is used as the starting material for the gold standard enzymatic DNA extraction method through the PCR-inhibition binding phase. (P3: Leave the two tubes on screen from P2 and add the arrow and show two tubes (light pink and brown) on the right. Shots 3.4.1 & 3.4.2)

The final step is to place the samples into a DNA extraction robotic workstation to provide the user with extracted DNA samples amenable to a host of downstream applications. (P4: Duplicate the tube so there are two identical tubes (the tube on the left), then add the arrow when “DNA extraction” is said and add the rectangular image in the middle, then add the second arrow and show the tubes on the right when “DNA samples” is said. Shots 4.3.2 & 4.5.1)

Ultimately, quantitative PCR and microbiomic analyses using the Illumina MiSeq platform were used to show that this novel hybrid method provides the best combination of qualitative and quantitative assessments of total bacterial communities, compared to processing samples with the mechanical or enzymatic extraction method alone. (P5: LAB MEDIA: Figure 1 & 2)

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Michael Rothrock Jr.: Though this method can provide insight into microbial community analysis throughout the poultry production continuum, it can also be applied to other systems, such as swine, cattle, and crop production systems that contain similarly complex environmental samples.

  - Michael Rothrock Jr. Demonstrating the procedure will be Katelyn Griffin a student from my laboratory. (Add additional mention of demonstrators as necessary).

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol (read by voice talent at JoVE):

- Mechanical Homogenization

  - To begin the experiment, set a water bath to 95 °C.

    - MED/WIDE: Talent approaches water bath and sets the temperature, if possible, capture the settings of the water bath as talent programs the machine.

  - Next, weigh out three replicates of 0.33 g to analyze a total of 1 g of room temperature soil or fecal material into a 2 mL lysing matrix E tube. Change gloves between samples.

    - MED – Over the Shoulder: Talent has three separate lysing matrix E tubes laid out, and weighs out 0.33 g into one tube.

    - Added shot: MCU- Talent changes glove and takes sample of feces.

  - Add 825 microliters of sodium phosphate buffer and 275 microliters of pre-lysis solution, or PLS, to a sample tube, then vortex the samples for 15 seconds. After mixing, centrifuge the tubes at 14,000 x g for 5 minutes.

    - MED: Talent has previously prepared sodium phosphate buffer and PLS on bench (if they are labeled, capture the labels in the shot) and adds them one by one to the sample tube, then mixes the contents by vortexing.

    - MED – Over the Shoulder: Talent places last tube in centrifuge and enters the settings, capture the settings if possible.

  - Decant the supernatant and add 700 microliters of Buffer ASL, then vortex the tube for 5 seconds. Open one tube at a time to prevent contamination

    - MED: Talent removes the supernatant and adds Buffer ASL, closes the tube and vortexes the tube. (Do not use take one. Cut shot before cap falls off.)

    - Added shot: MED- Talent closes the tube and vortexes the tube.

  - Next, ensure that there is a headspace of 10% of the total volume in the conical tube before placing the samples into the FastPrep 24 instrument. Homogenize the samples at a speed of 6.0 meters per second for 40 seconds. Note the difference between FastPrep 24 and Vortexing (Editor: Insert text under each tube: “FastPrep” vs. “Vortexing)

    - CU/ECU: Talent holds tube up to camera to demonstrate there is a 10% headspace in the tube then places the tube into the FastPrep 24 instrument.

    - MED – Over the Shoulder: Talent then places the tube into the FastPrep 24 instrument. Talent enters settings into FastPrep 24 instrument. If possible, capture the settings entered.

    - Added shot: Talent holds tubes up to show the difference; Vortex Vs. Homogenized.

  - After homogenization, centrifuge the sample at 14,000 x g for 5 minutes. Transfer the supernatant to a sterile 2 mL microcentrifuge tube.

    - MED: Talent removes samples from instrument and transfers them to a centrifuge, then enters settings, capture settings if possible.

    - MED/CU: Side view. Talent uses pipette to move supernatant into centrifuge tube.

  - To the remaining sample in the Lysing Matrix E tube, add an additional 700 ul of ASL Buffer, re-homogenize and re-centrifuge using the previous settings.  For each sample, combine the homogenization supernatants into the same sterile 2 ml microcentrifuge tube.

    - Added shot: Use 2.5.2 scene

# (previous 2.7.1) MED: Talent has three replicates on bench and uses a pipette to combine the supernatants into one centrifuge tube.  Pipettes 2nd homogenization supernatants to 1st in the same tube.

- Enzymatic Inhibition of Inhibitors from Sample Homogenates

  - Place plastic locking clips on the sample tubes to ensure they will not pop open and incubate the supernatants in a 95 °C water bath for 5 minutes.

    - MED – Over the Shoulder: Talent is next to sample tubes by a water bath, some of the samples tubes have plastic locking clips already on them. Talent places a locking clip on the last tube and places the tubes into the water bath all at once, then sets a timer for 5 minutes.

  - Next, open each microcentrifuge tube to release the pressure, re-cap the tubes, and vortex them for 15 seconds. Centrifuge the samples at 14,000 x g for one minute.

    - MED: Talent removes the tubes from the water bath, sets them down, then opens and closes the tubes and vortexes the tubes.

    - MED – Over the Shoulder: Talent places the tubes into the centrifuge, if possible, capture the settings entered on the centrifuge.

  - After centrifugation, transfer 1.2 mL of the supernatant into a sterile 2 mL microcentrifuge tube.

    - MED/CU: Talent transfers the supernatant with a pipette into a new tube.

  - Then, place the blister pack containing the tab directly over the open microcentrifuge tube and gently push the tab out of the blister pack into the tube to avoid contact between the InhibitEx tab and the tube. Add one InhbitEx tab to each sample.

    - CU: Talent gently pushes the tab out of the blister pack into the tube (make sure to capture a shot of the placement of the blister pack in the tube).

    - MED/CU: Talent continues to add a tab to each sample.

  - Next, vortex the tubes until the samples turn to a uniformly off-white liquid. Incubate the samples for one minute at room temperature and centrifuge them at 14,000 x g for 5 minutes.

    - MED: ACU: – Over the Shoulder: Talent vortexes the tube, and shows the resulting off-white liquid color to the camera.

    - MED: A timer goes off indicating one minute has passed and the talent places the samples into the centrifuge. Again, if possible, capture the parameters entered.

  - While avoiding any remaining particles at the bottom of the tubes, transfer all liquid to a sterile 1.5 mL microcentrifuge tube, then centrifuge the tubes at full speed for 5 minutes.

    - CU/ECU: Talent uses a pipette to carefully transfer the liquid to a microcentrifuge tube, capture the talent avoiding the particles at the bottom of the tube.

    - MED: Talent then places it in a centrifuge.

- Automated DNA Purification with the QIAcube Robotic Workstation

  - Before starting automated DNA purification, make sure the workstation contains the appropriate amount of filter tips and buffers.

    - MED/WIDE: Talent checks the workstation and stocks it with filter tips and visually inspects the buffers.

  - Next, add elution tubes and filter tubes to the rotor adapters and add 400 microliters of each sample to the middle slot of the rotor adapter. Place the rotor adapters in the workstation centrifuge and ensure all of the microcentrifuge tube lids are properly secured within the rotor adapter.

    - MED – Over the Shoulder: Talent adds an elution tube and a filter tube to the rotor adapter then obtains the sample

    - [split shot] Beta-CU- Talent uses a pipette to add the sample to the middle slot of the rotor adapter. (Slates as 4.2.1.)

    - MED – Over the Shoulder: Talent places the rotor adapters in the centrifuge then physically checks that the tubes are secure.

  - Add proteinase K solution to a sterile 1.5 mL microcentrifuge tube and place it into slot A on the workstation. Add 2 mL safe-lock microcentrifuge tubes to the shaker section of the workstation and ensure the lids of the sample tubes are securely placed.

    - MED: MCU: Talent obtains proteinase K and adds it to a 1.5 mL tube, then places the tube into slot A.

    - MED: Talent fills the shaker section of the workstation with microcentrifuge tubes and physically checks that the sample tubes are secure.

  - Using the touchscreen on the workstation, select the DNA Stool – Human Stool – Pathogen Detection Protocol and read through the subsequent screens to make sure the workstation was loaded correctly. Once all check screens are passed, select start to run the protocol.

    - MED – Over the Shoulder: Talent approaches touchscreen, selects the appropriate prompt, then passes through different screens.

    - MED – Over the Shoulder: Talent reaches a screen indicating all check screens are passed and/or the workstation was loaded correctly.

  - Then, remove the samples from the rotor adapters. Combine the three replicate purifications for an individual sample using a centrifugation/evaporation-based system. Re-elute the sample to a final volume of 100 microliters with Tris-EDTA buffer.

    - MED: Talent takes out samples from rotor adapters.

    - MED/CU: Talent combines the replicates into a special tube,

    - [split shot] Beta (Misslated: 4.5.2) MED: Talent then places it into the centrifuge.

    - MED/CU: Talent adds 100 microliters of Tris-EDTA buffer to the tube and mixes the sample with a pipette.

  - Finally, cap the samples, and place them at -20 °C until they are needed for downstream analysis.

    - MED: Side view, talent has samples lined up in a box, he/she caps the last sample, and places it into the box, closes the box, then places it in the freezer.

- Results: Hybrid DNA Extraction Method Effective for Total Bacterial Assessment

  - This graph demonstrates that the mechanical method consistently provided the overall highest total bacterial normalized gene abundance estimates for fecal and litter samples. The enzymatic method had the lowest estimates in all cases. The novel hybrid extraction method produced the best combination of qualitative and quantitative total bacterial community estimates of the three extraction methods tested.

    - LAB MEDIA: Figure 1, Table 2 (Display Figure 1 first, with all text. When “mechanical” is said, highlight the text for mechanical on the x-axis by boxing or coloring in blue. When “fecal” and “litter” are said, highlight the bar graphs for mechanical fecal and then litter samples, respectively. Remove the highlighting. When “enzymatic” is said highlight the text by boxing or coloring in yellow the text in the y-axis and simultaneously highlight the bars above enzymatic. Display Table 2 in a split screen with Figure 1, when the last sentence begins. If possible, format the table as displayed below. Highlight by boxing or coloring in green the text, bars (in the graph), and rows (in the table) for “hybrid” when “qualitative and quantitative” is said.)

| # SAMPLE TYPE | # EXTRACTION METHOD | # RICHNESS |
| --- | --- | --- |
| # FECES | # MECHANICAL | # 453.73 (80.75) |
|  | # ENZYMATIC | # 472.08 (21.50) |
|  | # HYBRID | # 462.90 (74.71) |
| # LITTER | # MECHANICAL | # 423.81 (45.25) |
|  | # ENZYMATIC | # 546.61 (38.74) |
|  | # HYBRID | # 463.04 (66.45) |

- Conclusion (said by authors on camera)

  - Michael Rothrock Jr.: After watching this video, you should have a good understanding of how to perform this novel, semi-automated hybrid DNA extraction method, and see its utility in quantitatively and qualitatively assessing microbial communities from complex environmental samples.

# Provided Media

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.