Nicholson 52164 redos (6)

3.6  Place the assembly facing downward on top of the sample.  Fit the assembly onto the studs of the AFM. (4:35, rewrite)

3.9b Presently, they should be closely aligned, but no completely overlapping.  (5:29, rewrite)

3.15 Now, finely adjust the laser and mirror controls until the sum signal on the microscope is maximized to between four and six. (6:44, rewrite)

4.3b Wait ~ 30 seconds for the solution to reside on the surface. (8:48, rewrite)

4.7 Do not allow the cloth to touch the sample.  Carefully, remove the sample from the cloth with the disk grippers and place the sample onto the AFM scanner. (9:41, new sentences)

4.8 Place the fluid cell on top of the sample, and proceed with the set up and imaging. (9:45, new sentence)