## Sheet2
Name of Material/ Equipment | Type | Company | Catalog Number | Comments/ Description
4-channel extracellular amplifier: MA 102 | Amplifier | Elektroniklabor, Zoologie, Universität zu Köln, Germany |  | for extracellular recording
air-table |  | Technical Manufacturing Corporation (TMC) a unit of AMETEK Ultra Precision Technologies, Peabody, MA, USA | 63-534 | for intracellular recording
Axon Digidata 1440A | Digitizer | Axon Instruments, Molecular Devices Design, Union City, CA | DD1440A | digitizes recorded signals
big bucket |  |  |  | filled with ice
Clampex & Clampfit | pClamp 10, recording and analysis software | Molecular Devices Design, Union City, CA | pClamps 10 Standard | for extracellular recording
cold lamp source | with flexible light guide (fiber optic bundle) | Euromex microscopes holland, Arnhem, BD | LE.5211 & LE.5235
computer and monitor | equipped with recording software |  |  | for extracellular recording
container and pipette for liquid waste
crayfish saline | contains (in mM): 5.4 KCl, 2.6 MgCl2, 13.5 CaCl2, and 195 NaCl, buffered with 10mM Tris base and 4.7mM maleic acid; aerated for 3 hours. Adjust at pH of 7.4. |  |  | always keep at temperatures ~ 4° C
dextran, Texas Red (3000MW, lysine fixable) | fluorescent dye, lysine fixable | Life Technologies GmbH, Darmstadt, Germany | D3328 | for intracellular dyefill of neurons
differential pin electrodes | made from stainless steel ɸ 0.2 mm |  |  | for extracellular recording
dissection dish | (l x w x h) 15x7x5 cm; linned with black silicone |  |  | used in the gross disection
faraday cage |  |  |  | for extracellular recording
fixing pins |  |  |  | for pinning the specimen
forceps (biology, Dumont #5) | Forceps: Biology, tip 0.05 x 0.02 mm, length 11cm, INOX | Fine Science Tools (FST), Germany | 11252-20 | fine forceps: used to pick nerves
forceps (biology, Dumont #55) | Forceps: Biology, tip 0.05 x 0.02 mm, length 11cm, INOX | Fine Science Tools (FST), Germany | 11255-20 | extra fine forceps: used for desheathing
forceps (electronic, Dumont #5) | Forceps: Standard, tip 0.1 x 0.06 mm, length 11cm, INOX | Fine Science Tools (FST), Germany | 11251-20 | coarse forceps: used to grab specimen and pins
intracellular electrode | Borosilicate glass capillaries (outer/inner diameter: 1mm/0.5mm), with filament | Sutter Instruments, Novato, CA | BF100-50-10 | for intracellular recording and dyefill of neurons
Leica S8 Apo StereoZoom | Dissection Microscope Zoom 1x - 8x | Leica, Germany | 10446298 | for extracellular recording
microscope table |  |  |  | for extracellular recording
mirror | to illuminate preparation from below |  |  | for extracellular recording
modeling clay |  |  |  | for extracellular recording
Olympus SZ61 | Dissection Microscope Zoom 0.67x - 4.5x | Olympus, Germany |  | for the dissection
petri dish | 94 x 16 mm; lined with clear silicone | Greiner bio-one, Germany | 633180 | used to pin the isolated chain of ganglia
ring scissors | ThoughCut, cutting edge: sharp/blunt, straight: 13cm | Fine Science Tools (FST), Germany | 14054-13 | for gross dissection (steps 2.1 - 2.11)
saline dispenser with a 16 gauge needle (outer ɸ 1.6mm) attached via a flexible tube. | Volume ~ 60ml, |  |  | used for exsanguination
spring scissors or alternative: Vannas spring scissors | cutting edge: 8 mm, tip diameter: 0.2mm, straight: 10cm or cutting edge 2.5 mm, tip diameter 0.075 mm, straight: 8cm | Fine Science Tools (FST), Germany | 15024-10 or 15000-08 | for desheathing
stainless steel wire ɸ 0.125 mm | to cut pins of 4-7 mm length | Goodfellow GmbH, Bad Nauheim, Germany |  | for pinning of the nerve cord
student Vannas spring scissors or alternative: Moria Spring Scissors | cutting edge: 5mm, tip diameter: 0.35mm, straight: 9cm or cutting edge: 5mm, tip diameter 0,1 mm, straight: 8 cm | Fine Science Tools (FST), Germany | 91500-09 or 15396-00 | for gross and fine disection (steps 2.11 - 3.14)
sylgard | 184 Silicone Elastomer Base and Curing Agent; for black sylgard add activated carbon | Dow Corning, Midland, MI, USA
syringe filled with petroleum jelly and equipped with a 20 gauche needle with rounded tip |  |  |  | for extracellular recording

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | AAAAAH384Q8=