Forestier 52303 redos (14)

P2  This is accomplished by first exposing the liver and injecting a fluorescent plasma reagent intraveinously to label the liver vasculature. (0:12, rewrite)

P3 The liver sinusoids and the erythrocytes travelling into them were then visualized by confocal microscopy in real time. (0:20, rewrite)

P4 The hepatic vessels of interest are then selected for measurement of their blood flow velocity. (0:35, rewrite)

P5 Ultimately, the blood flow speed within individual VESSELS under normal physiological conditions and following Leishmania infection can be quantified. (0:41, rewrite)

2.5 Then place a 24 x 60 mm, 150 micrometer thick coverslip, cyanoacrylate-bonded to a metal frame, on top of the liver, flip over the mouse and cover the animal’s eyes with another piece of wet gauze.  (2:44, rewrite)

3.5 Set the speed to 8,000 Hz and select pinhole and a zoom factor of 3. (3:57, rewrite)

3.7 Using the USB control panel adjust the focus of the liver based on the fluorescence of the injected plasma reagent dye. (4:21, rewrite)

4.3 Then stop the "Live" mode and change the format set width to 1024 x 256 in the acquisition mode setting window. Set the line and frame averages to 1 and set the “stacks” to 150. (4:30, rewrite)

4.9 Track individual red blood cells within a single vessel and analyze a minimum of three individual vessels of the same size. (6:20, rewrite)

5.2 Move the vessel of interest into a horizontal position and set the central lumen of the selected vessel along the line scan as just demonstrated. Then stop the "Live" mode once the vessel is in place.  (6:53, rewrite)

5.3 Now select the "xt" scanning mode. (7:01, rewrite)

5.6 Using the “draw line” tool, draw a line along the streak, which indicates the corresponding distance in micrometers and the time in seconds. (7:49, rewrite)

6.1 Using the MTrackJ plugin for ImageJ software, quantitative analysis of the velocity of these individual red blood cells in a single vessel demonstrated that the velocity of a red blood cell migrating through small liver vessels averages between 25-35 micrometers/second.  (7:49)

6.5a In this final representative experiment, the blood flow in the liver of L. donovani-infected mice was evaluated.  (9:20, rewrite)