## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
IPL-2 Basic Lung Perfusion System | Harvard Apparatus
Tweezer #5 stainless steel, curved 11cm | Kent Scientific Corporation | IND500232
Tweezer #5 Dumostar, 11cm | Kent Scientific Corporation | INS500085-A
Tweezer #7 Titanium, 12cm tips curved | Kent Scientific Corporation | INS600187
McPherson-Vannas Scissors 8cm, Str 5mm | Kent Scientific Corporation | INS14124
Vannas Scissors 8cm Str 5mm | Kent Scientific Corporation | INS14003
Instrument Sterilization Tray 5" x 7" | Kent Scientific Corporation | INS800101
Heparin 30,000 units per 30mL | APP Pharmaceuticals | Supplied from OSU Pharmacy
Ketamine 500mg per 5mL | JHP Pharmaceuticals | Supplied from OSU Pharmacy
Xylazine 100mg per 1mL | Akorn | Supplied from OSU Pharmacy
10cc insulin syringe 29 Ga x 1/2" needle | B-D | 309301
Hyflex NBR | Ansell | S-17310M | Bite proof gloves
BL1500 | Sartarius | Practum 1102-1S | Scale
Large Flat Bottom Restrainer | Braintree Scientific Inc | FB L 3.375 dia x 8.5, 250-500gm rat | Rat tunnel for injection
Sterling Nitrile Powder-free Exam Gloves, Large | Kiberly-Clark | 50708
Rapidpoint 405 | Siemens |  | blood gas analyzer
Fiberoxygenator D150 | Hugo Sachs Elektronik | PY2 73-3762
LabChart v7.3.7 | ADInstruments
Tracheal cannula | Harvard Apparatus | 733557
Pulmonary Artery cannula | Harvard Apparatus | 730710
Left Atrium cannula | Harvard Apparatus | 730712
Peristaltic Pump | Ismatec | ISM 827B
Small Animal Ventilator model 683 | Harvard Apparatus | 55-000
Ecoline Star Edition 003, E100 | Lauda | LCK 1879 | Water Heater
Tubing Cassette | Cole-Parmer | IS 0649
Connect kit D150 | Cole-Parmer | VK 73-3763
PowerLab 8/35 | ADInstruments | 730045
TAM-A transducer amplifier module type 705/1 | Hugo Sachs - Harvard Apparatus | 73-0065
TAM-D transducer amplifier type 705/2 | Hugo Sachs - Harvard Apparatus | 73-1793
SCP Servo controller for perfusion type 704 | Hugo Sachs - Harvard Apparatus | 732806
CFBA carrier frequency bridge amplifier type 672 | Hugo Sachs - Harvard Apparatus | 731747
VCM ventilator control module type 681 | Hugo Sachs - Harvard Apparatus | 731741
TCM time control module type 686 | Hugo Sachs - Harvard Apparatus | 731750
IL2 Tube set for perfusate | Harvard Apparatus | 733842
Tube set for moist chamber | Harvard Apparatus | 73V83157
Tygon E-3603 Tubing 2.4mm ID | Harvard Apparatus | 721017 | perfusate line entering lung
Tygon E-3603 Tubing 3.2mm ID | Harvard Apparatus | 721019 | perfusate line leaving lung
low potassium dextran glucose solution |  |  | flushing the lung

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=