Pava-Ripoll 52372 redos (7)

P5 Ultimately, the combination of PCR-based detection and pure colony isolation is used to assess the prevalence of Cronobacter (pronounced: kroh-noh-back-ter), Salmonella (pronounced: sal-meh-NEL-eh), and Listeria monocytogenes (pronounced: lis-TEER-ee-ah mon-oh-sigh-TAWJ-eh-neez) from the alimentary canals and the body surfaces of individual wild-caught flies. (1:30, rewrite)

2.4b  Surface-disinfect the fly by immersing it in 70% ethanol and mix gently for 1 minute, and then remove the ethanol. (3:18, rewrite)

2.10 Place the remainder of the fly in a clean 2 ml tube containing 95% ethanol for long-term storage at -20 °C. (4:57, rewrite)

3.3 For negative controls, add 20 µl of sterile medium. For positive controls, add 20 µl from overnight bacterial cultures of known Salmonella or Cronobacter strains. (6:31, rewrite)

5.1 To isolate pure bacterial colonies, select the primary enrichment tubes of samples that were PCR-positive. (8:18, rewrite)

5.3a After incubation, streak a 3-mm loopful of each medium on bismuth (pronounced: BIZ-muth) sulfite agar, XLD agar, and Hektoen (pronounced: HECK-toh-en) enteric agar. (8:45, rewrite)

5.5 For Cronobacter, streak a loop-full from the primary enrichment tube on two plates of chromogenic culture medium such as R&F Enterobacter sakazakii (pronounced: en-ter-OH-back-ter sah-kah-ZAH-kee-igh) chromogenic plating medium. Incubate the plates at 35 °C for 22 to 24 hours, and then examine them for blue-black or blue-gray colonies. (9:33, rewrite)