# Submission ID #:  52394

# Editor Name: Nadeeka Dias

# Videographer name: Thierry Samuel Germain

# Film Date: September 2015

# Authors and Affiliations: Deepesh Kumar1, Abhijit Das2, Uttama Lahiri1, Anirban Dutta3

Indian Institute of Technology Gandhinagar, Gandhinagar, India1; Institute of Neurosciences Kolkata, Kolkata, India2; Institut national de recherche en informatique et en automatique-INRIA, Montpellier, France3

# Title: A human-machine-interface integrating low-cost sensors with a neuromuscular electrical stimulation system for post-stroke balance rehabilitation

# Corresponding Author:

# Dutta, Anirban

# anirban.dutta@inria.fr

# Co-authors:

Kumar, Deepesh

deepesh.kumar@iitgn.ac.in

Das, Abhijit

abhijit.neuro@gmail.com

Lahiri, Uttama

uttamalahiri@iitgn.ac.in

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? No

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? Yes. 
 If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

# C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps using the step numbers listed in this document. Step 3.4-3.6: Evaluation of post-stroke eye movements and Steps 6.4-6.6: Multi-sensor Data Collection during VBT

# D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list the steps using the step numbers listed in this document. Step 5.5:  Ask the subject to perform various visually cued reach movements that affect center of mass and center of pressure location.

E.  Will the filming need to take place in multiple locations? No

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Procedural Narrative:

The overall goal of this procedure is to apply video game sensor technology towards a low-cost human-machine-interface for balance rehabilitation. (Intro)

This is accomplished by first setting up Mobile Brain/Body Imaging, or MoBi (pronounced Mo-Bee), equipment and software (P1: Shot 2.2.1 - Talent orients motion sensor. Then, 2.3.1 – Talent places balance board on floor)

The second step is to place MoBI sensors on the body to capture physiological data. (P2: Shot 2.6.1 - Talent places the EEG cap on the subject. Then, shot 2.5.1 --Talent places the electrodes for EEG/EOG, EMG and NMES)

Next, an eye tracker is used to evaluate post-stroke visual pursuit eye movements. (P3: Shot 3.2.1- Subject is made to sit at a distance of 50 cm from the eye tracker. Then, shot 3.4.1 – talent instructs subject to look at screen for calibration)

Eye-tracking will show that gaze-related indices can help in delineating post-stroke occulomotor deficits which may be relevant for planning visuomotor balance therapy. (P4: Shot 3.6.1 – Subject completing eye-tracking task.)

Then, sensors for neuromuscular electrical stimulation, or NMES-assisted (pronounced N-M-E-S), visuomotor balance therapy under MoBI are calibrated. (P5: Shot 5.1.1 – Subject steps on the balance board; Then, shot 5.5.1 – Talent completes maximum reach movements for calibration)

The final step is to collect multi-sensor data from low-cost sensors during visuomotor balance therapy. (P6: Shot 6.2.1 – Talent collecting data on computer. Then, shot 6.5.1– subject completing visuomotor balance task by steering cursor on screen with body movement)

[Video editor - Authors have requested the use of shots for the overview.]

B.  Interview: (Said by you on camera. Don’t forget to smile!)

  - Anirban Dutta: The implications of this technique extend toward home-based rehabilitation therapy that contribute to balance disorders in post-stroke patients.

  - Uttama Lahiri:  The developed system uses a gaze-based prognostic tool and one’s gaze pattern as an important ingredient to plan visuomotor balance therapy.

  - Abhijit Das: Though this method can provide insight into the implications of stroke during a visuomotor balance task, it can also be applied to other systems, such as autism spectrum disorder and psychomotor disturbances in depression.

# Protocol (read by voice talent at JoVE):

- Mobile Brain/Body Imaging (MoBI) Setup and Sensor Placement

  - Begin by obtaining a projection screen to display the visual biofeedback. Adjust the height so that the center of the screen will be at the subjects’ eye-level.

    - MED: Talent deploys a projection screen.

    - MED: Talent adjusts the height of the projected screen so that it is at the subjects’ eye-level.

  - Then, place the motion capture sensor in front of the projection screen, and aim it at the volume of motion capture. Confirm that the volume of motion capture is 1.5 m to 2.5 m in front of the motion capture sensor.

    - MED: Talent places the motion capture sensor in front of the projected screen.

    - LABMEDIA: Figure 2b [Video editor: Highlight the 1.5 m line when mentioned, then highlight the 2.5 m line when mentioned in the VO. Highlight the dotted line box that says “volume of motion data capture” as mentioned in the VO and lightly fill in.]

  - Next, place the balance board on the floor, about 2.0 m away from the motion capture sensor ….  Leave enough room around the balance board to ensure full-body movement.

    - WIDE: Talent places the balance board on the floor 2.0 m away from the motion capture sensor. [Video editor: Show a red line from the motion capture sensor to the balance board, and label 2.0 m]

    - MED: Talent stands on balance board and stretches arms out to the side, then bends knees and stretches both arms to the front to indicate full body movement on the visual biofeedback.

  - To begin sensor placement for electromyography, or EMG (pronounced E-M-G), and the NMES, (pronounced N-M-E-S), system, ask the subject to sit on a chair.

    - MED: Talent escorts subject in to the room.

    - MED: Talent sits on the chair for the placement of the sensors. (TEXT: EMG and NMES sensor placement)

  - Place the EMG and NMES electrodes bilaterally on the Medial Gastrocnemius (pronounced gas-troke-nemus) and Tibialis (pronounced tee-bee-al-us) Anterior muscles of the subject. Then, connect the electrodes to the wireless NMES simulator system.

    - MED: Talent places the EMG electrodes bilaterally on the Medial Gastrocnemius and Tibialis Anterior muscles of the subject (TEXT1: Medial Gastrocnemius; TEXT2: Tibialis Anterior) [Video editor: Show text overlays as mentioned in the VO].

    - MED: Talent connects the electrodes to the wireless EMG-driven NMES system. (TEXT: NMES of knee extensors may be required to prevent knee buckling.)

  - Next, place the electroencephalogram, or EEG (pronounced E-E-G), cap on the subjects’ head by following the international 10-20 (pronounced ten-twenty) system. Use conductive paste to adhere the electrodes seen here to the scalp before connecting them to the wireless EEG headset.

    - MED: Talent places the EEG cap on the subjects’ head.

    - MED: Talent puts conductive paste under two electrodes to adhere them to the scalp. (TEXT: Fz, C3, Cz, C4, P3, Pz, P4, PO7, Oz, PO8)

    - MED: Talent connects the electrodes to the wireless EEG headset.

  - Place two passive EEG electrodes above and below one eye to capture the vertical electrooculogram, or EOG (pronounced E-O-G), and another two at the outer canthus of each eye to capture the horizontal EOG.

    - MED: Talent places one EEG electrode above one eye, and another electrode below the same eye.

    - MED: Talent places another two electrodes at the outer canthus of each eye.

  - Finally, place two passive EEG electrodes on the subjects’ earlobes to serve as EEG reference electrodes.

    - MED: Talent places two EEG electrodes, one on each of the subjects’ earlobes.

- Evaluation of Post-Stroke Eye Movements

  - Begin by placing the eye tracker just below the visual feedback computer monitor and connect it to the visual feedback computer using USB-3 port.

    - MED: Talent places the eye tracker on a tripod stand just below the visual feedback computer.

    - MED: Talent connects the eye tracker to the visual feedback computer using the USB port.

  - Then, ask the subject to sit at the desk at a distance of 50 cm from the eye tracker. Adjust the visual feedback computer monitor so that the subjects’ eyes are at the center of the monitor.

    - MED: Subject sits at a desk and looks straight towards the visual feedback computer monitor. [Video editor: Show a red line from the chin to the eye tracker, labeled ’50 cm’.]

    - MED: Talent adjusts the visual feedback computer monitor to the subjects’ eye-level.

  - In the visual feedback computer open the ‘EyeTribe server' (pronounced Eye-Tribe-Server) and ‘EyeTribeWinUI’ (pronounced Eye-Tribe-Win-U-I) to ensure whether the subject's eyes are detected in the GUI (pronounced gooey) and to perform the eye tracker calibration routine subsequently.

    - SCREEN: Talent opens the ‘MoBI’ folder in the visual feedback computer, then opens the 'EyeTribe server.exe' and ‘EyeTribeWinUI.exe’ in the ‘SmartEye’ folder and makes sure that the eyes are being detected on screen.

  - Next, ask the subject to look straight at the visual feedback computer monitor for visual cues. Run the eye tracker calibration routine by clicking on calibrate tab in the GUI.

    - MED: Talent stands next to the subject and points to the visual feedback computer monitor.

    - MED (over shoulder): Talent clicks on the calibrate tab (TEXT: Eye tracker Calibration)

    - SCREEN: Talent clicks on the calibration tab shown in the EyeTribe GUI. After the calibration routine finishes, the talent clicks on the ACCEPT button (if the calibration result shows star performance in the GUI).

  - Run the 'Visual_Stimulus.exe' (pronounced visual-underscore-stimulus-dot-e-x-e) in the SmartEye folder to execute the virtual reality based interface. Subsequently run the 'SmartEye.exe' (pronounced smart-eye-dot-e-x-e) program present in the ‘SmartEye’ folder to acquire the subjects’ eye gaze data that is synchronized with the virtual reality based task.

    - SCREEN: Talent opens the ‘MoBI’ folder in the visual feedback computer, then opens 'Visual_Stimulus.exe' in the ‘SmartEye’ folder which shows the virtual reality based GUI for presenting the visual stimulus, then opens 'SmartEye.exe’ (TEXT: Visual_Stimulus.exe; SmartEye.exe) which prompts the command window with the message 'connected'. Talent then presses the space bar to present the visual stimuli on the screen.

  - Ask the subject to follow the fixed and moving visual stimuli at various positions on the visual feedback computer screen in order to evaluate post-stroke pursuit eye movements.

    - MED (over shoulder): Subject is following fixed and moving visual stimuli on the screen.

- NMES-assisted Visuomotor Balance Therapy (VBT) under MoBI

  - First, connect the eye-tracker and balance board sensors to the visual feedback computer.

    - MED: Talent connects the eye-tracker to the computer and then attaches the eye-tracker to the neck holder. Then, the talent repeats eye-tracker calibration (section 3.4.3).

  - Turn on the balance board, or BB (pronounced B-B) sensor. Press the button on the BB sensor to make the remote discoverable in the menu. Click on the show or hide icon in the system's taskbar and click on bluetooth device icon. Then click on the 'Add a Device' option and pair the BB as a bluetooth device without using the code to the visual feedback computer.

    - MED: Talent turns on the balance board sensor. Talent then presses and releases the button on the balance board sensor to make it discoverable in the menu.

    - SCREEN: Talent opens system menu for Bluetooth in the visual feedback computer and pairs the BB to the visual feedback computer by selecting the option 'without using a code'.

  - Once the balance board is connected to the visual feedback computer, open the ‘VBT’ folder and run the WiiBBinterface.m (Pronounced wii-B-B-interface-dot-m) file to establish matlab-BB interface.

    - SCREEN: Talent opens the ‘MoBI’ folder in the visual feedback computer. Then, the talent opens ‘VBT’ folder and runs the WiiBBinterface.m which establishes communication between BB and the software when opened for the first time. The talent then runs the WiiBBinterface.m (Pronounced wii-b-b-interface-dot-m) the second time which opens the dialogue box asking 'would you like to open the data folder?', and then the talent clicks on the NO button.

  - Have the subject stand on the balance board. Click ‘OK’ to begin the calibration, then enter the subject’s weight, and click ‘OK’ again.

    - MED: Subject stands on the balance board.

    - SCREEN: Talent clicks OK to begin calibration when the message box appears saying 'Set the balance board upright. Talent then enters the weight of the subject in 'Mass' dialogue box and click on OK button. Subsequently, the talent follows further instructions and the software will eventually show 'Wii Balance Board GUI'. Then, the talent clicks on the ‘START RECORDING' button to record BB data.

  - Next, connect and turn on the motion capture sensor to the data acquisition computer and ensure that it has fully booted, which is indicated by the green light.  Open the LSL (pronounced L-S-L) folder and start ’Mocap’ software to begin streaming of the motion capture sensor data.

    - MED: Talent connects and turns on the motion capture sensor, and points to the green light.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, talent opens the LSL folder, and opens the ’Mocap’ software.

  - Turn on the EEG and EOG data acquisition systems connected to the data acquisition computer. To do this, first open the LSL folder, and open ‘openvibe-acquisition-server-withlsl.cmd’.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, the talent opens the LSL folder, and opens the ‘openvibe-acquisition-server-withlsl.cmd’.

  - Finally, select ‘Emotiv EPOC’ (pronounced E-motive E-P-O-C) from the menu for EEG and EOG and configure the module by clicking on ‘Driver Properties’. Then, click on ‘Connect’, and click on ‘Play’ to start the acquisition server.

    - SCREEN: Talent selects ‘Emotiv EPOC’ from the menu. Then, the talent clicks on ‘Driver Properties’, then clicks on ‘Connect’, and then clicks ‘Play’.

- Calibrate the sensors for VBT

  - Begin by asking the subject to stand on the balance board and attach a safety harness.

    - MED (multiple shots): The subject steps on the balance board and stands upright.

  - Set a minimum baseline NMES level for upright standing by setting the stimulation frequency at 20 Hz. Then, increase the pulse width and current level in the NMES software installed in the data acquisition computer until upright standing has been achieved.

  - For NMES-assisted VBT, ask the subject to sit on a chair facing the motion capture sensor with their feet on the balance board.

    - MED: Talent sits on the chair facing the motion capture sensor and places their feet on the balance board.

    - MED: Talent sets NMES using proprietary ’PHENIX’ software.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, talent opens ‘VBT’ folder and runs the ’PHENIX’ software. [Video editor: Split screen with the portion of shot 5.3.1 where the subject is standing upright on the balance board]

  - Run the ‘CalibSensors.m’ (pronounced Calib-Sensors) program in the ‘DataCollect’ folder in order to collect multi-sensor calibration data.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, talent opens ‘DataCollect’ folder in Matlab and runs ‘CalibSensors.m’ program.

    - WIDE: Show the subject standing on the balance board alongside all of the data acquisition systems.

  - Finally, ask the subject to perform self-initiated maximal reach movements in different directions that affect center of mass location on the visual feedback.

    - MED: Subject performs maximal reach movements that affect their center of mass.

- Multi-sensor Data Collection during VBT

  - Begin by running the ‘CollectBaseline.m’ (pronounced Collect-Baseline) program in the ‘DataCollect’ folder to collect baseline resting-state, eyes-open, multi-sensor data. To do this, ask the subject to stand still for 2 minutes and look straight at the center of mass location on the visual feedback.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, talent opens ‘DataCollect’ folder in Matlab and runs ‘CollectBaseline.m’ program.

    - MED: Talent gestures to the subject to not move. Subject standing on the balance board looks straight at the pressure target on the monitor. (TEXT: Central Hold Phase)

  - Then, run the ‘CollectVBT’ (pronounced Collect-V-B-T) program in the ‘DataCollect’ folder to collect sensor data during VBT.

    - SCREEN: Talent opens the ‘MoBI’ folder in the data acquisition computer. Then, talent opens ‘DataCollect’ folder in Matlab, and runs ‘CollectVBT.m’.

  - Connect the visual feedback computer’s video output to the projection screen and run the SmartEyeVRTasks.exe (pronounced smart-eye-v-r-t-tasks-dot-e-x-e) file in the ‘VBT’ folder in the visual feedback computer to launch the SmartEyeVRTasks GUI (pronounced smart-eye-v-r-t-tasks-gooey).

    - MED: Talent connects the video output from the visual feedback computer to the projection screen.

    - MED (over shoulder): Talent runs the SmartEyeVRTasks.exe from the ‘VBT’ folder in the visual feedback computer.

    - SCREEN: Talent opens the ‘MoBI’ folder in the visual feedback computer. Talent then opens VBT folder and run the SmartEyeVRTasks.exe (pronounced smart-eye-v-r-t-tasks-dot-e-x-e) file which opens VR GUI to present visual stimuli. Subsequently, talent runs the SmartEye.exe (pronounced as smart-eye-dot-e-x-e) which prompts a command window with message 'connected'. Talent then presses space bar to start the visual task on the computer monitor.

  - Then, ask the subject to pay attention to the audio and visual prompt on the computer screen and steer the cursor as fast as possible towards randomly presented peripheral targets.

    - MED: Talent points to the computer screen.

    - MED: While standing on the balance board, the subject steers the cursor on the screen with their body toward randomly presented targets. (TEXT: Move Phase)

  - Following the move phase, ask the subject to hold the cursor at the target location for one second.

    - MED: Talent asks the subject to hold his weight-shifted posture for one second. (TEXT: Peripheral Hold Phase)

  - Following the Peripheral hold phase, ask the subject to return back to the central hold position, while the system acquires the subject's 2D coordinates of center of pressure and the 2D coordinates of the gaze data.

    - MED: Show the projection screen in front of subject. Talent asks the subject to follow the audio and visual prompts on the projection screen for VBT.

- Results: Multi-sensor integration with NMES for post-stroke balance rehabilitation

  - The eye gaze features were collected with the eye tracker to quantify a subject's performance during a smooth pursuit task for later comparison with post-stroke VBT data.

    - LAB MEDIA: Figure 2A on the left half of the screen, Figure 4 (top, left column) on right half of the screen [Video editor: Label Figure 2A as “Eye Tracker Setup” on top.  Figure 4: use the top four boxes in the left column, and put on the right side of the screen. Label “Left Eye Movement” on top]

  - Then, for VBT, the protocol used a modified functional reach task to quantify the subjects’ ability to volitionally shift their center of pressure position as quickly as possible without losing balance while cued with visual feedback.

    - LAB MEDIA: Figure 1 left half of screen & Figure 3C right half of screen [Video editor: Figure 1 – Put label ‘human machine interface’ on top. Highlight ‘Visual stimulation’ and ‘Electrical stimulation of motor axon’; Figure 3C - Put label “mFRT” on top. Draw arrow pointing to the balance board on the floor, when ‘center of pressure’ is mentioned in VO.]

  - Here, EOG data shows that during VBT, the FD ratio (pronounced F-D-ratio), or ratio of fixation duration on the target and the fixation duration on the cursor, increased while the normalized mean squared error decreased.

    - LABMEDIA: Figure 5A for FDratio & Figure 5B for MSEnormalized. [Video editor: Begin with Figure 5A. Highlight the y-axis, and draw a line through the data indicating the increase.  Then, when ‘normalized mean’ is mentioned in the VO, show Figure 5B.  Draw a line over the data from 0 to 100 indicating the decrease.]

- Conclusion (said by authors on camera)

  - Anirban Dutta: While attempting this procedure, it is important to ensure the safety and comfort of the stroke subject.

  - Uttama Lahiri:  We expect that our VR-based balance rehabilitation system will be potent to address balance disorders of stroke subjects.

  - Abhijit Das: Following this procedure, other methods like clinical assessment of balance and mobility can be performed in order to answer additional questions like how these quantitative indices are clinically mapped to a stroke subject’s functional deficits.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions, as well as an introduction to your videographer, closer to your filming date.