# Submission ID #: 52405

# Editor Name: Melissa Ceo

# Videographer name:

# Film Date:

# Authors and Affiliations:

Sylvia Gildemyn1, Amanda K. Luther2, Stephen J. Andersen1, Joachim Desloover1, Korneel Rabaey1

1Laboratory of Microbial Ecology and Technology (LabMET)

Ghent University

Gent, Belgium

2Department of Environmental Sciences

Rutgers University

New Brunswick, NJ

# Title: Electrochemically and Bioelectrochemically Induced Ammonium Recovery

# Corresponding Author:

Korneel Rabaey: Korneel.Rabaey@ugent.be

# Co-authors:

Sylvia Gildemyn: Sylvia.Gildemyn@ugent.be

Amanda K. Luther: Amanda.Luther@rutgers.edu

Stephen J. Andersen: Stephen.Andersen@ugent.be

Joachim Desloover: Joachim.Desloover@ugent.be

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? N  (If you can record images/videos using your own camera/software, then mark No)

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? OPTIONAL (EC-Lab Software). If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps by their protocol number. 2.3, 2.5, 3.3, 3.4.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list the step by its protocol number.

We think that making the reactor leak-free (step 2.6) and the inoculation of the bioreactor (step 3.3) are the most difficult steps.

To ensure a leak-free reactor, all reactor parts have to be stacked carefully. To close the reactors with the bolts, it’s important to equalize the pressure by tightening bolts on opposite sides each time.

Regarding inoculation, the quality of the inoculum is important, as well as operation in anaerobic conditions. Also, filling the bioelectrochemical system should be done with two people at the same time.

E.  Will the filming need to take place in multiple locations? Y (laboratory and office for interview) If yes, how far apart are the locations? Maximum 300 meters.

1. Introduction (Schematic Overview and Interview)

A. Schematic Overview (read by voice talent at JoVE):

# Conceptual Narrative:

The overall goal of the following experiment is to investigate the recovery of nutrients from nitrogen-rich streams using either an electrochemical or bioelectrochemical approach. (Intro)

The former approach is achieved by passing the stream through an electrochemical system, which after oxidation of water creates a driving force that can be used to flux charged ammonium from the anode side across an ion exchange membrane to the cathode side. (P1)

As a second step, the high pH at the cathode side results in the conversion of ammonium to volatile ammonia. The high level of selectivity of the ion exchange membrane enables the creation of a pure ammonia hydrogen stream. (P2)

Next, the catholyte is circulated through a stripping and adsorption column in order to trap the ammonia in an acidic medium. (P3)

The electrochemical extraction can also be driven by bio-electrochemical processes, where the development of a biofilm on the anode allows the conversion of organics present in the waste stream into carbon dioxide, protons and electrons. This will again drive a flux of ammonium from the anode to the cathode. (P4)

The results show that both approaches can recover nutrients from nitrogen-rich streams, such as urine. (P5, show Figure 5)

Video Editor: Use Graphics_reactor concept.pptx and 52405_Rabaey_FigureP1P2P4.ai, 52405_Rabaey_Figure P3.ai.  PowerPoint slides are animated for P1-P4.

B.  Interview: (Said by you on camera. Don’t forget to smile!)

# Authors, the purpose of this section is to introduce you to the viewers, but we want to move quickly to the protocol, so we limit each person to one statement each. I’ve selected a suggested statement for you below, but please feel free to switch your statement if you’d prefer to make a different one.

  - Korneel: The main advantage of this technique over existing methods for the treatment of nitrogen rich streams, like nitrification-denitrification wastewater treatment, is that the ammonia can be recovered in a very clean form from the stream and reused, rather than being reduced to nitrogen and returned to the atmosphere. A second advantage is that the overall process is driven by electricity, an essentially cheap and ubiquitously available form of energy replacing chemical additions.

  - Korneel: Generally, individuals new to this method will struggle because of an unfamiliar reactor design and associated principles of electrochemical engineering. However, with a methodical approach and patience, the set-up is rather simple and straightforward.

  - Korneel: Demonstrating the procedure will be Sylvia Gildemyn and Stephen Andersen, PhD students from my laboratory.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol (read by voice talent at JoVE):

- Assembling the Reactor and Connecting the Stripping and Absorption Units

  - Prior to starting this procedure, collect all necessary material to build the reactor including the electrodes, frames and rubbers.

    - WID: Talent carries necessary material to the lab bench/appropriate space in the lab.

  - After ensuring that the membrane is pretreated according to the manufacturer’s instructions, pretreat the carbon felt electrode by soaking it in 2 millimolar cetyl trimethylammonium bromide, or CTAB for 3 minutes. Then, rinse the carbon felt electrode with demineralized water.

    - MED: Talent places carbon felt electrode in vessel containing CTAB.

    - MED-over the shoulder: Talent rinses electrode with bottle of demineralized water.

  - Following this, stack the different reactor parts in order according to the reactor type. Then, stack the reactor parts for the electrochemical cell (TEXT: See text protocol for reactor part order for bioreactor and electrochemical cell).

    - LAB MEDIA: Graphics_reactor concept.pptx (Fourth PowerPoint Slide)

    - CU: Reactor parts for electrochemical cell as talent stacks them.

# 2.4 goes after 2.5

  - Seal the connection ports of the reactor using Teflon. Make sure the port is properly tightened. Place the reference electrode in the same compartment as the working electrode.

    - MED-over the shoulder: Talent seals connection ports of reactors with Teflon.

    - MED: Talent place reference electrode in reactor compartment containing working electrode.

  - Use nuts and bolts to close the reactor and hand tighten the bolts on opposite sides to equalize the pressure.

    - MED: Talent places nuts and bolts on appropriate parts of reactor.

    - [combined with 2.5.1] CU: Reactor as talent hand tightens the bolts.

  - Next, fill the reactor with water to test if it is leak-free. If leaks are observed, check if the bolts are tightened enough or if one of the reactor parts moved while assembling the reactor. If no leaks are detected, empty the water from the reactor.

    - MED-over the shoulder: Talent fills reactor with water.

    - MED: Talent checks if bolts are sufficiently tightened.

    - MED-over the shoulder: Talent empties water from reactor.

  - Connect the feed and recirculation pumps to the reactor and the air pump to the stripping and absorption units (TEXT: Minimize tube length as much as possible).

    - MED: Talent connects feed and recirculation pumps to reactor with tubing.

    - MED-over the shoulder: Talent connects air pump to stripping and absorption units with tubing. (take 2-3 CU)

  - Fill the absorption column with 250 milliliters of 1 molar sulfuric acid to cover the Raschig rings. Ensure that the air stream mixes the acid well when the pump is switched on.

    - MED: Talent adds sulfuric acid solution to absorption column. (take 3 end : level rising in the tube)

    - CU: Absorption column to show bubbling acid solution in presence of air stream.

- Bioanode Driven Extraction

  - After preparing anolyte and catholyte solutions, flush the anolyte by purging with nitrogen gas for at least 30 minutes to remove oxygen.

    - MED-over the shoulder: Talent purges anolyte solution with nitrogen gas.

  - For the inoculum, prepare a 30 milliliter mixture of effluents from active anaerobic bioreactors including a bioanode. Collect the mixture in a syringe.

    - MED: Talent prepares effluent mixture. (take 2-3)

    - CU: Syringe as talent collects effluent mixture into it.

  - Next, connect a gas bag filled with nitrogen to the anolyte bottle in order to keep the pressure stable while not allowing oxygen to enter. Mix the inoculum source with a volume of anolyte by emptying the syringe with inoculum into the medium bottle.

    - MED: Talent connects nitrogen gas filled bag to anolyte bottle. (take 2)

    - MED-over the shoulder: Talent adds effluent mixture from syringe into medium bottle.

  - Using a syringe, fill the anode and cathode compartments simultaneously with their respective solutions (TEXT: Perform addition with colleague to ensure that both reactor compartments are filled simultaneously). When both reactor compartments are filled, turn on the recirculation pump at a recirculation rate of approximately 6 liters per hour.

    - MED: Talent and colleague fill anode and cathode compartments with appropriate solutions.

    - MED-over the shoulder: Talent turns on recirculation pump.

  - Following this, connect the potentiostat cable with the three electrodes, using the anode as the working electrode.

    - MED: Talent connects potentiostat cable with three electrodes.

  - Switch on the potentiostat in chronoamperometry mode using the potentiostat software. Select a fixed anode potential of -200 millivolts versus the silver-silver chloride reference electrode.

    - MED-over the shoulder: Talent at computer switches on the potentiostat to the chronoamperometry mode.

    - SCREEN: Computer screen as talent selects appropriate fixed anode potential.

  - To change to continuous feeding, switch on the feed pump for the anode and cathode at a hydraulic residence time of 6 hours.

    - MED: Talent switches on the feed pump for the anode and cathode.

  - Switch on the air pump of the strip and absorption unit. Then, recirculate the air in a closed loop.

    - MED-over the shoulder: Talent switches on air pump.

    - MED: Talent recirculates air in closed loop.

  - Refresh the medium three times per week with fresh anolyte and catholyte as described previously.

    - Reuse shot 3.1.1.

  - After these steps, attach a gas bag filled with nitrogen to the closed feed bottle, stop the feed pump and put a clamp on the influent line. Then, switch the old and new bottles, remove the clamps and restart the pump.

    - MED: Talent attaches nitrogen filled gas bag to closed feed bottle and stops feed pump.

    - CU: Influent line as talent puts a clamp on it.

    - MED-over the shoulder: Talent switches old and new bottles, removes clamps and restarts pump.

  - Each time the feed is refreshed, remove 5 milliliter liquid samples of the effluent and influent of the anolyte and catholyte for measurement of conductivity, pH, acetate content and ammonium concentration.

    - CU: Anolyte and catholyte solutions as talent removes liquid samples from them with a syringe.

  - In addition, remove a 3 milliliter sample of the absorption column to monitor the pH and for total ammonia nitrogen, or TAN analysis. When the pH approaches 4, replace the absorbent with fresh 1 molar sulfuric acid solution to ensure high absorption efficiency.

    - MED-over the shoulder: Talent removes sample from absorption column with syringe.

    - CU: Column as talent adds sulfuric acid solution to it. (see 2.8.1)

  - If the current stabilization is not caused by acetate limitations, gradually increase the ammonium concentration in the feed and wait for stabilization of the current in order to assess extraction efficiencies.

    - MED: Talent increases ammonium concentration in the feed.

    - MED-over the shoulder: Talent monitors current in potentiostat software.

- Electrochemical Extraction

  - For electrochemical extraction, prepare a synthetic wastewater stream as anolyte according to the following table. Add ammonium sulfate to reach a final concentration of 5 grams of nitrogen per liter.

    - LAB MEDIA: Table 4

    - MED-over the shoulder: Talent adds ammonium sulfate to prepared anolyte solution.

  - Following this, switch on the feed pump to fill the reactor compartments.

    - MED: Talent switches on feed pump.

  - Reduce the pump speed to obtain a hydraulic residence time of 6 hours once the reactor is filled. As before, switch on the recirculation pump at a rate of 6 liters per hour. Then, remove a 5 milliliter sample of the influent.

# (switch 4.3.1 with 4.3.2)

    - MED-over the shoulder: Talent reduces pump speed.

    - MED: Talent switches on recirculation pump.(take 2)

    - CU: Reactor compartment as talent removes sample of influent with syringe.

  - After starting the strip and absorption unit, switch on the potentiostat in chronopotentiometry mode using the potentiostat software. First apply a low current density of about 0.5 amperes per meter squared for 24 hours to polarize the membrane and to determine nitrogen flux due to diffusion alone.

    - MED-over the shoulder: Talent at computer switches on potentiostat in chronopotentiometry mode using potentiostat software.

    - SCREEN: Computer screen as talent sets the applied current density to the appropriate value.

  - When the system has been polarized for 24 hours, apply the current density necessary for the experiment, usually ranging from 10 amperes per meter squared to 50 amperes per meter squared.

    - MED-over the shoulder: Talent at computer sets the applied the applied current density to the appropriate value in software.

  - Once the reactor has reached steady state, take at least three 5 milliliter samples over a time course from the anode and cathode effluents as well as the absorption column.

    - MED: Talent removes samples from anode and cathode compartments and absorption column with syringe.

- Results: Ammonium Extraction by Electrochemical and Bioelectrochemical Systems

  - The chronoamperometry results show a typical graph for a continuous reactor. The change to continuous operation on day 6 resulted in a continuous increase in current production until a plateau was reached at 3.5 amperes per meter squared between day 12 and 16. The influence of day and night temperature on the current production is clearly visible, for example from day 42 to 46.

    - LAB MEDIA: Figure 4 (JoVE_Figure 4_Current density_SG et al.pdf, 52405fig4highres.jpg) (Video Editor: Highlight curve around day 6 (column I) when it starts to increase for first part of second sentence. Highlight curve between day 12 and 16 (column I) for second part of second sentence. Highlight curve between day 42 and 46 (column V) when “for example from day 42 to 46” is mentioned in last sentence.)

  - The ammonium concentration in the feed was increased in several steps. The current increase was linked to an increased conductivity of the anode feed, in which the addition of ammonium bicarbonate increased the ion concentration and thus the conductivity.

    - LAB MEDIA: Figure 4 (JoVE_Figure 4_Current density_SG et al.pdf, 52405fig4highres.jpg)

    - LAB MEDIA: Table 2 (JoVE_Table 2_SG et al.xlsx) (Video Editor: The authors have requested that this be shown in the corner of the screen while Figure 4 is the main image shown on screen.)

  - The cell voltage for the electrochemical system is higher than for the bioreactor. This is mainly due to the higher anode potential required for electrochemical oxidation of water to oxygen.

    - LAB MEDIA: Table 5 (JoVE_Table 5_SG et al.xlsx) (Video Editor: Highlight Cell voltage (V) row in table for first sentence.)

  - The nitrogen flux for the bioreactor is higher than the electrochemical system. This can be explained by the lower alkalinity of the feed of the electrochemical system, resulting in a lower anolyte pH. This resulted in a higher competition with protons to restore the charge balance over the membrane.

    - LAB MEDIA: Figure 5 (JoVE_Figure5_Nitrogen Flux_SG et al.pdf, 52405fig5highres.jpg) (Video Editor: Highlight Bioanode gray diamonds when “the nitrogen flux for the bioreactor is higher” is mentioned in first sentence and Electrochemical system black squares when “the electrochemical system” is mentioned in first sentence.)

- Conclusion (said by authors on camera)

  - Korneel: This technique can now pave the way for researchers in the field of environmental engineering to explore biological and non-biological electrochemical recovery of charged compounds from waste water streams and treatment processes, such as anaerobic digestion. Here we showed that bioelectrochemical recovery requires a lower energy input, but the system has a long startup time and is sensitive to disturbances. The electrochemical system is a more robust alternative.

  - Sylvia: After watching this video, you should have a good understanding of how to set up a bio-electrochemical system for the recovery of ammonium from wastewater. You should be able to construct a robust and leak-free bio-electrochemical cell, and a strip and absorption unit to recover the ammonia.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# 3.6.2 – 3.6.2 screen capture chronoamperometry.avi – screen capture while setting chronoamperometry mode

4.4.2 – 4.4.2 screen capture chronopotentiometry.avi – screen capture while setting chronopotentiometry mode