Jesperson 52425 miss

4.6 After 10 minutes, use a microplate reader to determine the FITC-inulin fluorescence for each sample and fit the fluorescent values for the standards to a 4-parameter logistic function regression analysis.