Jesperson 52425 redos (5)

3.1: To set up for blood and urine collections, first cover a syringe of FITC-inulin with foil to protect the FITC from light.  Then attach the syringe to the femoral vein catheter. (2:17, rewrite)

3.2:  Next, place the syringe of FITC-inulin in a syringe pump with a flow rate of 1 ml/hr/100 g of body weight. Then start the inulin infusion. (2:33, rewrite)

3.6 Flush the arterial catheter with 20 units of heparin in 100 microliters of saline which is used to keep the catheter clear of blood and patent.  (3:31, rewrite)

4.4. Next, dilute the pre- and post-drug urine samples with HEPES (Pronounced:  HEAP - EEs) buffer. (4:52)

4.5. Then add 40 microliters of standard or sample and 60 microliters of HEPES buffer to individual wells of a 96 well plate and cover the plate with aluminum foil. (4:59)