TITLE:

Pairwise Growth Competition Assay for Determining the Replication Fitness of Human Immunodeficiency Viruses

AUTHORS:

Manocheewa, Siriphan

Department of Microbiology

University of Washington

Seattle, WA

manocs@uw.edu

Lanxon-Cookson, Erinn C.

Department of Microbiology

University of Washington

Seattle, WA

erinn_lanxon@yahoo.com

Liu, Yi

Department of Microbiology

University of Washington

Seattle, WA

Yiliu197@uw.edu

Swain, J. Victor

Department of Microbiology

University of Washington

Seattle, WA

jvicswain@gmail.com

Rao, Ushnal

Department of Microbiology

University of Washington

Seattle, WA

ushnal@yahoo.com

Maust, Brandon

Department of Microbiology

University of Washington

Seattle, WA

bmaust@uw.edu

Sunshine, Justine E.

Department of Microbiology

University of Washington

Seattle, WA

justinesunshine1@gmail.com

Kim, Moon

Department of Microbiology

University of Washington

Seattle, WA

Moonk87@uw.edu

Rolland, Morgane

U.S Military HIV Research Program

Walter Reed Army Institute of Research

Silver Springs, MD

mrolland@hivresearch.org

Mullins, James I.

Departments of Microbiology, Medicine and Laboratory Medicine

University of Washington

Seattle, WA

jmullins@uw.edu

CORRESPONDING AUTHOR:

Mullins, James I., Ph.D.

Phone: 1-206-732-6163

Fax: 1-206-732-6167

KEYWORDS:

HIV-1; Recombinant; Mutagenesis; Viral replication fitness; Growth competition; Fitness calculation

SHORT ABSTRACT:

Growth competition between nearly isogenic viruses provides a sensitive measurement for determining relative replication fitness. The protocols described here include the construction of recombinant HIV-1 clones, virus propagation and growth competition and analysis methods optimized to yield sensitive and consistent results.

LONG ABSTRACT:

In vitro fitness assays are essential tools for determining viral replication fitness for viruses such as HIV-1. Various measurements have been used to extrapolate viral replication fitness, ranging from the number of viral particles per infectious unit, growth rate in cell culture, and relative fitness derived from multiple-cycle growth competition assays. Growth competition assays provide a particularly sensitive measurement of fitness since the viruses are competing for cellular targets under identical growth conditions. There are several experimental factors to consider when conducting growth competition assays, including the multiplicity of infection (MOI), sampling times, and viral detection and fitness calculation methods. Each factor can affect the end result and hence must be considered carefully during the experimental design. The protocol presented here includes steps from constructing a new recombinant HIV-1 clone to performing growth competition assays and analyzing the experimental results. This protocol utilizes experimental parameter values previously shown to yield consistent and robust results. Alternatives are discussed, as some parameters need to be adjusted according to the cell type and viruses being studied. The protocol contains two alternative viral detection methods to provide flexibility as the availability of instruments, reagents and expertise varies between laboratories.

INTRODUCTION:

Viral replication fitness is defined as the capacity of a virus to produce infectious progeny in a given environment1 and is an important contributing factor in determining the prevalence of a virus variant at the population level over time2. As in vivo fitness studies are not feasible with pathogenic human viruses, such as HIV-1, various in vitro and ex vivo replication fitness assays have been developed to study the effects on fitness arising from drug resistance and immune escape mutations, epistasis and the evolution of viral populations3-6. Among different fitness assays, growth competition assays are recognized to yield more sensitive and valid measures of fitness differences, as two or more viral variants compete for the same cell population under precisely the same environmental conditions, as occurs in vivo1,7,8. Before starting growth competition experiments, several variables need to be determined, including the use of different multiplicities of infection (MOI), viral input ratio, and timing of sampling for analysis. We have studied the effects of these parameters on viral growth kinetics and on the outcome of competition experiments, and have identified key factors necessary for robust measurements of HIV-1 fitness in cell culture9.

In addition to assay variables, there are a variety of methods for quantitating viral variants in growth competition experiments. Bulk10,11 or clonal sequencing12,13 has been used to determine the ratio of the competing viruses based on the nucleotide frequencies at the site(s) of interest. Relative fitness is derived from changes in this ratio over time. This method is convenient as DNA sequencing services are widely available. The parallel allele-specific sequencing (PASS) method enables sequencing at multiple sites and the detection of recombinants14, but it also requires specifically developed reagents and detection systems. Essentially, these methods were developed to study viral strains with a small number of nucleotide differences in a region of interest. Other methods use a small reporter gene15 or synonymous mutations4,16-18 as tags to distinguish the competing viruses by sequencing, heteroduplex tracking assays (HTA) 4,7,17,19 or reverse transcription-quantitative real-time polymerase chain reaction (RT-qPCR)15,16,18,20, all of which can be made applicable to study competing strains regardless of sequence similarity. An additional step is required to introduce tags into viral genomes and the RT-qPCR assay also requires specific reagents and instrumentation. We have found that bulk Sanger sequencing yields comparable results9.

Following growth competition, viral replication fitness is presented as relative fitness, or a fitness ratio between two viral variants. The relative fitness of a virus can be defined as the final proportion of a viral variant normalized by its initial proportion in the inoculum or as the net growth rate difference between the two competing viruses. We found that the latter method, using longitudinal data points only within the exponential growth phase, produced the most robust results9,20.

In vitro fitness assays are used primarily to study biological clones6-8 and infectious molecular clones of HIV-1. The latter, being amenable to genetic manipulation, are often employed to study the effect on fitness from particular mutations or specific sequences of interest3-5,21,22. The following protocols describe a workflow from the point of constructing new full-length infectious HIV-1 molecular clones using HIV-1 vectors containing a sequence tag, introducing mutations of interest, making viral stocks and establishing viral growth kinetics, to performing the growth competition assay and calculating relative fitness (Figure 1).

Using our optimized procedures, we created three recombinant HIV-1 mutants and determined their replication fitness. The recombinant molecular clone was first constructed by replacing the HIV-1 gag-p24 gene region of pNL4-3, a plasmid containing a full length infectious genome of HIV-1 lab strain NL4-3, with a synthetic COTB (Center-Of-Tree, subtype B) gag-p24 sequence23 to create the prototype strain. Single amino changes (T186M, T242N, and I256V) were then introduced to create three mutant clones. Each mutant was competed against the prototype virus to observe the fitness impact of each mutation in the given genetic background. The three mutants demonstrated varying levels of replication fsitness from slight to significantly lower than the prototype virus. The T242N mutation was previously reported to have a moderate fitness cost 24-26, similar to the result shown in this study. The fitness cost of the other two mutations had not been reported previously.

PROTOCOL:

The protocol, as described below, does not include any patient identifiable information and is thus not considered Human Subjects Research by the University of Washington Institutional Review Board or Human Subjects Division.

- Construction of chimeric HIV-1 NL4-3 molecular clones

  - Amplify insert DNA fragment

    - Design chimeric primers. The 5’ halves of both forward and reverse primers contain an HIV-1 vector sequence, at which the fragment will be inserted. The 3’ half of the primers must contain the end of the insert sequence (Figure 2). Make sure that the chimeric primer sequence retains the original open reading frames.

1.1.1.1) Use primers at least 20 bases in length, with a melting temperature greater than or equal to 60 °C, ~50% GC content, and a low tendency to form primer dimers, heterodimers and/or hairpin structures. Assess these properties using the OligoAnalyzer web tool (https://www.idtdna.com/analyzer/Applications/OligoAnalyzer/).

    - Use PCR27 and the chimeric primers to amplify insert DNA (Figure 2). For each PCR reaction, use 1X high fidelity buffer, 0.2 mM dNTPs, 1 U of high fidelity DNA polymerase, 0.5 µM of forward chimeric primer, 0.5 µM of reverse chimeric primer, and 1 pg - 10 ng of DNA sample carrying insert region. Add dH2O to a final volume of 50 µl.

    - Set thermal cycling steps as follows: Perform an initial DNA denaturation step at 98 °C for 10 sec. Amplify with 30 cycles of DNA denaturation at 98 °C for 10 sec and DNA annealing at 3 °C above the lowest melting temperature of the two primers for 20 sec. Perform a final extension at 72 °C for 10 min. Store PCR products at 4 °C.

    - Take 5 µl of the PCR products from the previous step and run agarose gel electrophoresis28.

      - Use a 0.7% agarose gel, 1X TAE buffer (40 mM Tris-acetate, 1 mM EDTA), 0.5 μg/ml ethidium bromide (EtBr) final concentration and 1 kb ladder as the DNA size marker. Set power source voltage to 5 V/cm distance between electrodes. Stop the electrophoresis when the loading dye migrates through about 2/3 of the gel length. Visualize the gel using a gel documentation system28.

Note: EtBr is a suspected carcinogen and must be properly disposed of, per institution regulations. Gloves should always be worn when handling gels containing EtBr. Change to new gloves after finish handling EtBr containing material and before handling other materials or equipment to prevent cross contamination.

    - If only one DNA band with size corresponding to the desired PCR product is detected, purify the rest of the PCR product using a commercial kit such as QIAquick PCR Purification Kit according to the manufacturer’s protocols.

      - If other, non-specific bands are also present, use the rest of the PCR product to run preparative gel electrophoresis. Use the same parameters and conditions specified in step 1.1.4. Ensure that the gel well is large enough to load ~45 µl of PCR products. Cut out the band of interest and extract the DNA from the gel using QIAquick gel extraction kit according to the manufacturer’s protocols.

  - Introduce the insert fragment into full-length infectious HIV-1 subtype B vector (pNL4-3)

    - Use purified PCR products from step 1.1.5 as PCR primers. Use pNL4-3VifA20 as template DNA in one PCR reaction and use pNL4-3VifB20 as template in the other reaction (Figure 2). For each PCR reaction, use 1X high fidelity buffer, 0.2 mM dNTPs, 2 U of high fidelity DNA polymerase, 500 ng of primer DNA and 50 ng of template DNA in a final volume of 50 µl. Set the thermal cycling parameters to: 98 °C for 30 sec, 35 cycles at 98 °C for 10 sec, 48 °C for 1 min and 72 °C for 10 min, followed by 72 °C for 10 min.

    - Add 10 U of DpnI to 50 µl of the PCR reaction and incubate at 37 oC for 1 hr to digest the template DNA. Ensure that the plasmid DNA is isolated from a methylation competent bacterial strain, e.g., TOP10 chemically competent Escherichia coli.

    - Use DpnI digested product to transform competent bacterial cells. Use heat-shock transformation with TOP10 chemically competent E. coli, according to the manufacturer’s protocol. To select for bacterial cells containing the recombinant plasmid, use Luria Broth (LB) culture plates containing 100 mg/L carbenicillin.

      - Pick ~10 well-separated colonies and grow each separately in 3 ml LB liquid medium containing 100 mg/L carbenicillin and incubate at 30 °C in a shaker overnight.

      - Use QIAprep Spin Miniprep kit to isolate plasmid DNA from the bacterial liquid culture, according to the manufacturer’s protocol.

    - Use double restriction digestion29 to determine whether the plasmid DNA contains the proper insert. Ensure that one of the restriction sites exists only within the insert region and the other restriction site exists only once in the HIV-1 vector, outside of the insert region.

      - Digest at least 300 ng of plasmid DNA in a 10 µl final reaction volume. Select restriction buffers, incubation temperature and incubation time according to the manufacturer’s protocol of the selected restriction enzymes. Take 9 µl of the digested DNA and run gel electrophoresis as described in step 1.1.4. Select recombinant plasmids that have DNA bands of the predicted sizes.

    - Confirm sequence integrity of the recombinant plasmids by Sanger sequencing. While rare, unwanted mutation(s) can be introduced during the PCR reactions.

      - Sequence both strands of the plasmid DNA. Follow instructions in step 1.1.1.1 to design sequencing primers. In addition, ensure that the forward and reverse sequencing primers anneal at least 50 bp upstream and downstream of the insert region in the recombinant plasmid, respectively.

      - Submit plasmid DNA and sequencing primers to a commercial DNA sequencing service provider. Prepare DNA sample and primers as specified by the service provider.

    - Make an endotoxin-free stock of the mutated plasmid DNA using an Endotoxin free plasmid DNA kit according to manufacturer’s protocol. Prepare at least 1 µg of endotoxin-free plasmid DNA for transfection in the following step.

  - Introduce small-scale mutations via site-directed mutagenesis

    - Design mutagenic primers with overlapping forward and reverse primers containing the desired mutation(s). Position the base(s) to be substituted, inserted, or deleted in the middle of the primers, flanked by 10-15 homologous bases. Follow instructions in step 1.1.1.1.

    - Use PCR to synthesize mutant plasmids. For each PCR reaction, use 1X high fidelity buffer, 10 mM dNTPs, 2 U of high fidelity DNA polymerase, 0.5 µM of forward mutagenic primer, 0.5 µM of reverse mutagenic primer and 50 ng of chimeric pNL4-3VifB, from step 1.2.6, in a final volume of 50 µl. Set the thermal cycling parameters to: 98 °C for 30 sec, 25 cycles at 98 °C for 10 sec, 48 °C for 1 min and 72 °C for 10 min, followed by 72 °C for 10 min.

    - Repeat step 1.2.2 to 1.2.6.

- Generation of viral stock using transfection

  - Calculate the amount of viral stock desired and plasmid DNA required. With a viral titer of 104 IU/ml or higher, 1.8 ml of viral stock is sufficient for two sets of growth competition assays, including monoinfections, each done in triplicate. For a transfection done in a 6-well plate, about 1.8 ml supernatant is harvested per well. One µg of plasmid DNA is needed for each transfection done in a 6-well plate.

  - For each well of a 6-well plate, prepare 100 µl of transfection mixture, e.g., consisting of 1 µl X-tremeGENE 9 transfection reagent (or comparable product), 1 µg of plasmid DNA and serum-free DMEM.

    - Determine the volume of plasmid DNA needed, using 1 µg plasmid DNA per well. Ensure that the final concentration of the plasmid DNA is at least 50 ng/µl.

    - Determine how much serum-free medium (DMEM) is needed per well using the formula: Total volume of DMEM in µl = 100 µl - DNA volume in µl.

  - Add 106 HEK 293T-17 (ATCC) cells/well in 2 ml of propagation medium (DMEM + 10% fetal bovine serum (FBS)) into a 6-well plate. Incubate for 1 hr at 37 oC in a 5% CO2 atmosphere. Seed as many wells as needed (determined in step 2.1).

  - To prepare the transfection mixture, aliquot the appropriate volume of serum-free DMEM, as calculated above, into a 1.8 ml polypropylene microcentrifuge tube, and then add the transfection reagent.

    - Pipette reagent directly into the media solution, do not add it to the plastic surface of the microcentrifuge tube. Add plasmid DNA last. Pipet up and down gently to mix the solution. Incubate for 15 min at room temperature (15 oC to 25 oC) to allow the formation of transfection complexes.

    - Add the mixture in a drop-wise manner to cells seeded in the 6-well plate. Gently shake or swirl the wells to ensure even distribution of transfection complexes.

    - Seal plates with plastic wrap.

  - Incubate cultures at 37 oC in a 5% CO2 atmosphere for 48 hr.

  - Use a pipette to carefully collect and transfer supernatant to a 15 ml tube through a 0.22 µm filter top.

  - Use pipette to transfer 250 µl or more of the filtered supernatant to 1.8 ml microfuge tubes with rubber gaskets in the lids.

  - Store filtered supernatants at -80 oC until use.

- Determine infectious titer of viral stocks on peripheral blood mononuclear cells (PBMCs)

  - Stimulate PBMCs with phytohemagglutinin (PHA). Per one viral stock, seed 2 x 106 PBMCs in complete Iscove’s Modified Dulbecco’s Medium (cIMDM; IMDM supplemented with 20 U/ml of human interleukin 2 (hIL-2), 10% fetal bovine serum and 1% penicillin/streptomycin) supplemented with PHA (1.5 µg/ml). Seed PBMCs at 2 x 106 cells/ml. Incubate PBMCs at 37 oC in a 5% CO2 atmosphere for 72 hr.

  - Harvest PHA stimulated PBMCs. Transfer non-adherent PHA-PBMCs to a 50 ml conical tube. Spin tube at 228 x g for 10 min. Carefully remove supernatant without disrupting the cell pellet. Re-suspend the cell pellet to a final concentration of 2 x 105 PBMCs/ml in cIMDM.

  - Seed 2x104 PHA stimulated PBMCs/well in 100 µl/well cIMDM in a round bottom 96-well plate.

  - Make a 1:10 dilution of the viral stock. Then, from the first diluted stock, make twelve 3-fold serial dilutions in a 96-well master plate. This dilution scheme is recommended for detecting viral titers in the range of 104 to 106 infectious unit (IU) per ml.

    - For example, add 20 µl of virus stock to 180 µl media in the 1.5 ml tube. Mix the dilution by pipetting carefully. Then transfer 90 µl of the diluted stock into 180 µl media of the first well and mix well by pipetting.

    - Continue dilution series by transferring 90 µl from the current well to 180 µl media in the next well eleven more times. Increase or decrease the initial dilution if titers higher than 106 IU/ml or lower than 104 IU/ml are expected, respectively.

  - Add 40 µl of the serially diluted viral stock from the master dilution plate to the seeded PBMCs plate (from step 3.3) in quadruplicate. Incubate plates at 37 oC in a 5% CO2 atmosphere for 16-24 hr.

  - Carefully remove 100 µl of supernatant from each well, and replace with 160 µl of fresh cIMDM to a total volume of 200 µl/well. Incubate plates at 37 oC with 5% CO2 atmosphere (day 1).

  - On days 4, 7, 10 and 13 transfer 100 µl of supernatant from each well to 100 µl disruption buffer (2% TritonX-100 in PBS), and replace with 100 µl of fresh cIMDM. Store the supernatants at -20 oC.

    - Keep sampling and adding fresh cIMDM every three days until the titer stabilizes.

  - Determine the 50% tissue culture infectious dose (TCID50) of the viral stock by p24 ELISA using the day 7 and 13 samples as described in step 4.

    - If the TCID50 obtained from day 13 is clearly higher than the titer from day 7, the virus stock may need a longer time to expand. Repeat the p24 ELISA using later samples until the infectious titers from two sampling time points become stable (or decrease). Select stocks from samples with the highest titers.

- ELISA (Enzyme-linked Immunoabsorbant assay) detection of HIV-1 p24 for determining viral infectious titer

Note: The following protocol was developed using p24 antigen capture plates prepared in our laboratory30. Commercial HIV-1 p24 ELISA plate/kits can also be used, following the manufacturer’s protocol.

  - Prior to working with samples, prepare working stocks of primary antibody (rabbit anti-HIV-1 SF2 p24 antiserum).

    - Thaw p24 antiserum at room temperature (RT).

    - Mix 2.5 ml of glycerol with 2 ml of 10% FBS in phosphate buffer saline (PBS).

    - Add 0.5 ml of antiserum and mix.

    - Store 1 ml of aliquots at -20 oC.

  - Thaw samples from step 3.7 in a 37 oC incubator.

  - Wash the p24 capture plate 5 times with wash buffer (1x PBS with 0.05% Tween-20).

  - Add 50 µl/well of sample diluent (1% bovine serum albumin (BSA), 0.2% Tween-20 in RPMI-1640), then add 50 µl of sample to appropriate wells. Include at least three wells with sample diluent only as mock/negative controls. Incubate for 2 hr at 37 oC or overnight at 4 oC.

  - Prepare the primary antibody solution fresh before use. Make a 1:2,000 fold dilution of the primary antibody working stocks using the primary antibody diluent (12% FBS in RPMI-1640). Ensure to prepare enough for the use of 100 µl solution per each sample/control well in a 96-well plate.

    - For example, to make enough solution for one 96-well plate, add 5 µl of the primary antibody working stocks to the primary antibody diluent for a final volume of 10 ml.

  - Wash capture plate 5 times with wash buffer.

  - Add 100 µl of the primary antibody solution to each well. Incubate for 1 h at 37 oC in a 5% CO2 atmosphere.

  - Prepare the secondary antibody solution fresh before use. Make a 1:14,400 fold dilution of the secondary antibody (1 mg/ml Goat anti-rabbit HRP) using the secondary antibody diluent (7% FBS, 0.01% Tween-20 in RPMI-1640). To reduce pipetting errors, perform a two-step serial dilution. Ensure to prepare enough for the use of 100 µl solution per each sample/control well in a 96-well plate.

    - For example, to make enough solution for one 96-well plate, first add 1 µl of the secondary antibody to 99 µl of the secondary antibody diluent. Then add 70 µl of first dilution to the secondary antibody diluent for a final volume of 10 ml.

  - Wash capture plate 5 times with wash buffer.

  - Add 100 µl of the secondary antibody solution to each well. Incubate for 1 hr at 37 oC in a 5% CO2 atmosphere.

  - Wash plate 5 times with wash buffer.

  - Add 100 µl of room temperature TMB substrate. Incubate 30 min at room temperature in a closed container to protect from light.

  - Add 100 µl of room temperature stop solution (1 N H2SO4).

  - Read absorbance at 450-650 nm in each well using a microplate reader. Use the absorbance value to score each well as infected or uninfected. Consider a well to contain infectious virus if the absorbance value is at least three times higher than the value read from mock / negative control wells. Calculate TCID50 of the viral stock using the Reed-Meunch method31.

- Establish viral growth kinetics

  - Monoinfection

    - Seed 3x105 PHA-stimulated PBMC/well in 48-well plates in a total volume of 500 µl/well. Keep the culture plates at 37 oC in a 5% CO2 atmosphere until inoculation.

    - For each virus, prepare an inoculum containing 6,000 IU in 2 ml of cIMDM.

    - Inoculate wells in triplicate by adding 500 µl of the inoculum (1,500 IU) to the seeded cells. The final volume of the infected cell culture is 1 ml/well and the MOI is 0.005.

    - Aliquot 200 µl of the remaining inoculum to each of two 96-well plates for RNA isolation, one of which is saved as a backup.

    - Incubate cultures at 37 oC in a 5% CO2 atmosphere for 16-24 h.

    - Wash cultures 16-24 h after inoculation.

      - Remove and discard 750 µl of culture supernatant.

      - Add 750 µl of fresh cIMDM. Wrap plates in plastic wrap and spin for 10 minutes at 300 x g. Remove and discard 750 µl supernatant.

      - Add 750 µl of fresh cIMDM. Incubate at 37 oC with a 5% CO2 atmosphere (day 1).

    - Sample cultures daily from day 2 to day 7.

      - Transfer 500 µl of culture supernatant to a 1.8 ml centrifuge tube. Spin for 1 min at 3000 x g.

      - Transfer 200 µl of the cell-free supernatant to the two 96-well sample plates for RNA isolation, again saving one plate as backup. Store supernatants at -80 oC until RNA isolation.

      - Add 500 µl fresh cIMDM to each culture. Incubate at 37 oC in a 5% CO2 atmosphere.

      - Discard cultures into Wescodyne at the end of the experiment.

      - Isolate RNA from 200 µl of supernatant (use commercial kits such as QIAamp Viral RNA Mini Kit) following the manufacturer’s standard protocol. For a large number of samples, use the Qiagen QIAxtractor.

      - Store RNA samples at -80 oC until cDNA synthesis.

  - cDNA synthesis (Reverse transcription)

    - For each RNA sample, add 1.2 nmol of dNTP and 1.2 pmol of cDNA synthesis primer, (5’-GTTGATCCTTTAGGTATCTTTCCACAGC-3’, HXB2 nucleotide 7968 to 7995) to 10 µl of viral RNA. Add water to a final volume of 14 µl. Flick the tube to mix and spin briefly to collect liquid at the bottom of the tube.

    - Incubate mixture for 5 min at 65 oC, then hold at 4 oC until the master mix is prepared.

    - Prepare master mix using 5x first-strand buffer (250 mM Tris-HCl, pH 8.3, 375 mM KCl, 15 mM MgCl2), 5 mM DTT, 120 U of SuperScriptIII and 240 U of Rnase inhibitor. Add water to final volume of 10 µl.

    - Add 10 µl of master mix to RNA mixture, flick to mix and spin to collect.

    - Incubate mixture for 90 min at 50 oC to allow synthesis of cDNA. Incubate for 15 minutes at 70 oC to inactivate reverse transcriptase. Hold at 4 oC as needed.

    - Add 2 U of Rnase H, flick to mix, and then spin to collect.

    - Incubate 20 min at 37 oC. Store cDNA at -20 oC.

  - cDNA quantitation using qPCR system

    - Prepare a standard dilution series. Do 10-fold serial dilution, from 3 x 106 copies/µl down to 30 copies/µl, of pNL4-3VifA. Use distilled water for dilutions. Prepare the standard dilution series fresh before use or prepare small batches and keep at -20 oC. Do not freeze-thaw the standards more than three times.

    - Set up a 96-well qPCR reaction plate. Ensure that each plate contains at least one well of negative controls, a triplicate of the standard dilution series, and at least a duplicate of each cDNA sample.

    - For each qPCR reaction, use 12.5 µl of qPCR master mix, 0.2 µM probe, 0.8 µM each of the forward and reverse primers and 1 µl of cDNA or the standard dilution series or water/buffer (for the negative control well). Add water to a final volume of 25 µl. The qPCR probe is light sensitive. Keep it in closed container.

      - To detect cDNA derived from pNL4-3VifA based molecular clone, use the VifA primer-probe: VifAB forward primer (GGTCTGCATACAGGAGAAAGAGACT), VifA reverse primer (5’-AGGGTCTACTTGTGTGCTATATCTCTTTT-3’) and VifAB probe (6FAM-5’-CTCCATTCTATGGAGACTC-3’-MGBNFQ). For cDNA derived from pNL4-3VifB based clone, use the VifB primer-probe: VifAB forward primer, VifAB probe and VifB reverse primer (5’-CACCTGCGTGCTATACCTTTTCT-3’).

    - Set PCR cycling parameters to 50 oC for 2 min, 95 oC for 10 min, and 40 cycles of 95 oC for 15 sec and 60 oC for 1 min. Consult the manufacturer’s support document for operation of the qPCR machine.

    - Calculate a standard curve using data from the triplicate standard dilution series. Compare amplification data of the cDNA sample to the standard curve to determine the copy number. Consult the manufacturer’s support document for data processing.

  - Determine viral exponential growth phase

    - Plot viral growth kinetics with the sampling day along the X-axis and the cDNA copy number along the Y-axis and identify the viral exponential growth phase, i.e., when viral cDNA copy numbers increase in an exponential progression.

    - Use the GRC web tool (http://indra.mullins.microbiol.washington.edu/grc/) to calculate viral growth rate (g). In this application, the GRC tool accepts cDNA copy numbers from at least two time points as input, and outputs the viral growth rate (g). Use only time point data within the exponential growth phase (see step 5.4.1 above) to obtain accurate growth rates. For a detailed description of the mathematical model used in the GRC web tool, see20.

- Growth Competition Assay

  - Seed 3 x 105 PHA-stimulated PBMCs (or 1 x 105 CEMx174 cells) in 500 µl total volume per well in a 48 well flat-bottomed plate.

  - Keep plate in 37 oC in a 5% CO2 atmosphere until inoculation.

  - For each virus, prepare 3 ml of inoculum containing 6,000 IU.

  - Transfer 1.5 ml of each viral inoculum to a sterile tube to create the dual infection inoculum. Add 500 µl of the dual inoculum (1,500 IU) to 3 x 105 cells in a 48-well plate. The final culture volume is 1 ml/well. Aliquot 200 µl of the inoculum to two 96-well plates for RNA isolation; save one plate as a back up.

  - Incubate inoculated cells at 37 oC with a 5% CO2 atmosphere for 16-24 hr.

  - Wash cultures 16-24 h after inoculation.

    - Remove and discard 750 µl of culture supernatant.

    - Add 750 µl of fresh cIMDM. Wrap plates in plastic wrap and spin for 10 minutes at 300 x g. Remove and discard 750 µl supernatant.

    - Add 750 µl of fresh cIMDM. Incubate at 37 oC with a 5% CO2 atmosphere (day 1).

  - Select sampling times to include at least 3 time points within the exponential growth phase observed in step 5.4.1.

    - For each sampling, follow step 5.1.7.

  - Perform cDNA synthesis as described in section 5.2.

  - Determine the viral variant ratio using qPCR.

    - Prepare a standard serial dilution series in triplicate, diluting 10-fold in each step from 3 x 106 copies/µl to 30 copies/µl of pNL4-3VifA.

    - Set up a 96-well qPCR reaction plate. Ensure that each plate contains at least one negative control, the standard dilution series in triplicate, and duplicates of each cDNA sample.

    - For each qPCR reaction, use 12.5 µl of qPCR Master Mix, 0.2 µM probe, 0.8 µM each of the forward and reverse primers and 1 µl of cDNA or the standard dilution series or water/buffer (for the negative control wells). Add water to a final volume of 25 µl. The qPCR probe is light sensitive, keep it in closed container.

      - Use the VifA primer-probe to detect signals in the negative controls and the standard dilution series and with one duplicate of the cDNA sample. Use the VifB primer-probe with the other duplicate of the cDNA sample.

    - Set PCR cycling parameters to 50 oC for 2 min, then 95 oC for 10 min, and then 40 cycles of 95 oC for 15 sec and 60 oC for 1 min. Consult the manufacturer’s support document for operation of the qPCR machine.

    - Calculate the standard curve using amplification data from the standard dilution series. Compare amplification data of the cDNA samples to the standard curve to determine copy number. Consult the manufacturer’s support document for data processing.

    - Use the GRC web tool (http://indra.mullins.microbiol.washington.edu/grc/) to calculate relative viral fitness (d).

Note: The GRC tool accepts cDNA copy numbers or chromatogram peak heights from at least two time points as the input, and outputs the net growth rate difference (d) between the two viruses. While the tool can calculate the net growth rate from two time point data, it is strongly recommended to input data from three or more time points. Use only data obtained from time points within the exponential growth phase (see step 5.4) to obtain accurate growth rates. For a detailed description of the mathematical model used in the GRC web tool, see20.

  - Determine viral ratios using chromatogram peak-heights

    - PCR amplify HIV-1 vif fragments containing the VifAB sequence tag using VifFwd (5′-GAAAGAGACTGGCATTTGGGTCAGGG-3′; HXB2 positions 5266–5291) and VifRev primers (5′-GTCTTCTGGGGCTTGTTCCATCTGTCC-3′; HXB2 positions 5579–5553).

      - For each PCR reaction, use 1 µl of cDNA, 1X NH4 buffer, 1.5 mM MgCl2, 0.2 mM dNTP, 2.5 U of Taq Polymerase, and 0.45 µM of each primer. Add water to a final volume of 50 µl.

      - Set PCR cycling parameters to 3 cycles at 94 oC for 1 min, 55 oC for 1 min, and 70 oC for 1 min, followed by 34 cycles at 94 oC for 15 sec, 58 oC for 30 sec, and 70 oC for 1 min, and then hold at 4 oC.

    - Purify PCR products using the QIAquick PCR purification kit according to the manufacturer’s protocol.

    - Submit purified PCR products to a DNA sequencing service provider for Sanger sequencing.

    - Check the average read quality score, which should be provided by the sequencing service. If the average base call accuracy is less than 85%, redo step 6.10.1 to 6.10.3

    - Use the ChromatQuan web tool (http://indra.mullins.microbiol.washington.edu/cgi-bin/chromatquant.cgi) to calculate viral ratio at each time point. The tool requires the sequence trace file (*.ab1) and the sequence 5’ to the nucleotide site of interest. The tool measures the peak intensity at the specified site. The ratio of the peak intensity corresponds to the ration of the two viruses (Figure 4B).

    - Use the GRC web tool (http://indra.mullins.microbiol.washington.edu/grc/) and the recorded peak intensities as the input to calculate viral relative fitness (d). See step 6.10.6.20

REPRESENTATIVE RESULTS:

To study the fitness impact of single amino acid changes in HIV-1 Gag-p24, we used oligonucleotide directed mutagenesis to introduce mutations into a pNL4-3 plasmid containing the HIV-1 COTB-p24 gene23,32,33. Viral stocks were generated by transfection of 293T cells and harvested after 48 hours. We estimated the 50% tissue culture infectious dose (TCID50) of each viral stock by the Reed-Muench method31. The TCID50 of the prototype and mutant viruses ranged from 104 to 105 IU/ml (Figure 3A).

The growth kinetics of the recombinant viruses were established in PBMCs from a single donor at an MOI of 0.005. RT-qPCR was used to measure viral cDNA copy number daily for six days. All mutant and prototype viruses grew exponentially between day 2 and day 4, following which viral growth slowed, as indicated by a decreased slope of the viral RNA copy number increase (Figure 3B). The decrease in cDNA copy number between day 0 (corresponding to the inoculum) and day 2 is due to the absorption of virus to cells and the removal of unbound virions by the day 1 wash (step 5.1.6). In the exponential growth phase, all three mutants had a slower growth rate (g) than the prototype virus (Figure 3C).

All three mutants were competed against the prototype virus in growth competition assays at a total MOI of 0.005. Viral growth kinetics in dually infected cultures were similar to that of monoinfection; the viral exponential growth phase was between days 2 and 4, and viral growth reached a plateau around day 5 (Figure 4A).

Viral growth rate differences were derived from the change in the viral ratio over time. The viral ratio was calculated based on cDNA copy number of the reference and the mutant viruses using RT-qPCR, and by comparing peak heights in sequence chromatograms at nucleotide sites distinguishing the two viruses (Figure 4B). The growth rate differences determined using the peak-height and viral RNA copy number methods yielded similar results (Figure 4C). All three mutants had lower replication fitness than the prototype viruses with the mutant I256V having the lowest fitness (Figure 4C).

Figure 1. Flow diagram of the protocols presented in this paper. The Virus Preparation protocols concern construction of HIV-1 recombinant clones and generation of viral stocks. The Fitness Assays protocols are for establishing viral growth kinetics and determining relative viral fitness. Dashed lines represent alternative flows for the protocols. For example, a mutation can be introduced directly into HIV-1 NL4-3 molecular clone without generating a recombinant clone.

Figure 2. Construction of HIV-1 NL4-3 COTB Gag-p24 recombinant molecular clones using overlap extension PCR. A) Design the chimeric primers. The 5’ halves of the primers contain the NL4-3 vector sequence and the 3’ halves contain the ends of the insert sequence. B) Chimeric primers are used to amplify the insert fragment, COTB Gag-p24. C) The insert fragments are used as primers for a second PCR to generate a new recombinant plasmid.

Figure 3. Viral growth characteristics in PBMCs. A) Log10 TCID50 of viral stocks. B) Viral growth kinetics in monoinfections begun at an MOI = 0.005. C) Viral growth rates over six days, including the exponential growth phase (days 2-4) derived from panel B. The values shown represent the average of three replicates from one experiment. The error bars represent 95% confidence intervals.

Figure 4. Viral growth and relative fitness determinations. A) Viral growth in dually infected PBMC cultures. B) Ratios of T242N and prototype viruses determined using RT-qPCR or the sequencing peak-height method. C) Net viral growth rate differences (d) between the mutant and the prototype viruses in dually infected cultures, as shown in A. d values were calculated from the viral ratio data shown in B. The values shown represent the average of three replicates from one experiment. The error bars represent 95% confidence intervals.

DISCUSSION:

The protocols presented consisted of two main parts: construction of recombinant HIV-1 molecular clones and growth competition assays. In order to distinguish two viruses in a dually infected cell culture, it is important that the competing molecular clones contain sequence tags, which can be detected by a RT-qPCR primer-probe assay or by Sanger sequencing. This protocol makes use of the VifA and VifB tags, which occupy the same region of HIV-1 NL4-3 vif and encode the same amino acid sequence but differ by six synonymous mutations. These mutations were shown not to affect viral replication fitness20. The PCR-based cloning method used in this protocol provides more flexibility in selecting cloning sites, compared to restriction site based cloning. However, the efficiency of PCR cloning decreases as the insert size increases. The current limit of the insert size is ~5 kb34. For PCR-based cloning and site directed mutagenesis, the use of a high-fidelity DNA polymerase is crucial to reduce the likelihood of extra mutations. Use of the minimal number of PCR cycles needed to yield adequate amounts of products is also recommended. In our experience, we did not detect any extra mutations after the PCR-based cloning and site-directed mutagenesis steps described here. Nevertheless the PCR products should be sequenced to check for any undesired mutations. Ideally, the entire HIV coding region should be resequenced.

At least three sampling time points should be examined within the exponential growth phase9. The viral growth kinetics must first be established using daily sampling to determine the appropriate culture period and sampling time points for the growth competition. One factor that affects viral growth kinetics is the multiplicity of infection (MOI). This protocol uses a total MOI of 0.005 for both monoinfection and growth competition, as it was shown to yield more robust results than lower MOIs9. Nonetheless, lower MOIs can be used to obtain a longer exponential growth phase if necessary, but at the expense of result consistency. This protocol suggests an initial infection ratio of 50:50, assuming that the fitness differences of the viruses are generally unknown beforehand. However, the use of unequal input ratios are appropriate when there is preliminary data suggesting significant differences in viral replication kinetics. In these cases, an infection ratio of 70:30 is recommended to allow for the detection of a large fitness difference where the less fit virus is placed in excess9.

The protocol for determining the TCID50, viral growth kinetics, and for performing the growth competition assays were optimized using HIV-1 subtype B, NL4-3 COTB-p24, and PBMCs from a single donor whose PBMC have demonstrated consistent susceptibility to HIV-1 infection in vitro. The culture period and sampling time points presented in this protocol are likely to be suitable for studying HIV-1 group M viruses in human PBMCs. Using PBMCs from a single source is highly recommended to obtain consistent results as the viral replication can vary in different donor cells35. Although less desirable, PBMCs pooled from multiple donors can be used as a substitution provided that the same pool is used across all experiments. Another alternative is the use of cell lines. The protocol presented here was used successfully with the T-cell line CEMx174 23,36. However, it is important that the numbers of cells seeded are re-optimized to achieve consistent cell growth. Viral growth kinetics must also be re-established, as it is likely to vary in different cell lines, to determine the appropriate sampling time points in the growth competition steps.

Two different methods to determine the viral ratio for calculating fitness are included in the protocol. The first uses RT-qPCR to measure viral cDNA copy number at each sampling time point. Viral replication fitness was then calculated from the viral ratio, based on cDNA copy number. Alternatively, the viral ratio can be determined based on the ratio of chromatogram peak height at the VifAB tag sites. The two methods yielded comparable results (Figure 4). The chromatogram peak height method can be applied to other HIV-1 strains without an engineered sequence tag. For RT-qPCR, the use of primers or probes to distinguish viral variants must first be carefully evaluated (see20). Nevertheless, RT-qPCR provides better sensitivity for samples with a small amount of viral RNA, such as those from the first time point within the exponential growth phase. Direct measurement of viral cDNA also allows detection of technical problems that may arise from the RNA extraction and cDNA synthesis. Using molecular clones with sequence tags provides a cost effective solution to the RT-qPCR methods, as only two pairs of primers and probes are needed to study multiple viruses. This strategy also avoids the problem of peak-height variation in sequence chromatograms due to neighboring bases37, as sequencing is done at the same site across all viruses in the study. The PCR products produced for RT-qPCR and Sanger sequencing can also be use with other methods to determine viral ratio such as bulk sequencing of individual clones 12,13, HTA 4,7,17,19, or oligonucleotide ligation assay (OLA)38.

ACKNOWLEDGMENTS:

These studies were funded by US Public Health Services grants P01AI057005, R01AI047734, R01AI111806 and the Functional Profiling and Computational Biology Core of the University of Washington’s Center for AIDS Research (P30 AI027757).

DISCLOSURES:

The authors declare that they have no competing financial interests.

REFERENCES:

1	Domingo, E. & Holland, J.J. RNA virus mutations and fitness for survival. Annu Rev Microbiol 51, 151-178, doi: 10.1146/annurev.micro.51.1.151 (1997).

2	Domingo, E. Mechanisms of viral emergence. Veterinary research 41 (6), 38, doi: 10.1051/vetres/2010010 (2010).

3	Martinez-Picado, J. & Martinez, M.A. HIV-1 reverse transcriptase inhibitor resistance mutations and fitness: a view from the clinic and ex vivo. Virus Res 134 (1-2), 104-123, doi: 10.1016/j.virusres.2007.12.021 (2008).

4	Troyer, R.M. et al. Variable fitness impact of HIV-1 escape mutations to cytotoxic T lymphocyte (CTL) response. PLoS Pathog 5 (4), e1000365, doi: 10.1371/journal.ppat.1000365 (2009).

5	Rolland, M. et al. Amino-acid co-variation in HIV-1 Gag subtype C: HLA-mediated selection pressure and compensatory dynamics. PLoS One 5 (9), e12463, doi: 10.1371/journal.pone.0012463 (2010).

6	Abraha, A. et al. CCR5- and CXCR4-tropic subtype C human immunodeficiency virus type 1 isolates have a lower level of pathogenic fitness than other dominant group M subtypes: implications for the epidemic. J Virol 83 (11), 5592-5605, doi: 10.1128/jvi.02051-08 (2009).

7	Quinones-Mateu, M.E. et al. A dual infection/competition assay shows a correlation between ex vivo human immunodeficiency virus type 1 fitness and disease progression. J Virol 74 (19), 9222-9233 (2000).

8	Ball, S.C. et al. Comparing the ex vivo fitness of CCR5-tropic human immunodeficiency virus type 1 isolates of subtypes B and C. J Virol 77 (2), 1021-1038, doi: 10.1128/JVI.77.2.1021-1038.2003 (2003).

9	Lanxon-Cookson, E.C. et al. Factors affecting relative fitness measurements in pairwise competition assays of human immunodeficiency viruses. J Virol Methods 194 (1-2), 7-13, doi: 10.1016/j.jviromet.2013.07.062 (2013).

10	Garcia-Lerma, J.G., MacInnes, H., Bennett, D., Weinstock, H. & Heneine, W. Transmitted human immunodeficiency virus type 1 carrying the D67N or K219Q/E mutation evolves rapidly to zidovudine resistance in vitro and shows a high replicative fitness in the presence of zidovudine. J Virol 78 (14), 7545-7552, doi: 10.1128/jvi.78.14.7545-7552.2004 (2004).

11	Sharma, P.L. & Crumpacker, C.S. Attenuated replication of human immunodeficiency virus type 1 with a didanosine-selected reverse transcriptase mutation. J Virol 71 (11), 8846-8851 (1997).

12	Martinez-Picado, J., Savara, A.V., Sutton, L. & D'Aquila, R.T. Replicative fitness of protease inhibitor-resistant mutants of human immunodeficiency virus type 1. J Virol 73 (5), 3744-3752 (1999).

13	Wang, J. et al. The HIV-1 reverse transcriptase mutants G190S and G190A, which confer resistance to non-nucleoside reverse transcriptase inhibitors, demonstrate reductions in RNase H activity and DNA synthesis from tRNA(Lys, 3) that correlate with reductions in replication efficiency. Virology 348 (2), 462-474, doi: 10.1016/j.virol.2006.01.014 (2006).

14	Song, H. et al. Impact of immune escape mutations on HIV-1 fitness in the context of the cognate transmitted/founder genome. Retrovirology 9 (89), doi: 10.1186/1742-4690-9-89 (2012).

15	Ali, A. & Yang, O. A novel small reporter gene and HIV-1 fitness assay. Journal of Virological Methods 133 (1), 41-47, doi: 10.1016/j.jviromet.2005.10.016 (2006).

16	van Maarseveen, N.M. et al. A novel real-time PCR assay to determine relative replication capacity for HIV-1 protease variants and/or reverse transcriptase variants. J Virol Methods 133 (2), 185-194, doi: 10.1016/j.jviromet.2005.11.008 (2006).

17	Liu, Y. et al. Evolution of human immunodeficiency virus type 1 cytotoxic T-lymphocyte epitopes: fitness-balanced escape. J Virol 81 (22), 12179-12188, doi: 10.1128/jvi.01277-07 (2007).

18	Anastassopoulou, C.G., Ketas, T.J., Klasse, P.J. & Moore, J.P. Resistance to CCR5 inhibitors caused by sequence changes in the fusion peptide of HIV-1 gp41. Proc Natl Acad Sci U S A 106 (13), 5318-5323, doi: 10.1073/pnas.0811713106 (2009).

19	Abraha, A., Troyer, R.M., Quinones-Mateu, M.E. & Arts, E.J. Methods to determine HIV-1 ex vivo fitness. Methods Mol Biol 304, 355-368, doi: 10.1385/1-59259-907-9:355 (2005).

20	Liu, Y. et al. A sensitive real-time PCR based assay to estimate the impact of amino acid substitutions on the competitive replication fitness of human immunodeficiency virus type 1 in cell culture. J Virol Methods 189 (1), 157-166, doi: 10.1016/j.jviromet.2012.10.016 (2013).

21	Brumme, Z.L. et al. Reduced replication capacity of NL4-3 recombinant viruses encoding reverse transcriptase-integrase sequences from HIV-1 elite controllers. J Acquir Immune Defic Syndr 56 (2), 100-108, doi: 10.1097/QAI.0b013e3181fe9450 (2011).

22	Nomura, S. et al. Significant reductions in Gag-protease-mediated HIV-1 replication capacity during the course of the epidemic in Japan. J Virol 87 (3), 1465-1476, doi: 10.1128/jvi.02122-12 (2013).

23	Rolland, M. et al. HIV-1 conserved-element vaccines: relationship between sequence conservation and replicative capacity. J Virol 87 (10), 5461-5467, doi: 10.1128/jvi.03033-12 (2013).

24	Martinez-Picado, J. et al. Fitness cost of escape mutations in p24 Gag in association with control of human immunodeficiency virus type 1. J Virol 80 (7), 3617-3623, doi: 10.1128/jvi.80.7.3617-3623.2006 (2006).

25	Brockman, M.A. et al. Escape and Compensation from Early HLA-B57-Mediated Cytotoxic T-Lymphocyte Pressure on Human Immunodeficiency Virus Type 1 Gag Alter Capsid Interactions with Cyclophilin A. J Virol 81 (22), 12608-12618 (2007).

26	Miura, T. et al. HLA-associated alterations in replication capacity of chimeric NL4-3 viruses carrying gag-protease from elite controllers of human immunodeficiency virus type 1. J Virol 83 (1), 140-149, doi: 10.1128/jvi.01471-08 (2009).

27	JoVE Science Education Database, Cambridge, MA, Basic Methods in Cellular and Molecular Biology, PCR: The Polymerase Chain Reaction, doi: 10.3791/5056 (2014)

28	Lee, P.Y., Costumbrado, J., Hsu, C.Y. & Kim, Y.H. Agarose gel electrophoresis for the separation of DNA fragments. Journal of visualized experiments : JoVE 62 (Apr 20), doi: 10.3791/3923 (2012).

29	JoVE Science Education Database, Cambridge, MA, Basic Methods in Cellular and Molecular Biology, Restriction Enzyme Digests, doi: 10.3791/5070 (2014)

30	McClure, J., van't Wout, A.B., Tran, T. & Mittler, J.E. Granulocyte-monocyte colony-stimulating factor upregulates HIV-1 replication in monocyte-derived macrophages cultured at low density. J Acquir Immune Defic Syndr 44 (3), 254-261, doi: 10.1097/QAI.0b013e318030f5c5 (2007).

31	Reed, L.J. & Muench, H. A simple method of estimating fifty percent endpoints. Am J Hyg. 27 (3), 493-497 (1938).

32	Nickle, D.C. et al. Consensus and ancestral state HIV vaccines. Science 299 (5612), 1515-1518 (2003).

33	Rolland, M. et al. Reconstruction and function of ancestral center-of-tree human immunodeficiency virus type 1 proteins. J Virol 81 (16), 8507-8514, doi: 10.1128/jvi.02683-06 (2007).

34	Bryksin, A.V. & Matsumura, I. Overlap extension PCR cloning: a simple and reliable way to create recombinant plasmids. Biotechniques 48 (6), 463-465, doi: 10.2144/000113418 (2010).

35	Spira, A.I. & Ho, D.D. Effect of different donor cells on human immunodeficiency virus type 1 replication and selection in vitro. J. Virol. 69 (1), 422-429 (1995).

36	Manocheewa, S., Swain, J.V., Lanxon-Cookson, E., Rolland, M. & Mullins, J.I. Fitness costs of mutations at the HIV-1 capsid hexamerization interface. PLoS One 8 (6), e66065, doi: 10.1371/journal.pone.0066065 (2013).

37	Zakeri, H., Amparo, G., Chen, S.M., Spurgeon, S. & Kwok, P.Y. Peak height pattern in dichloro-rhodamine and energy transfer dye terminator sequencing. Biotechniques 25 (3), 406-410, 412-404 (1998).

38	Lalonde, M.S. et al. Sensitive oligonucleotide ligation assay for low-level detection of nevirapine resistance mutations in human immunodeficiency virus type 1 quasispecies. J Clin Microbiol 45 (8), 2604-2615, doi: 10.1128/JCM.00431-07 (2007).