## Sheet1
Name of the Material/Equipment | Company | Catalog Number
Fertilised chick eggs | Henry Stewart and Co, Louth, UK
Fertilised GFP chick eggs | The Transgenic Chicken Facility, The Roslin Institute, The University of Edinburgh
Egg incubator (Profi-H Hatcher) | Lyon Technologies, CA, USA | 910-033
14C Incubator | Precision Cooled Incubator, Leec Ltd., Nottingham, UK | Model LT2
Stereo-microscope | LEICA | Model MZ 12.5
Digital Camera | LEICA | DC500
Image acquisition software | LEICA | IM50
Goose neck halogen cold light source | Advanced Imaging Concepts, Inc | KL 1500 LCD
181⁄2 G hypodermic needle | SIGMA - ALDRICH | HSWNH181
Pancreatin | SIGMA - ALDRICH | P3292
DMEM | SIGMA - ALDRICH | D5030
Goat serum | SIGMA - ALDRICH | G6767
5ml syringe | SIGMA - ALDRICH | Z248010
Mouth tube | SIGMA - ALDRICH | A5177
Sigma Pasteur pipettes non-plugged, L 5 3/4 in. | SIGMA - ALDRICH | S6018
Transfer pipettes, polyethylene | SIGMA - ALDRICH | Z350796
Borosillicate glass capillaries, thin wall without filament | Harvard apparatus | PY8 30-0035
Iris Scissors - ToughCut | Fine Science Tools | 14058-09
Curved Iris Scissors - ToughCut | Fine Science Tools | 14059-09
Needle holders (Nickel-plated pin holder) | Fine Science Tools | 26018-17
Pascheff-Wolff Spring Scissors | Fine Science Tools | 15371-92
Dumont #5 forceps | Fine Science Tools | 11251-30
Minutien pins | Fine Science Tools | 26002-15
Dumont AA forceps, Inox Epoxy- coated | Fine Science Tools | 11210-10
Perforated spoon | Fine Science Tools | 10370-18
Tungsten needles (0.125mm diameter) | Fine Science Tools | 10130-05
Sellotape (clear, 24mm width) | Any Supplier
Pen/Strep (Penicillin, Streptomycin) Solution | VWR international | 101447-068
Sylgard 184 silicone elastomer kit | Dow Corning | S09 512 516
Pelikan black ink | Pelikan | 211-169
CellTracker CM-DiI | Molecular Probes | C-7001
DAPI (4',6-Diamidino-2-Phenylindole, Dihydrochloride) | Molecular Probes | D1306
Settings for glass needle puller | Sutter Instruments | Flaming/Brown micropipette puller model P-86
Heat 950; Pull 150; Velocity 100; Time 200; Pressure 500