2. Application of Stretch on Mouse Lung Epithelial Cell Line 

2.1. To begin, prepare a collagen coated PDMS membrane modified for use in cell culture as described in the accompanying text protocol.

2.1.1. MED: Talent places petri dish containing completed membrane into an oven to cure.

2.2. Next, seed mouse lung epithelial cells at 2.5 million cells/well onto a sterile flexible collagen coated membrane.  Incubate the cells at 37 °C and 5% CO2 for 2 days until the cells reach confluency.
2.2.1. MED: Talent pipettes cells onto the membrane

2.2.2. MED: Talent places membrane/cells into the incubator.

2.3. Then, use a 1.5 mm biopsy punch to punch two holes in each of the six clamp tabs 20.5 mm from the center of the construct if no pre-tension is desired, and remove the cell culture media.
2.3.1 and 2.3.2 are reversed and not slated
2.3.1. CU: Talent removes media.

2.3.2. CU: Talent measures and punches holes in the membrane as indicated.

2.4. Make sure the mechanical actuator is in a zero strain position and position the membrane on the stretcher so that the punched holes line up with the pins in the clamps. 
2.4.1. [2.4.1 to 2.5.1 combined] MED: Talent places membrane onto the stretcher.

2.4.2. CU: Close-up view as talent aligns the membrane.

2.5. Place top clamps in place and then tighten the screws one at a time alternating different sides. 

2.5.1. CU: Talent performs the above step as described.

2.6. Add 1 mL cell culture media before placing the device on the microscope stage.  Center the device on the light path.

2.6.1. CU: Talent adds 1 mL of media to the membrane.

2.6.2. CU: Talent places device on microscope stage and centers it on the light path.
2.7. Next, fix the device to the stage. Focus on the membrane by adjusting the in-plane and vertical positions of the mechanical device with the stage controller of the microscope. 
2.7.1. CU: Talent fixes the device in place.

2.7.2. MED: Talent looks through optics and adjusts focus with the stage controller.

2.8. Now, open the Playground dialogue box within the Interface software.  In the destination input block, enter a motor count value, which corresponds to the desired strain level to be applied.  

2.8.1. SCREEN: Screen capture video of above statement in the order described. 

2.9. Next, set the value in the “Velocity:” input block to 10 RPM or less to observe the same field before and after stretch as the field may shift with respect to the microscope objective and it may be necessary to adjust the microscope stage during stretch.  Once everything is set, click on “Go”.

2.9.1. SCREEN: Screen capture video as talent sets the velocity value to 10 RPM and then clicks “go”.

3. Application of Stretch and Atomic Force Microscopy 

3.1. Begin by making adjustments to the atomic force microscope. Increase the height of the AFM head to its maximum position in the z-direction.
3.1.1. MED: Talent increases AFM head to max height.
3.2. Then, put extenders on the legs to lift the plane at which AFM cantilever contacts the sample.   

3.2.1. CU: Talent adds extenders. [Videographer note: AA3730 is a continuation of action]
3.3. Next, remove the AFM scanner plate and the desired objective from the microscope.  Add a spacer to the objective and then mount it back on the microscope. Then, place the scanner plate back on to the AFM.

3.3.1. CU: Talent removes plate and objective, adds spacer to the objective, mounts it back on the microscope, and then replaces the scanner plate.  Videographer: If necessary, break into 2-3 shots depending on the amount of time each step takes.

3.4. HERWIG: “The height of the spacer will depend on the objective and the specific AFM set-up, but it is necessary to use a spacer if optical imaging is desired since the observation plane will be shifted in the z-direction.”

3.4.1. Interview style: Author saying the above 

3.5. Next, start the AFM software, the optical microscope software, and all necessary light sources including the light source for fluorescence measurements. 
3.5.1. Med Over the Shoulder: Talent turns on equipment in order listed above.

3.6. Mount a chip with a cantilever beam that has a stiffness of 200 pN/nm or less for measuring the elastic modulus of live cells on the AFM. Then, align the laser.  
3.6.1. ECU: Talent mounts cantilever onto AFM

3.6.2. CU SCREEN: Talent aligns laser.
3.7. Next, mount a glass coverslip on the device and use it to calibrate the cantilever stiffness according to manufacturer’s suggestions.

3.7.0 Mount adapter plate to the stretcher.
3.7.1. CU: Talent mounts coverslip onto stretcher.

3.7.2a MED Place stretcher in AFM
3.7.2. MED Over the Shoulder: Talent uses software to calibrate the cantilever.
3.8. Immediately before mounting the membrane on to the stretching device, cut the walls to about 1 mm in height. This reduces the interference experienced between the membrane walls and the load cell.

3.8.1. MED: Talent removes membrane/cells from incubator and removed media.

3.8.2. CU: Talent cuts wall of membrane.

3.9. Then, remove the cell culture media and mount the membrane on the mechanical device. 

3.9.1. CU: Talent removes cell culture medium

3.9.2. MED: Talent mounts membrane on mechanical device.
3.10. Place the mechanical device with the adapter on the scanner.
3.10.1. CU: Talent adds adapter plate and places the combination onto the scanner.
3.11. Using the software, stretch the membrane to the desired tensile strain level.
3.11.1. SCREEN: Screen capture showing talent entering parameters and starting the mechanical tensile strain.

4. Nano-indentation of Stretched Cells.

4.1. Prior to nano-indentation, add 0.5 mL or less of media onto the cells to keep them hydrated, but also take care to avoid a spill which may damage the AFM scanner or microscope. 
4.2. Then, engage the cantilever beam with the membrane.
4.3. Follow the protocol of the particular AFM device to scan areas of interest. 
5. Results: Elastic Modulus Mapping of Mouse Lung Epithelial Cells Under Strain
5.1. When a 20% strain was applied to cells seeded on the membrane, the cells displaced 20% as indicated here. [5.1.1 - LM]
5.2. The impact of cell stretching on the production of reactive oxygen species was measured in bronchial epithelial cells using a cumulative mitochondrial superoxide sensor as described in the accompanying text protocol. [5.2.1 - LM] In the absence of mechanical stretch, ROS production did not significantly increase over 60 min. [5.2.1 - LM] When a single 17% stretch was applied and maintained, there was an increase in mitochondrial ROS that persisted for another 60 min. [5.2.3 - LM]
5.3. With the incorporation of the mechanical stretcher into the atomic force microscope, elastic modulus maps of mouse lung epithelial cells before and after 10% tensile strain were obtained from the regions outlined here. [5.3.1 - LM] 300 individual force-deflection curves were recorded over a 40 X 40 µm area showing a change in the localization of high modulus regions with the application of strain. [5.3.2 - LM]






( 2013, Journal of Visualized Experiments


