Dear Author,

This document is divided into a number of sections in which you can add your comments to the video, voiceover, online text, and .pdf.   Please be aware that our policy is to do a single complementary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted, transparent, and where appropriate, specifically reference a time-point in the video or step in the written section.   

Have fun!

Project Name: Ex Vivo retina recordings by In Vivo ERG system
Date: 03/20/15
Authors and Affiliations

Please fill in any missing author information not included in the video.

	Order
	Author
	Affiliation
	Email

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Video Comments:

Please fill in any comments you wish to make in the “comment” column and insert the time-code that references the video at the time of the mistake in the “time-code” column.   Also, please make suggestions to correct the mistake.   For example it is not enough to say that 0.25 mM Fluo-4 is incorrect.  You must suggest the correct concentration.   If you need more space to write, please do so below the table.  DO NOT ADD CORRECTIONS TO THE VOICEOVER HERE.  PLEASE DO THIS IN THE NEXT SECTION.

	Time-code
	Comment
	Suggestion 

	1.
	00:00
	Ophthalmology misspelled
	Add the missing “h”.

	2.
	00:00
	Neurosciences should be Sciences
	Department of Ophthalmology and Visual Sciences

	3.
	00:20
	Retina (pink) upside down
	Flip the retina 180 deg1

	4.
	00:49
	Y-axis label/Barium visible too early.
	Time the appearance of “barium” and “Response (uV)” to coincide with the blue traces (right panel).

	5.
	02:02
	Paper removal shown.
	Move the clip…2

	6.
	02:08/09
	Paper removal missing
	Add paper removal from 02:02 to here, just before showing the cleaning with paper towel.

	6.
	03:40
	Priming (flushing) the lines missing.
	Add the clip from 04:13.

	7.
	04:16
	This is the priming.
	Replace with adjusting clip.3

	8.
	05:59
	This is lens/cornea removal.
	Move to 05:23. (just before transfer to the cold medium)

	9.
	07:26
	Ends abruptly.
	Smoother transition.

	10.
	08:53
	University misspelled.
	Add missing “i”.

	11.
	08:53
	Neurosciences should be Sciences
	Ophthalmology and Visual Sciences

	12.
	
	
	

	13.
	
	
	

	14.
	
	
	

	15.
	
	
	

	16.
	
	
	

	17.
	
	
	

	18.
	
	
	

	19.
	
	
	

	20.
	
	
	


1In addition the lens (transparent sphere) should be flying out before the black eye cup. Note: The retinas are shown correctly when they are placed on the specimen holder. Flip the retina only in the eye cup sketch.
2Show the section starting at 02:11 here (see 2.2 in revised script). Remove it from 02:11 (see the corresponding change in voiceover).
3We did the clip where I adjusted the perfusion rate by turning the white flow rate adjustor piece (should be 2.18.1 in the script). That should be shown here. Move this clip to 03:40 because this shows now the priming of the lines.
Audio Comments:
This section is used to specify the changes that need to be made to the voiceover.   Please specify time code where each mistake in the voiceover occurs, your comment, the step in the script that needs to be changed, and the corrected text.  Please include the entire step from the script in last column with the corrected text in bold.  If there is a pronunciation change, please provide a phonetic pronunciation key.  
	Time code
	Comment
	Step in Script (ex 4.2)
	Rewritten Text or Corrected Pronunciation

	1.
	02:09
	
	2.2
	1

	2.
	03:26
	2
	2.12
	“…The gas inlet should be attached to an air stone”

	3.
	03:30
	Preheated missing
	2.13
	3

	4.
	03:59
	
	2.17
	4

	5.
	04:41
	No specimen holder shown
	3.1
	Change “is fully immersed” to “can be fully immersed”.

	6.
	08:01
	Not always compromised
	4.3
	5

	7.
	
	
	
	

	8.
	
	
	
	

	9.
	
	
	
	

	10.
	
	
	
	

	11.
	
	
	
	

	12.
	
	
	
	

	13.
	
	
	
	

	14.
	
	
	
	

	15.
	
	
	
	

	16.
	
	
	
	

	17.
	
	
	
	

	18.
	
	
	
	

	19.
	
	
	
	

	20.
	
	
	
	


1”…, then remove the paper and clean the dome with 70% ethanol.”
2Gas inlet but not the perfusion inlet is connected to the air stone.

3”Put the preheated bottle where the perfusion media will be maintained at 37 degrees Celsius.”

4…and connect the shield to the amplifier’s ground through the Faraday cage to prevent coupling…”
5Change the second sentence starting with Regardless to read “B-wave stability was also often compromised in HEPES Ringer.”
Text Protocol:

Please use this table to address changes that need to be made to the text.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol (major structural changes or more than 10 spelling or grammatical mistakes), we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	1.1.2.
	10.0 missing in front of the “HEPES”.
	Add 10.0 in the front of “HEPES”.

	3.
	
	
	

	4.
	
	
	

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


.PDF

Please use this table to address changes that need to be made to the pdf.  List the step in the text protocol where there is an issue, your comments pertaining to that issue, and how we should resolve it.  For drastic changes to the protocol, we will require re-upload of the entire document.     

	1.
	Step in Protocol
	Comment
	Suggestion

	2.
	1.1.2
	10.0 missing in front of the “HEPES”.
	Add 10.0 in the front of “HEPES”.

	3.
	
	
	

	4.
	
	
	

	5.
	
	
	

	6.
	
	
	

	7.
	
	
	

	8.
	
	
	

	9.
	
	
	

	10.
	
	
	

	11.
	
	
	

	12.
	
	
	

	13.
	
	
	


