Chu 53338 redos (3)

2.2b  Light from the 532 nanometer laser passes through a neutral density filter.  (1:15, rewrite)

3.1c The reading should be less than 10 microwatts, corresponding to an excitation intensity of less than 10^4 Watts per centimeter square. Then, acquire an image of the gold nanoparticles using the photomultiplier tube.  (5:11, rewrite)

5.1a Saturated excitation microscopy of the sample requires a different setup.  (9:56)