Submission ID #: 53350
Editor Name: Michael Linnes
Videographer name: Paul Donahue
Film Date: June 25th, 2015
Authors and Affiliations: Nils Goedecke1, Maja Bollhalder1, Remo Bernet1, and Jess Snedeker1,2

1University of Zurich, Balgrist University Hospital, 2Institute for Biomechanics, ETH Zurich, Zurich, Switzerland

Title: Easy and Accurate Mechano-Profiling on Micropost Arrays

Corresponding Author: 

Jess Snedeker

University of Zurich

Balgrist University Hospital 
Institute for Biomechanics

ETH Zurich

Zurich, Switzerland

snedeker@ethz.ch

Co-authors:

nils.goedecke@hest.ethz.ch
 Questionnaire:
A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)_No 

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)__Yes___ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ___________________all________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ___________all________________

E.  Will the filming need to take place in multiple locations? (Y/N) __Yes___ If yes, how far apart are the locations? _two rooms 20m apart on the same floor (cell culture lab and microscopy lab )_________
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 

A. Experimental Goal (read by voice talent at JoVE): 
The overall goal of this technique is to gather mechanobiological relevant properties from isolated single-cells by visualizing the forces from their characteristic cell-substrate interactions using standard light microscopy. (Intro)
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.1. Nils Goedecke: The presented method is a platform technology for mechanobiology,  it can help investigating key questions in cancer research such as the role of cell contraction in cancer cell metastasis.
1.2. Nils Goedecke: The major advantages of the technique are that it robustly extracts mechanobiological information with little user training, it is compatible with standard light microscopes, and it is geared towards high-throughput.   
C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.3. Maja Bollhalder: Though this method provides insight into the mechanobiological properties of human bone cancer cells, it can also be applied to other cell types such as smooth muscle cells or cardiomyocytes.
D. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!) 
N/A

E.  Ethics title card: (for human subjects or animal work, does not count toward word length total) 
N/A
Protocol (read by voice talent at JoVE): 
2. Micropost Array Cell Culture Preparation 
2.1. Begin by placing the glass substrate, so that the micropost array faces up, into the well of a 12-well plate.  [2.1.1 - MED] Indirectly add 1 mL of 99% ethanol to the well so that the substrate is covered. [2.1.2 - CU]
2.1.1. *Film as written

2.1.2. *Film as written

2.2. Then, incubate the array at room temperature for 20 to 30 seconds before adding 1 mL of sterile deionized water on the side of the well.  [2.2.1 - CU]
2.2.1. *Film as written

2.3. Once it mixes with the ethanol, aspirate approximately 1 mL of the ethanol solution from the well and add an additional 1 mL of deionized water.  Repeat this process at least 3 times to wet the sample. [2.3.1 - CU]
2.3.1. Talent aspirates and then adds dI water to the plate 2 times.

2.4. Next, replace the deionized water in the well with PBS in the same manner by adding and then aspirating approximately 1 mL at a time for 3 repetitions. [2.4.1 - CU]
2.4.1. Talent aspirates and then adds PBS to the plate 2 times.

2.5. Then, use this same process to replace the PBS with medium. [2.5.1 - CU]
2.5.1. Talent aspirates and then adds media to the plate 2 times.

2.6. Now that the array is covered with approximately 1 mL of medium, pipette 25,000 cells of interest in 1 mL of medium into the well with a prepared micropost array. [2.6.1 - CU]
2.6.1. *Film as written

2.7. Then, close the multi-well plate and transfer it to an incubator at 37°C and 5% CO2. [2.7.1 - MED] Let the cells adhere and grow on top of microposts for 6 to 7 hours, inspecting the adhesion process occasionally using a light a microscope. [2.7.2 - MED]
2.7.1. *Film as written

2.7.2. Talent places plate on stage of light microscope and looks through optics while focusing on sample.

3. Fixing & Staining Cells

3.1. Aspirate all of the medium from the well and then wash the cells twice with 1 mL of PBS. [3.1.1 - MED] Make sure to apply gentle force while washing with PBS to remove cell debris that has accumulated on the micropost array during incubation and to detach dead cells. [3.1.2 - CU]
3.1.1. *Film as written

3.1.2. *Film as written

3.2. Next, add 0.5 mL of a 3.7% buffered formaldehyde solution for 5 minutes to fix the cells. [3.2.1 - CU] Then, remove the formaldehyde solution and wash the micropost array twice using 1 mL of sterile deionized water for each wash. [3.2.2 - CU]
3.2.1. *Film as written

3.2.2. *Film as written

3.3. Cover the fixed cells with 0.05% Coomassie Brilliant Blue dye in 50% water, 40% ethanol and 10% acetic acid for about 90 seconds. [3.3.1 - CU] Wash away the excess staining solution with 2 rinses in 1 mL of sterile deionized water. [3.3.2 - CU]
3.3.1. *Film as written

3.3.2. *Film as written

3.4. Then, add 1 mL of deionized water to the micropost array [3.4.1 - CU] and check the staining result under a light microscope. [3.4.2 - MED]
3.4.1. *Film as written

3.4.2. *Film as written

4. Imaging Cells on the Micropost Array 
4.1. Start by adding 2 mL of deionized water to a Petri dish with a thin glass bottom. [4.1.1 - CU]
4.1.1. *Film as written

4.2. Using a pair of tweezers, transfer the micropost array from the 12-well plate into the imaging dish with the microposts facing up. [4.2.1 - CU]
4.2.1. *Film as written

4.3. Then, place the imaging Petri dish on the moveable stage of a light microscope. [4.3.1 - MED]
4.3.1. *Film as written

4.4. Turn the compensation ring of the lens used for imaging until the number on the scale represents the total thickness of all materials along the optical path.   [4.4.1 - CU]
4.4.1. *Film as written

4.5. Next, remove any phase contrast rings from the optical path to enable ordinary bright-field mode [4.5.1 - CU] and then reduce the iris on the illumination side down to 50%. [4.5.2 - CU]. 
4.5.1. *Film as written

4.6. Align the petri dish so that the microposts of the array form either a horizontal or a vertical line across the observation field. [4.6.1 - CU]
4.6.1. *Film as written + [4.6.2. SCREEN]
4.7. Define a start point at the top left and move the Petri dish stepwise across the stage, scanning the micropost array while taking numerous high resolution images with a 20x or 40x objective. Aim to have a single cell in the center of each image. [4.7.1 - SCREEN]
4.7.1. Screen capture video of the above step.

4.8. Next, sweep along the z-axis through the substrate until the micropost tips are in focus. Using the fine tuning focus wheel of the microscope, focus on the micropost about 2 to 3 µm from the top and record additional images. [4.8.1 - SCREEN]
4.8.1. Screen capture video as talent scans through z-axis and focuses on the posts and takes images. 
5. Image Analysis with Open Source Software “MechProfiler”

5.1. Begin by loading the software, MechProfiler, and loading in a range of images that need to be analyzed by clicking on “Open” and selecting the images.[5.1.1 - SCREEN]
5.1.1. Screen capture video as talent loads software and then opens images.

5.2. Next, go to the “Settings” section and enter the parameters as instructed by the software developer.   [5.2.1 - SCREEN]
5.2.1. Talent opens settings menu and enters standard parameters.

5.3. Then, analyze the images one-by-one.  Start by selecting the “crop” button and then click and drag to form a rectangular outline around the area of interest.  When finished, double click inside the drawn rectangle to finish the action. [5.3.1 - SCREEN]
5.3.1. Screen capture video of the above step in the order described. 
5.4. Next, select “draw cell outline” and use the cross hair cursor to draw an outline around each visible cell in the image.   [5.4.1 - SCREEN]
5.4.1. Screen capture video of the above step in the order described. 
5.5. Discard any unwanted microposts by clicking on “Discard Posts” and use the cross hair cursor for drawing. Then, enclose all microposts that belong to a cell outside of the image section or that are deflected for any other reason, but not by the cell of interest. [5.5.1 - SCREEN]
5.5.1. Screen capture video of the above step in the order described. 
5.6. Next, click on “Find Centroids” to start the software subroutine.  Adjust the filter setting right next to the “Find Centroids” button until all microposts are registered, which is made visible by a red cross in their center.  [5.6.1 - SCREEN]
5.6.1. Screen capture video as talent clicks on “find centroids and then adjusts the settings to register the microposts.  Then brings cursor over a few of the red crosses.
5.7. If there are multiple or missed micropost positions, use the manual editing function by clicking on “Manual Edit” and use the mouse cross hair to select the micropost in question. Double click inside the rectangle and place a single red marker in the enlarged image section, which automatically closes.  [5.7.1 - SCREEN]
5.7.1. Screen capture video as talent brings cursor over missed misplaced micropost, then manually adds the missing marker. 
5.8. Find the ideal micropost grid by activating the “Generate Grid” function with a mouse click. Ensure the position corresponds with the true micropost head, shown by a blue ring, inside the drawn cell outline. [5.8.1 - SCREEN]
5.8.1. Screen capture video of the above step in the order described. 
5.9. Next, correct any misplaced grid makers inside the cell area where needed using the corresponding “Manuel Edit” function with a mouse click. Use the cross hair to select the micropost in question by clicking and dragging it across. Double click inside the appearing rectangle and place the corrected blue marker in the enlarged image section, which automatically closes. [5.9.1 - SCREEN]
5.9.1. Screen capture video of the above step in the order described. 
5.10. Then, click on “Calculate Deflections” to get a histogram of the calculated deflection values based on the difference between a micropost’s position inside the image section and the generated ideal grid. [5.10.1 - SCREEN]
5.10.1. Screen capture video of the above step in the order described. 
5.11. Finally, save the complete analysis including the tables of values.  Continue the image analysis either by clicking on “Reset View” to analyze another image section or click on “Next Image”. [5.11.1 - SCREEN]
5.11.1. Screen capture video as talent saves the table values and then hovers over the “reset view” button before clicking on next image.
6. Results: Mechano-profiling of Bone Cancer Cell Lines
6.1. Shown here is an example of mechano-profiling.  Two bone cancer cell lines: HuO9 cells (pronounced: hju O‘nine), which have low metastatic potential, and the highly metastatic M132 (pronounced: em one hundred thirty two) cells were seeded on arrays from the same production batch.  [6.1.1 - LM] The outcome shows that HuO9 cells tend to apply more force at their attachment points than the highly metastatic cells. [6.1.2 - LM]
6.1.1. Figure 8a (Video Editor: Highlight the corresponding columns when mentioned.)

6.1.2. Figure 8b (Video Editor: Have Figure 8b come out of the 4th set of columns since it is a box plot of this same data.  Fade away Figure 7a.)
6.2. By categorizing the force values with respect to the cell area, one finds that the average force per cell is elevated for HuO9 cells compared to M132.  Also, the average force per micropost increases as the cells spread until the average force per post reaches a more stable value. [6.2.1 - LM]
6.2.1. Figure 8c (Video Editor: Highlight the appropriate columns when each cell type is mentioned.)

6.3. Apart from the differences in contractility, morphological variances can be quantified with interesting results. For instance, in contrast to the highly metastatic M132 cells, which tend to occupy fewer microposts, the HuO9 cells present a more heterogeneous profile in terms of micropost coverage.  [6.3.1 - LM]
6.3.1. Figure 8d (Video Editor: Add the X-axis label of “# of Posts Covered” and the Y-axis label of “# of Occurrences”.  Highlight the “3” columns with the last sentence.)

6.4. In short, the mechanoprofile for the parental cell line HuO9 reveals that they typically cover more area and apply slightly more force to the microposts [6.4.1 - LM] whereas the metastatic cell line M132, an aggressive cell type, characteristically covers fewer microposts and applies less force per micropost. [6.4.2 - LM]
6.4.1. Figure 8b,d (Video Editor: Highlight the HuO9 columns / fade back the M132 columns in both figures.)

6.4.2. Figure 8b,d (Video Editor: Highlight the M132 columns / fade back the HuO9 columns in both figures.) 
7. Conclusion (said by authors on camera)
7.1. Maja Bollhalder: While performing this procedure, it’s important to remember to pipette very carefully and never directly onto the micropost array avoiding to introduce any bubbles as they lead to the microposts’ collapse.

7.2. Nils Goedecke: After watching this video, you should have a good understanding of how to extract mechanobiological information of isolated single-cells using micropost arrays in combination with our MechProfiler software. Enjoy your results.  
Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2015, Journal of Visualized Experiments


