Submission ID #: 53394

Editor Name: Steven Nilsen

Videographer name: Jens Tomat

Film Date: September 2, 2015

Authors and Affiliations:

Michael Thoma, Bill S. Hansson and Markus Knaden

Department of Evolutionary Neuroethology, Max Planck Institute for Chemical Ecology, Jena, Germany

Corresponding author:

Dr. Markus Knaden

mknaden@ice.mpg.de

Co-authors:

mthoma@ice.mpg.de

hansson@ice.mpg.de

Title: High-resolution Quantification of Odor-guided Behavior in Drosophila melanogaster using the Flywalk Paradigm

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? No

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed?

Can you now highlight the steps (up to six) in this manuscript that the videographer needs to be most careful to tape as best as possible.  If there is currently any highlighting in the protocol section is can be removed before you do this.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?

Checking for leaks and attaching the odor vials to the set up in the correct airflow orientation.

E.  Will the filming need to take place in multiple locations?  Yes, in rooms of relatively close proximity.  2 rooms ca 20m apart; calm room for interview: different level, ca 50m apart.`

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this behavioral bioassay is to investigate odor-guided behavior in vinegar flies. Flywalk is a high-throughput system that tracks and analyzes the behavioral responses of multiple individual flies to olfactory stimuli automatically. (Intro)

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Bill: This method can help answer key questions in the field of insect olfaction such as “what is the hedonic valence of an odorant and how do additional odorants affect it?”

  - Markus: The main advantage of this technique is that odor-guided behavior is examined at high resolution using stimuli similar to those in the insects´ natural environment or in physiological experiments.

  - Michael: Generally, individuals new to this method will struggle because success depends on an airtight system. Identification of leaks requires knowledge of airflow and critical connections at which leaks frequently arise.

Protocol (read by voice talent at JoVE):

- Preparing the Experimental Fly Cohorts

  - For these experiments it is important to rear the flies under a 12:12 light:dark cycle [2.1.1-WID] in low to mid-density cultures containing a normal food medium. [2.1.2-CU]

    - establish talent in flyroom, talent takes culture vials at low-mid density populations down from shelf or out of incubator

    - detail of the fly cultures at low-mid density, flies moving around in vials held by talent

  - Keep the room temperature between 23 and 25 °C [2.2.1-CU] and the relative humidity should be around 70%. [2.2.2-CU/MED]

    - thermostat/thermometer reading in flyroom on wall/bench, reads 23-25 C, hygrometer in room, reading around 70% RH, OR humidifier in room with setting at 70% RH

  - In preparation, using large culture vials, mate twenty to thirty adults for a week, [2.3.1-CU] and collect groups of thirty to forty offspring of mixed sex to make an experimental cohort. [2.3.2-CU]

    - aspirating anesthetized flies into fresh large culture vial

    - making a collection of progeny from a different large culture vial with pupating flies

    - same like 2.3.1

  - When a cohort is two to four days old, transfer it to a new vial plugged with moist foam [2.4.1-MED] and containing moistened tissue paper.  Let the flies starve in this vial for 24 hours [2.4.2-ECU] before the test.  It is vital that the flies are not anesthetized during this transfer. [2.4.3-CU]

    - Aspirating flies from one vial and injecting into new vial with tissue and foam plug

    - detail of new vial with foam plug and moistened tissue

    - preparing another new vial by moistening a tissue in vial or packing moist tissue into vial,

    - [split shot] then ejecting flies into the vial from aspirator

- Preparing the Flywalk Apparatus

  - For this set up, 250 mL bottles serve as mini-humidifiers. [MED]

3.1.0 preparing bottles and aliquot of distilled water

    - Adding water to vial

  - Fill each bottle with 100 mL of distilled water.  [CU]

  - Next, prepare half-milliliter working stocks of each odorant [3.3.1-MED/TEXT] as one one-thousandth dilutions of the pure odors in mineral oil.  [3.3.2-CU]

    - taking aliquot of oil or of concentrate into vial, TEXT: ethyl acetate, ethyl butyrate, isopentyl acetate and 2,3-butanedione.

    - detail of adding oil to concentrate or visa-versa

  - For the odor containers use 200 µL PCR tubes.  [CU]

    - unpacking 200 µL tubes

  - First removing their lids, then load 100 µL of an odor dilution into the tube. [CU]

    - film as written, one tube is loaded

  - Put the four odorant-loaded PCR tubes into separate odor vials. [MED]

    - film as written

  - Similarly, prepare one PCR tube with just mineral oil, to serve as a negative control. [MED]

    - loading tube with oil and placing it into odor vial

  - Next, tightly seal the odor vials using stainless steel plugs and rubber gaskets. [CU]

    - film as written, one vial

  - Now prepare the odor delivery system.  [WID]

    - establish talent taking odor vials to apparatus

  - For each odorant in the experiment, connect two ball check valves to each odor vial.   [CU]

    - ball check valves are screwed into the sides of a few odor vials

  - (filler)

  - (filler)

  - Make sure to connect the odor vials in the right flow direction. [3.13.1-CU] A wrong connection will not only compromise the planned experiment, [3.13.2-ECU] but it may also contaminate the delivery system. [3.13.3-MED]

    - checking flow direction in system of one vial, talent can point with finger to show direction of the air flow,

    - detail of the connection in proper orientation

    - checking over all the other four vials for proper orientation    Attach all wires to system

  - Next, check the system for leaks.  First seal the outlet of the mixing chamber. [MED]

    - film as written

  - Then, check that all airflow before the stimulus device drops to zero. [CU]

    - checking flowmeters at the input to the setup

  - If there are leaks in the system, listen for them. They can usually be resolved by exchanging rubber gaskets [3.16.1-CU] at crucial connections or exchanging TEFLON tubing. [3.16.2-MED]

    - Listen for leaks

    - changing a TEFLON tube in the system

- Running the Flywalk Experiment

  - For the first step of this procedure, breaking glass is a concern, so put on protective gear. [WID]

    - putting on gloves and goggles

  - Carefully transfer 15 individual test flies to the individual glass tubes using an aspirator. [4.1.1-CU]  Close the glass tubes on both sides using the corresponding adapters - they must fit very tightly. [4.1.2-CU]

    - film as written

    - film as written

  - Next, connect the loaded glass tubes to the Flywalk setup. [4.3.1-MED] Once all the tubes are attached, let the flies habituate to the new environment [4.3.2-MED] for at least 15 minutes before starting the experiment. [4.3.3-ECU]

    - attaching first glass tubes to setup

    - attaching last of glass tubes to setup

    - detail of flies in tubes moving about     + turn on the light

4.10 SHOULD BE EDITED AFTER 4.3

  - The odor vials must all be connected at this point to create a closed system.  The habituation period relies on a closed system without leaks so the airflow through the tubes is at the same speed as during the test periods. [LM]

    - LAB MEDIA: Schematic found in SW doc

  - Check the airflow on the computer connected to the digital flowmeters. [MED]

    - pan  flowmeters in the set up to talent seated at the computer

    - Talent adjusting the flow regulators  MED + CU

  - The total airflows exiting the system should equal the airflow entering the system.  If not, there is a leak present.  The leak will affect airflow in all tubes [LM] but the problematic tube usually is the one that displays the largest drop in airflow. [4.6.2-CU]

    - LAB MEDIA: SCREEN CAPTURE (see the note below)

    - screen showing talent looking over flowmeter values and pointing out the culprit tube that causes leak, fabricate a leak situation for this

  - If a new leak is identified, it is usually caused by a glass tube that broke inside the adapter [4.7.1-MED] or it is caused by shards of glass within the adapters from previous experiments. [4.7.2-CU]

    - turning off the airflow and starts checking tubes to find broken tube

    - removing the broken glass tube, showing that it has broken inside the adapte

  - During this process make certain the humidity of the air exiting the system is between 60 and 80%. [LM]

    - LAB MEDIA: provide a SCREEN CAPTURE where the mouse circles around the RH value to look at

  - After the flies have acclimated to their tubes, the experiment can be run.  In principle, any sequence of odors can be presented.  Thus far, the best results can be obtained by randomizing the stimuli and separating them by at least 90 seconds.  In total, present each odor 40 times in 500 millisecond pulses.  [LM]

    - LAB MEDIA: Screenshot of stimulus protocol (text file or excel table) containing the rows “ID” (specifying the odor tested),  “pulse duration”,  “delay” (used for experiments using temporally overlapping stimuli),“time between lines” (specifying interstimulus interval) and “sent ID” (specifying internal stimulus ID used for analysis).

  - Now, switch on the light source.  Make sure to provide enough light [4.10.1-CU/TEXT] for efficient tracking without increasing the temperature inside the glass tubes. [4.10.2-LM]

    - turning on the LED light to illuminate the tube, show tubes illuminate TEXT: LED-cluster; λ=630 + turn down the curtain

    - LAB MEDIA: screen capture of showing the tubes becoming illuminated by the light

  - Next, set up a region of interest by dragging a frame across the area to be monitored.  Include all 15 glass tubes in the frame, but exclude the outer five millimeters of the tube's ends. [LM]

    - LAB MEDIA: screen capture of dragging of the region of interest is best visualized by filming it on the screen of the computer, which will also visualized in the next step

  - The next step is to turn off the tracking software and make modifications to the script that will change the y-axis position of the 14 parallel lines that separate the individual tubes.  When the tracking software is back on, only one fly should be present between any two lines. [LM[

    - LAB MEDIA: Screen capture the process of exiting the tracking software, adjusting the script and re-entering the tracking software to show the lines have moved in position to be between the tubes

  - Next, make certain the camera parameters are set so that the flies are reliably tracked throughout the glass tubes.  If the flies are lost at the edges of the region of interest, increase the brightness or gain of the tracking software.

    - LAB MEDIA: Screen capture showing how the to adjust the parameters of the camera, showing the flies getting lost in the edges initially before the changes are made

  - The physical set up of the tracking system should also shield away vibrations. [MED]

    - talent adjusting or pointing out the vibration-relief mechnanism for the system

  - Now that the system is fully prepared, start the stimulus protocol. [MED]

    - talent goes back to computer and prepares to start the procedure

  - Record the flies positions at a rate of 20 frames per second and log these coordinate positions in combination with the odor valve status into text files. [LM]

    - LAB MEDIA: Screen capture of 15 fly experiment

- Clean Up

  - Because the experiment is very sensitive to odors, regular cleaning is required. [5.1.1-WID]

    - removing glass tubes from the system

    - putting them into a box

  - To clean the glass tubes, soak them in detergent and then rinse them off under running distilled water. [5.2.1-MED]

    - placing tubes in detergent bath … then removing

    - rinsing the tubes in distilled water

  - Following the rinse, dry the tubes under pressurized air [5.3.1-MED] and then heat them to 200 °C for 8 hours. [5.3.2-WID]

    - blow drying tubes

    - placing tubes in container and placing container in oven

  - To clean the odor delivery system, first remove all the odor vials and tubing from the central mixing chamber.  [MED]

    - film as written

  - Then, remove the tubing adapters from the mixing chamber. [CU]

    - Remove mixing chamber

  - Clean the emptied mixing chamber by rinsing it with a solvent under a hood. [MED]

    - film as written

  - Like the tubes, dry the mixing chamber using pressurized air and heat it at 200 °C for 8 hours. [WID]

    - Drying the mixing chamber with pressurized air, CU + MED

    - Place the mixing chamber in the oven

  - To clean the odor vials and the check valves, remove the steel plugs, discard the rubber gaskets and remove the check valves. [5.8.1-MED]

    - film as written

  - Except for the check valves, soak the re-usable components, in ethanol or acetone.  [MED]

    - adding parts to soak bath, setting aside check valves

  - Next, sonicate the soaked components for 30 minutes at the maximum setting [5.10.1-MED] and rinse them off with distilled water. [5.10.2-CU]

    - transferring items from bath to sonicator

    - removing components from sonicator and rinsing them off in distilled water

  - As before, use pressurized air for drying and heat the components to 200 °C for eight hours. [WID]

    - like 5.7.1, components being loaded into the incubator next to chamber and tubes

  - Now, clean the check valves. Flush them with ethanol and acetone [5.12.1-MED] using a syringe in the direction of the airflow. [5.12.2-CU]

    - loading syringe and flushing a check valve with syringe content

    - detail of orientation of syringe into check valve during flushing pls only the first part of the shot

  - Because acetone attacks rubber parts, immediately dry each flushed check valve with pressurized air. [MED]

    - blow drying a check valve, then flushing a different check valve with solution and blow drying it

    - Drying

  - To remove all the residual odors from the flushed check valves, pulse air through them for several days. [CU]

    - attaching valves to lines in an incubator

  - Set them up in a 60 ºC incubator with airflow pulsing on and off [5.15.1-MED] on ten second intervals. [5.15.2-CU]

    - pan from inside the incubator to the outside to show that the lines are split from one line that feeds through the incubator wall and is attached to a three way valve on the exterior side

    - three-way valve in detail, show action

- Results: Response Kinetics to Single and Complex Odors

  - Fifteen starved female flies were exposed to ethyl butyrate.  The yellow bars show the average response of one fly to repeated 500-millisecond pulses of ethyl butyrate. The blue squares depict upwind movement within a 100-millisecond time frame.  Correspondingly, red squares depict downwind movement. [LM]

    - Movie Fig.1A – individual fly data to ethyl butyrate

  - The same flies also displayed upwind movement in response to stimulation with isopentyl acetate, ethyl acetate or 2,3-butanedione. [LM]

    - Movie Fig.1B – individual fly data to several attractants

  - Averaged across the population, the flies' response to ethyl acetate had a sharp onset, high amplitude and a short duration. [LM]

    - Movie Fig. 2A – Response dynamics after stimulation with ethyl acetate

  - In contrast, the response to 2,3-butanedione had a later average onset, lower amplitude and longer duration. [LM]

    - Movie Fig. 2B – Response dynamics after stimulation with ethyl acetate and 2,3-butanedione

  - Ultimately, data from each odorant was resolved in this manner and then further analyzed to show …

    - Movie Fig 2C

  - ... all four odors elicited a higher upwind displacement within four seconds than the solvent. [LM]

    - Movie Figure 3 – Net upwind displacement per stimulus [cm]

  - In addition – by opening odorant vials synchronously – flies were exposed to all possible mixtures. After stimulating the flies with the four individual odors, stimulations with blends of the four odors were all at least as attractive as the most attractive single compound in the blend. [LM]

    - Movie Fig. 4 – Net upwind displacement after stimulation with mixtures.

- Conclusion (said by authors on camera)

  - Michael: Once mastered, the experiment can be started within 1 hour and results can be visualized within 30 minutes after the 8-hour experiment is over. This allows obtaining behavioral data of many flies in short time with high temporal resolution.

  - Michael: While attempting this procedure, it’s important to remember that extensive cleaning between experiments is required. A system contaminated by odorants of your last experiment won’t yield any significant results.

  - Markus: Following this procedure, genetically modified flies can be tested to investigate, for example, the impact of individual olfactory circuits on the odor-guided behavior.

  - Bill: After its development, this technique paved the way for researchers in the field of insect olfaction to explore the coding of now well-defined hedonic valence in the insect brain. The similar odor stimuli in Flywalk and physiological experiments allow a better link of these so far rather isolated fields of insect olfaction.

  - Markus: After watching this video, you should have a good understanding of how to establish Flywalk in your own lab and start your own high-throughput experiments on insect olfaction.

  - Michael: Don't forget that working with chemicals and glass ware can be extremely hazardous and precautions such as gloves and goggles should always be taken while performing this procedure.

Provided Media

The inserted images were very helpful to me, but were deleted.   Those files are to be uploaded to the site, not embedded in this document. -Steven

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

Two screen capture videos will be uploaded today or tomorrow to http://www.jove.com/files_upload.php?src=16285218

Screen capture 1: handling of the program

Screen capture 2: tracked flies responding to an attractive stimulus.

However, these are only example videos to show, which quality we can provide. Regarding screen capture 1, we would like to take the final screen captures together with the film team, as we are only then informed about the exact timing needed for every step. Taking the screen shot will then take only few minutes. Regarding screen capture 2, we are currently running more experiments and hope to get a better example of flies exhibiting a visible response. In case we get a better shot, we will upload that afterwards.

Authors, as you understand, it is important that you generate and upload screen captures files as we ask, to prevent confusion during the editing process (please read the box above). Each file must be named according to the step it corresponds to and there must be exactly one file for each step.  Thank you for your compliance.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.