Liu 53396 redos (2)

2.7b Adjust the flow rate by pressing the “INCR” and “DECR” (pronounced as “I-N-C-R and D-E-C-R”) buttons for gas flow rate control to maintain a chamber pressure of about 100 milliTorr. (2:09, rewrite)

2.8 Next, set the plasma power at 20 Watts by pressing the  “INCR” and “DECR” (pronounced as “I-N-C-R and D-E-C-R”) buttons for power control and ignite the plasma by pressing the “RF on” button. (2:23, rewrite)