# Submission ID #: 53438

# Editor Name: Melissa Ceo

# Videographer name: Paul Donahue

# Film Date: 10/5/2015

# Authors and Affiliations:

Sarah Heub1,2, Noe Tscharner1, Florian Kehl1,3, Petra S. Dittrich2, Stéphane Follonier1, Laurent Barbe1

1Centre Suisse d’Electronique et Microtechnique

Landquart, Switzerland

2Department of Chemistry and Applied Biosciences

ETH Zurich

Zurich, Switzerland

3Department of Information Technology and Electrical Engineering

ETH Zurich

Zurich, Switzerland

# Title: A Simple Method for Automated Solid Phase Extraction of Water Samples for Immunological Analysis of Small Pollutants

# Corresponding Author:

Sarah Heub: sarah.heub@gmail.com

# Co-authors:

Noe Tscharner: noe.tscharner@csem.ch

Florian Kehl: Florian.kehl@csem.ch

Petra S. Dittrich: dittrich@org.chem.ethz.ch

Stéphane Follonier: stephane.follonier@csem.ch

Laurent Barbe: laurent.barbe@csem.ch

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) Y If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) Steps 2.7, 3.1, 4.1, 4.2, 4.3.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) The most critical is the preparation of the column (step 2.7), which has to be done precisely.

E.  Will the filming need to take place in multiple locations? (Y/N) N If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this sample preparation method is to pre-concentrate small organic pollutants from water samples in a user-friendly, cost-effective and automated way. (Intro)

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Sarah Heub: This method can replace standard SPE procedures when studying the contamination of water samples using immunodetection methods, such as well-plate immunoassays or biosensors.

  - Laurent Barbe: The main advantage of this technique is that the SPE procedure is automated while the footprint and cost of the instrument are low compared to traditional approaches. In addition, the performances of the enrichment process match the requirements of analysis by immunoassays both in terms of low solvent content and pre-concentration efficiency.

# Protocol (read by voice talent at JoVE):

- Preparing the Reagents and SPE Column

  - First, filter a 100 millimeter water sample with a 0.2 micrometer pore size filter [2.1.1-MED-TXT]. Place the filtered sample in a glass bottle with GL 45 thread [2.1.2-MED-over the shoulder].

    - *Film as written, TEXT: See text protocol for details on water sample preparation.

    - *Film as written

  - Prepare 300 microliters of eluent by diluting methanol in deionized water to 50% volume in a tight tube [2.2.1-MED].

    - *Film as written

  - Next, prepare a 20 milligram per milliliter suspension of octadecyl-silica sorbent particles by adding 1600 microliters of methanol followed by 400 microliters of deionized water to 40 milligrams of reverse phase sorbent in a glass vial [2.3.1-CU-TXT]. Tightly close the lid and agitate with a vortex mixer [2.3.2-MED-over the shoulder].

    - Show glass vial as talent adds reagents to it, TEXT: 1600 μl MeOH, 400 μl deionized H2O, 40 mg reversed phase sorbent.

    - *Film as written

  - Place a Nylon membrane with pore size 11 micrometers on a double layer of anti-dust tissue [2.4.1-MED]. Cut two small parts in the membrane with a 3-millimeter diameter punch [2.4.2-CU]. Then, grab one of the small membranes with flat-end filter forceps and place it on one side of the column [2.4.3-MED-over the shoulder].

    - *Film as written

    - Show Nylon membrane as talent cuts one small part from it.

    - *Film as written

  - Following this, screw the flat-bottom connector with the tube and tighten [2.5.1-MED]. Then, draw an arrow on the body of the column pointing towards the end where the membrane was placed [2.5.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - At this point, secure the column on the holder with the arrow pointing towards the bottom [2.6.1-CU-TXT]. Attach an empty 10 milliliter disposable syringe to the end of the tube of the column by using the Luer-Lock connectors [2.6.2-MED-over the shoulder].

    - *Film as written, TEXT: Column must be set as vertically as possible.

    - *Film as written

  - Agitate the sorbent suspension with a vortex mixer and rapidly pipet 100 microliters in the center of the column [2.7.1-MED]. While injecting, gently aspirate the pipetted solution through the membrane by using the syringe with the other hand [2.7.2-CU-TXT].

    - *Film as written

    - *Film as written, TEXT: Syringe must be clear of particles, and particle bed can be observed in column.

  - Sarah Heub: The SPE column preparation is very important. You have to make sure that you properly aspirate the solution through the membrane using the syringe while injecting the particle suspension in the column, otherwise the particles will not be packed densely.

    - Talent speaks toward camera, interview style.

  - Repeat the previous process two more times by agitating the stock suspension between all pipetting steps to ensure a homogeneous suspension of the particles in the solution [2.9.1-MED-over the shoulder].

    - *Show talent placing suspension on the vortex mixer, TEXT: Resulting column contains 6 mg of sorbent.

  - After the entire suspension has been loaded and dried by aspirating with the syringe, keep the syringe in position and place the second Nylon membrane on the top by using the forceps with the other hand [2.10.1-CU]. Then, screw down the second connector with the tube and dispose of the syringe [2.10.2-MED].

    - *Film as written

    - *Film as written

- Preparing the System

  - At this point, tighten the column on the SPE device by using the Luer-Lock connectors [3.1.1-MED-over the shoulder]. Connect the bottle containing the sample to the device by screwing the provided GL 45 safety cap on it [3.1.2-MED].

    - *Film as written, TEXT: Arrow should be in same direction as arrow on device.

    - *Film as written

  - Load 200 microliters of eluent in the ‘Eluent’ reservoir [3.2.1-MED-over the shoulder]. Then, load 800 microliters of deionized water in the ‘Dilution’ reservoir [3.2.2-CU].

    - *Film as written

    - *Film as written

  - Verify the pressure regulator is in the closed position by turning it reverse-clockwise until further movement is not possible [3.3.1-MED].

    - *Film as written

- SPE with the Prototype

  - After switching on the prototype, enter the values 580 for pset (pronounced p set) and 30 for dpset (pronounced delta p set) [4.1.1-SCREEN-TXT].

    - *To be submitted by Author, TEXT: Pump will adjust to maintain pressure at 580 ± 30 mbar when running.

  - To adjust the pressure regulator, start the pump [4.2.1-MED]. Then, manually turn the pressure regulator until the value read for preg (pronounced p reg) is inferior but close to 320 millibar [4.2.2-CU MED] [4.2.3-SCREEN].

    - *Film as written

    - Show pressure regulator reading as talent adjusts the pressure.

  - After stopping the pump, start the SPE procedure by pressing ‘start’ in the automated mode corner [4.3.1-SCREEN-TXT].

    - *To be submitted by Author, TEXT: Procedure for 100 ml sample is performed in 50 min.

  - Once the SPE procedure is complete, close the small vial of sample and store at 4 to 5 degrees Celsius in the dark until ELISA analysis [4.4.1-MED].

    - Show talent placing the sample in the refrigerator, TEXT: Perform analysis within 30 hr to prevent analyte degradation.

  - To clean the system, prepare a 10 milliliter solution of 70% methanol by volume in a glass bottle with GL 45 thread [4.5.1-MED-over the shoulder]. Unplug the SPE column and plug the tubing with connectors [4.5.2-MED].

    - *Film as written, TEXT: Clean system after each extraction to prevent cross-contamination.

    - *Film as written

  - In the automated mode, select the ‘cleaning’ file and start it with the same pressure settings previously used for pset, dpset, and preg [4.6.1-SCREEN].

    - *To be submitted by Author

- Results: Extraction and Pre-concentration of Estradiol from Water Samples

  - The reproducibility of sorbent packing was evaluated by drying and weighing the pipetted sorbent in glass vials [5.1.1-LM]. The reproducibility of the time of injection was tested for the 100 milliliter samples [5.1.2-LM].

    - Figure 1.pdf

    - Figure 2.pdf

  - The concentrations of the initial and pre-concentrated spiked samples were determined using a commercial ELISA kit for 17 beta-estradiol [5.2.1-LM]. It is clear from the calibration curves that the methanol ratio in the enriched sample does not affect the sensitivity of the immunoassay [5.2.2-LM]. Recoveries of 128 plus or minus 22% and 107 plus or minus 6% were calculated for deionized water and artificial seawater, respectively [5.2.3-LM].

    - Figure 3rev.pdf

    - Figure 3rev.pdf: Zoom into Figure 3a.

    - Figure 3rev.pdf: Zoom into Figure 3b.

- Conclusion (said by authors on camera)

  - Sarah Heub: Once mastered, the preparation of an SPE column can be done in less than 5 minutes if it is performed properly. The entire SPE procedure can be completed in less than one hour.

  - Laurent Barbe: After its development, this technique paved the way for researchers in the field of environmental science to explore the development of immunodetection methods for monitoring of small organic pollutants.

  - Laurent Barbe: After watching this video, you should have a good understanding of how to prepare water samples using our cost-effective automated instrument, for the analysis of pollutants by immunoassays.

  - Sarah Heub: Don't forget that working with organic pollutants and solvents can be hazardous and precautions such as wearing appropriate gloves and protection goggles should always be taken while performing this procedure.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.