# Submission ID #: 53439

# Editor Name: Jason Hill

# Videographer name: Bruno Behnam

# Film Date: 1/27/16

# Authors and Affiliations: Katharina Köninger1, Marius Grote1, Ioannis Zachos1, Frank Hollmann2*, Robert Kourist1*.

Ruhr Universität Bochum1, Universitätstr. 150, 44780 Bochum, Germany. Department of Biotechnology2, Delft University of Technology, Julianalaan 136, Delft 2628BL, Netherlands.

*Corresponding authors

# Title: Light-driven Enzymatic Decarboxylation

# Corresponding Authors:

# Robert Kourist,

# Ruhr Universität Bochum

# Universitätstr. 150, 44780 Bochum, Germany

# Robert.Kourist@rub.de

# Frank Hollmann

# Department of Biotechnology

# Delft University of Technology,

# Julianalaan 136, Delft 2628BL, Netherlands

# F.Hollmann@tudelft.nl

# Co-authors:

Katharina.Koeninger@rub.de

Marius.Grote@rub.de

Ioannis.Zachos@rub.de

Authors: please supply the contact e-mail for the additional author Marius Grote

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)__N_______  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N_____ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

4.1

4.3

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

4.3 Lightbiocatalysis

Precautions: special construction was built, so that the tubes will always be in the same distance from the light source and are illuminated equally.

E.  Will the filming need to take place in multiple locations? (Y/N) __N_____ If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Experimental Goal and Author Interviews)

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this experiment is to drive enzymatic reactions using visible light. In this approach light is used to convert fatty acids to terminal alkenes under mild reaction conditions.

B. Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Robert Kourist: Decarboxylation requires breaking of carbon-carbon bonds which are very stable. The use of light offers a sustainable approach to catalyze such difficult reactions.

# Place 1.4 between 1.1 and 1.2 (equals 7.2)

  - Katharina Köninger: The main advantage of this technique is that it supplies a steady amount of the co-reagent hydrogen peroxide. We first had the idea for this method when we tried to add hydrogen peroxide directly to the reaction, which lead to the inactivation of the enzymes.

C. Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Marius Grote: We first had the idea for this method when we tried to add hydrogen peroxide directly to the reaction, which lead to the inactivation of the enzymes. First we used purified enzyme for the light driven biocatalysis to characterize the enzyme. Furthermore we used a crude extract for the development of later industrial application.

# Protocol (read by voice talent at JoVE):

- Production of Recombinant Decarboxylase in Escherichia coli

  - After cloning the synthetic OleTJE (pronounced oh-le-tee) gene into the expression vector and transforming the plasmid into E. coli as described in the text protocol, inoculate the cells into two test tubes containing 3 ml of LB medium with 100 µg/ml of ampicillin. Incubate the pre-cultures in a shaker for 15 hr.

    - MED: Talent walks to the bench and inoculates two test tubes

    - MED: Talent transfers the tubes to a shaker and starts it, TEXT: 37 °C, 180 rpm, 15 hr

  - Dilute 2 ml of the culture into 200 ml of LB with ampicillin in two 1 L flasks. Incubate the flasks in a shaker at 37 °C and 180 rpm until the cultures reach an optical density at 600 nanometers between 0.6 and 0.8.

    - MED over the shoulder: Talent pipettes cell culture into two separate flasks

    - MED: Talent transfers the two flasks to a shaker and starts it, TEXT: OD600 reaches 0.6-0.8

  - Next, add 0.5 mM of delta-amino levulinic acid to the cultures, and then induce the cells by adding tetracycline at 0.2 µg/ml to the flasks. Incubate the cultures for 15 hr at 20 °C and 180 rpm.

    - CU: Talent adds levulinic acid to the culture flasks followed by tetracycline, TEXT: 15 hr; 20 °C; 180 rpm

  - After induction, decant the cultures into centrifuge tubes, and centrifuge the tubes at 12,000 x g and 4 °C for 20 min….. Discard the supernatant, re-suspend the pellets by pipetting in 50 ml of ice cold TRIS buffer and transfer the suspension to a conical centrifuge tube.

    - MED over the shoulder: Talent decants the cultures into centrifuge tubes, TEXT: IMPORTANT: Perform all protein extraction steps on ice.

    - MED: Talent transfers the centrifuge tubes to a centrifuge and starts it, capture centrifuge settings

    - MED/CU: Talent decants the supernatant from a tube and re-suspends the pellet by pipetting with buffer, TEXT: Tris: 50 mM; NaCl: 200 mM; pH 7.5

# 2.6.1 [moved] CU: Talent pipettes the cell suspension into centrifuge tubes sitting on ice

  - Continue by centrifuging at 4000 x g and 4 °C for 15 min. Discard the supernatant and re-suspend each pellet in 3 ml of buffer by repeat pipetting.

    - MED: Talent transfers the conical centrifuge tubes to a centrifuge and starts it, capture centrifuge settings

    - CU: Talent re-suspends a pellet by pipetting with buffer

  - Lyse the cells by sonicating with three 30 second cycles, pausing for 1 min between cycles.

    - [moved] CU: Talent pipettes the cell suspension into centrifuge tubes sitting in ice

    - CU: Get a shot of talent sonicating tubes, then seting a timer for 1 min

  - Next, centrifuge the lysate at 15,000 x g and 4 °C for 20 min, and then carefully pipette the cell-free extract into conical centrifuge tubes.

    - MED: Talent transfers the centrifuge tubes to a centrifuge and starts it, capture centrifuge settings

    - CU: Talent carefully pipettes the lysate into conical centrifuge tubes, TEXT: Avoid disturbing the pellet

  - For preparation of the crude extract for the light driven biocatalysis, transfer 3 ml of one cell-free extract to a 10 kDa centrifuge filter and centrifuge at 4000 x g and 4 °C to remove small molecules. Re-suspend the protein in 3 ml of TRIS.

    - CU: Talent pipettes cell extract into a centrifuge filter

    - MED: Talent transfers the filter to a centrifuge, capture centrifuge settings

    - CU: Talent re-suspends the protein in buffer

- Purification of OleTJE

  - To characterize the activity of OleT in the light driven biocatalysis, the protein needs to be purified. To start protein purification, load 3 ml of the cell free extract onto equilibrated Ni-NTA spin columns.

    - CU: Talent pipettes cell extract onto a spin column

  - Seal the columns with bottom plugs and screw-caps…, and shake them lightly until the resin is evenly distributed. Continue by incubating the columns in an overhead shaker. Then centrifuge the column.

    - MED over the shoulder: Talent attaches the plug and cap to a column and shakes it

    - MED: Talent transfers the column to a shaker and starts it, TEXT: 30 min at 4 °C

    - [added] Talent transfers column to a centrifuge and starts it.

  - Next, wash the columns by adding 1 ml of washing buffer and centrifuging them at 700 x g for 2 min. Repeat the wash twice more.

    - CU: Multiple usable takes of talent adding washing buffer to the column, TEXT: See text protocol for all buffer compositions.

    - MED: Talent transfers the column to a centrifuge and starts it, capture centrifuge settings

    - Use shot 3.3.1, alternate take. Film as written

  - After washing, place the columns into conical centrifuge tubes and add 1 ml of elution buffer to each column. Centrifuge the tubes at 700 x g for 2 min and repeat the elution twice more.

    - CU: Talent places a column into a centrifuge tube and adds buffer to it

    - MED: Talent transfers the tube to a centrifuge and starts it, capture centrifuge settings

  - Add the combined column extracts to a 10 kDa centrifuge filter and centrifuge it at 4000 x g and 4 °C to elute the purified protein.

    - CU: Talent pipettes several extracts into one centrifuge filter

    - MED: Talent transfers the filter to a centrifuge, capture centrifuge settings

  - Finally, determine protein purity and concentration as indicated in the text protocol.

    - LAB MEDIA: (Video Editor: Use OleT-purification.tif, showing the protein purity, highlight the main blue bands in columns E1, E2 and E3).

- Light-catalyzed Biotransformation of OleTJE

  - To start the biotransformation procedure, first add 10% of a surfactant such as tergitol and 28.4 mg of stearic acid to distilled water to make 10 ml of a 10 mM stock solution. Heat the solution in a heating chamber at 60 °C until the stearic acid is completely dissolved.

    - MED over the shoulder: Talent adds surfactant followed by stearic acid to water in a flask tube

    - MED: Talent transfers the flask tube to a heating chamber, capture the temperature setting

  - Use this solution to prepare a reaction mixture according to the text protocol. Add FMN (F-M-N), EDTA (Ee-Dee-Tee-A), buffer and stearic acid to two clear glass tubes and stir in a water bath at 25 °C

    - MED: Talent places tubes labeled reaction mixtures 1 and 2 into a rack

    - CU: Talent pipettes each reaction mixture into two clear glass tubes

    - MED: Talent transfers the tubes to a water bath and starts the stirring

  - Continue, by adding 200 µg/ml of the purified enzyme or crude extract to the tubes, and illuminate them with a clear LED light bulb at a distance of 2 cm.

    - CU: Talent pipettes enzyme or crude extract into each one of the tubes

    - CU: Talent sets up an LED bulb next to the tubes and turns it on, TEXT: 20 W

  - Next, take 200 µl samples at specific time points in tubes prefilled with 20 µl of 37% hydrochloric acid to stop the reactions. Then add 5 µl of a 10 mM myristic acid solution to each sample as an internal standard.

    - CU: Talent pipettes an aliquot of the reaction mixture into a labeled sample tube and adds containing hydrochloric acid

    - CU: Talent pipettes myristic acid into the sample tube, TEXT: Time points: 0, 10 15, 30 45, 60 90 min and overnight 960 min

# *Authors should these time points match those of the chromatograms used in section 5.6 i.e. 0, 3, 5, 15, 45, 90, 120, and 960 min? Yes, you should take out the chromatograms  of 3,5 and 120 min

- Analysis of Biotransformation Products

  - To analyze the reaction products, twice add 500 µl of ethyl acetate to the tubes. Invert the tubes to mix them and centrifuge for 1 min at 13,000 x g.

    - CU: Talent adds ethyl acetate to a sample tube and inverts it

    - MED: Talent transfers the tube to a centrifuge and starts it, capture centrifuge settings

  - Next, transfer 400 µl of the supernatants to microcentrifuge tubes, and completely evaporate them by gently blowing on the tubes with compressed air.

    - CU: Talent pipettes supernatant into a microcentrifuge tube

    - MED: Talent places a compressed air line next to the tubes and turns on the air

  - Add 200 µl of MSTFA to the tubes and incubate the mixture at 60 °C for 30 min to derivatize the samples before analysis.

    - CU: Talent pipettes MSTFA into the tubes, TEXT: MSTFA: N-methyl-N-trimethylsilyltrifluoroacetamide

    - MED: Talent transfers the tubes to an incubator, capture the temperature setting

  - Analyze the reaction products by injecting a 4 µl sample into a gas chromatograph fitted with a flame ionization detector using the temperature profile described in the text protocol.

# 5.4.0. [added] Filling GC-Vial for GC FID

    - CU: Talent injects a sample into the port of a gas chromatograph

  - Next, determine the ratio of 1-heptadecene and β-hydroxy acid formed in each reaction sample with a gas chromatograph coupled to a mass spectrometer. Use oven temperature and mass spectrometer settings as described in the text protocol.

    - B-roll of the GC-MS equipment shown from multiple angles, TEXT: GC-MS: Gas Chromatography-Mass Spectrometry use 5.6.1

  - Inject 1 µl of each sample into the gas chromatograph and record the chromatogram.

    - CU: Talent injects a sample into the port of the gas chromatograph use 5.6.1.B

  - Finally, monitor the GC-MS chromatograms for each sample and analyze them according to the manufacturer’s protocol.

    - LAB MEDIA: Use chromatogram FID 0min.tif, chromatogram FID 3min.tif, chromatogram FID 5min.tif, chromatogram FID 15min.tif, chromatogram FID 45min.tif, chromatogram FID 90min.tif, chromatogram FID 120min.tif, and chromatogram FID 960min.tif (Video Editor: have each trace rapidly appear directly on top of the previous one, in turn, starting with the 0min trace and ending with the 960min trace. Label each trace as it appears with its own time label 0min, 3min etc and as each appears have the previous traces label disappear.)

- Results: Analysis of the Light-catalyzed Biotransformations by Gas Chromatography

  - The molecular weights of the products from the enzymatic reactions were determined by using a gas chromatograph coupled to a mass spectrometer. For fatty acids with longer acyl chains the enzyme OleTJE preferentially catalyzes their decarboxylation to olefins of different lengths.

    - LABMEDIA: Use defragmentation.tif and fingerprint.tif (Video Editor: Label the fingerprint picture “Mass Spectrum” and the X-axis of the graph “m/z”, then have the whole picture appear as an insert in the defragmentation file above the chemical structure as “mass spectrometer” is said. In turn highlight the markers from 55 to 111 on the chemical structure as the phase “decarboxylation to olefins of different lengths” is said).

  - Samples from the biotransformation reaction were analyzed by a gas chromatograph fitted with a flame ionization detector. Decarboxylation of the stearic acid was shown to occur three times faster than the hydroxylation reaction, with 99% of the stearic acid converted to a 3.3:1 mixture of 1-heptadecene to 2-hydroxystearic acid.

    - LABMEDIA: Use chromatogram FID 120min.tif (Video Editor: Have an arrow labeled with “Decarboxylation” appear pointing to the left hand peak at 8.4 min when “Decarboxylation” is said and have an arrow labeled with “Hydroxylation” appear pointing to the right hand peaks at 12.05 and 12.1 min when “Hydroxylation” is said. Highlight the left hand peak when “1-heptadecene” is said and highlight the right hand peaks when “2-hydroxystearic acid” is said).

- Conclusion (said by authors on camera)

  - Robert Kourist Marius Grote: Once mastered, the photobiocatalysis reactions can be done in few hours if they are performed properly.

# *Authors can you supply the time needed here?

  - Robert Kourist: While attempting this procedure, it’s important to remember when to supply the biocatalytic reactions with light. The key feature of this procedure is the harvesting of light in enzymatic reactions to generate useful molecules. Has been placed between 1.1 and 1.2 (labeled 1.4)

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# 3.6   OleT- purification.tif: C: crude extract, M: marker, Ft: flow through fraction, W: wash fraction, E: elution fraction

    - oven temperature profile.tif  - unlayered version of fig. 2

# defragmentation.tif

# fingerprint.tif

# 6.2.1    chromatogram FID 0min.tif –unlayered version of fig. 3

# chromatogram FID 3min.tif

# chromatogram FID 5min.tif

# chromatogram FID 15min.tif

# chromatogram FID 45min.tif

# chromatogram FID 90min.tif

# chromatogram FID 120min.tif

# chromatogram FID 960min.tif

# stearic acid.tif

# b-hydroxy acid.tif

# terminal alkene.tif

# arrow down.tif

# arrow up.tif

# all chromatograms.psd

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.