## Slide 1
0 MALT: Facility Overview
BL-1E
BL-2C
BM-04
BM-04
FC-04

## Slide 2
1 BL-1E UHV chamber, outside
UHV Manipulator & Viewport
(lab member will perform actions here)

## Slide 3
2 UHV chamber, inside
(seen through viewport)
Position (x, y, z) and rotation angle manipulations of the sample as well as the flashing of a filament heater behind the sample upon heating and annealing can be seen.
(Steps 2.2.1, 2.2.5, 2.3.1)

## Slide 4
3 UHV Pressure gauge
(displays pressure change when lab member performs gas introduction into the UHV chamber, Steps 2.2.2) and 2.2.5)

## Slide 5
4 Ion gun controller
(lab member will set parameters in Steps 2.2.1 and 2.2.2)

## Slide 6
5 Digital tester
(will indicate change of sputter current and sample temperature when lab member sets parameters in Steps 2.2.2 and 2.2.5)

## Slide 7
6 High voltage power supply
(sample bias)
(lab member will set parameter in Step 2.2.4)

## Slide 8
7 Filament heater supply
(lab member will set parameter in Step 2.2.5)

## Slide 9
8 LEED, Screen & Controller
(lab member will set controller parameters in Step 2.2.6,
advance LEED optics at 1E UHV chamber towards sample,
LEED pattern appears on Screen (Fig. 3)
Fig. 3

## Slide 10
9 High voltage power supply
(electrostatic ion beam deflection)
(lab member will set parameter in Step 2.3.2)

## Slide 11
10 Control Panel
(lab member will perform parameter changes in Steps 2.3.4, 2.3.5, 3.9, 3.10, 4.3, and 5.1.)

## Slide 12
11 Control System
(computer screen)
(lab member will perform parameter change (open FC04) in Step 2.3.5)

## Slide 13
12 Beam Profile Monitor
(Oscilloscope)
(will visualize changes of the ion beam profile when lab member performs ion beam focusing onto the target in Step 3.10)

## Slide 14
13 Current Integrator
(lab member will switch from STANDBY to OPERATION mode in Step 2.3.4)

## Slide 15
14 TV Screen
(Ion beam profile on quartz plate monitor in UHV chamber, seen as camera image on TV screen)
(will visualize ion beam profile changes when a lab member performs beam focusing operations in Steps 2.3.5, )

## Slide 16
15 BL-2C Chamber
(Chamber, outside)
(Manipulator, transfer tube)
(lab member will perform actions in Steps 3.1, 3.2, 3.5, 3.7)

## Slide 17
16 Preparation table
(lab member will perform actions in Steps 3.3 and 3.4)

## Slide 18
17 Measurement PC
(homebuilt data acquisition software, screen shot)
(lab member will perform parameter changes in Steps 4.6, 4.7, 5.2, and 5.4)