# Submission ID #: 53490

# Editor Name: Melissa Ceo

# Videographer name: Mark Choi

# Film Date: 10/24/2015

# Authors and Affiliations:

Malcolm Stein IV1, Chien-Fan Chen1, Daniel J. Robles1, Christopher Rhodes2, Partha P. Mukherjee1

1Department of Mechanical Engineering

Texas A&M University

College Station, Texas

2Department of Chemistry and Biochemistry

Texas State University

San Marcos, Texas

# Title: Non-aqueous Electrode Processing and Construction of Lithium-ion Coin Cells

# Corresponding Author:

Partha P. Mukherjee: pmukherjee@tamu.edu

# Co-authors:

Malcolm Stein IV: mtsteiniv@tamu.edu

Chien-Fan Chen: cfchen@tamu.edu

Daniel J. Robles: juarezrd@tamu.edu

Christopher Rhodes: cprhodes@txstate.edu

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) N

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) Steps 2.2, 2.3, 2.6, 2.10, 2.12.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) The most difficult aspect of this procedure is to coat the electrode slurry on the foil (current collector) uniformly. To ensure the coating (step 2.2) is especially important. Scrubbing the foil surface can increase the surface roughness and surface tension, which can improve the coating of the electrode slurry.

E.  Will the filming need to take place in multiple locations? (Y/N) N If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this experimental demonstration is to provide a step-by-step procedural guideline for lithium-ion battery electrode preparation and coin cell assembly along with electrochemical analysis and characterization that can be performed in an academic lab setting. (Intro)

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

# *Note to the Authors: Please indicate the author name in the statements below.

  - Author Name: This demonstration highlights the essential steps and importance of electrode processing in lithium-ion battery performance and electrochemical attributes.

  - Author Name: A key emphasis is on the influence of evaporation in the drying step on the electrode or cell performance and characteristics.

C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)

# *Note to the Authors: Please indicate the author name in the statements below.

  - Author Name: This demonstration is intended to hopefully serve as a step-by-step guideline for students and researchers attempting to initiate research in electrochemical engineering especially in the energy storage area.

# Protocol (read by voice talent at JoVE):

- Cathode Preparation

  - To begin this procedure, cut a 4.5 inch by 12 inch sheet of 15-micrometer thick aluminum foil using a paper cutter [2.1.1-MED]. Spray acetone on the surface of a clean plastic board and then place the foil sheet onto the board [2.1.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - Next, spray a generous amount of acetone on the surface of the foil and begin to scrub the entire surface with small semi-circle motions using a scotch pad [2.2.1-CU]. Spray additional acetone on the surface and wipe down the residue with a paper towel [2.2.2-MED].

    - *Film as written

    - *Film as written

# 2.2.2a show dirt

# 2.2.2b opposite side

  - Rinse the etched aluminum sheet with deionized water on the casting side [2.3.1-CU]. Then, flip the sheet and wash the opposite side [2.3.2-MED-over the shoulder].

    - Show aluminum sheet as talent sprays water on it.

# 2.3.1a flip & wide

# 2.3.1b show water drops

    - *Film as written

# 2.3.2a CU

  - After rinsing with isopropyl alcohol, place the cleaned aluminum sheet in between two paper towels [2.4.1-MED]. Then, place the paper towels and cleaned aluminum sheet between two flat plates and compress using a heavy object for approximately 20 minutes [2.4.2-MED-over the shoulder].

    - *Film as written

    - Show talent placing paper towels and aluminum sheet between plates and then placing the heavy object on top.

  - Following this, place 0.875 grams of lithium manganese cobalt oxide, or NMC and 0.25 grams of carbon black into an agate mortar and pestle [2.5.1-MED-TXT]. Lightly mix the materials together without grinding [2.5.2-MED-over the shoulder]. After a mixture starts to form, mill by hand in the mortar and pestle for 3 to 5 minutes, until a uniform powder is visually observed [2.5.3-CU].

    - *Film as written, TEXT: 0.875 g NMC, 0.25 g carbon black.

    - *Film as written

    - *Film as written

  - Using a piece of weigh paper, transfer the mixed powder into a disposable mixing tube [2.6.1-MED-over the shoulder]. Then, add 16 glass balls and 5.5 milliliters of 1-methyl-2-pyrrolidinone, or NMP to the powder [2.6.2-CU-TXT].

    - *Film as written

    - *Film as written, TEXT: 16 glass balls with 6 mm diameter, 5.5 ml NMP.

  - Place the disposable tube onto a tube drive station and lock into place [2.7.1-MED]. Turn the drive on and slowly increase to the maximum speed, allowing the contents to mix for 15 minutes [2.7.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - When mixing is complete, add 1.25 grams of a 10% polyvinylidene difluoride in NMP solution directly to the tube [2.8.1-CU]. After placing the tube back onto the drive, allow the contents to mix for 8 minutes [2.8.2-MED].

    - *Film as written

    - Show talent turning the drive on and setting the speed on the tube drive station.

  - Next, apply a layer of isopropyl alcohol to the surface of the film applicator and place the dried aluminum substrate shiny-side down onto the surface [2.9.1-CU]. Press out the excess isopropyl alcohol with a folded paper towel until all the wrinkles and solvent are removed [2.9.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - After removing the mixing tube from the tube drive, pour the slurry onto the surface of the substrate in a 2 to 3 inch line approximately 1 inch from the top of the substrate [2.10.1-CU]. Then, set the casting speed to 20 millimeters per second, and activate the casting arm of the film applicator [2.10.2-MED].

    - *Film as written

    - Show talent turning on the switch of the casting arm.

  - Once casting is complete, lift the cast electrode from the surface of the film applicator using a thin piece of cardboard to ensure no wrinkles form on the sheet [2.11.1-MED-over the shoulder].

    - *Film as written

  - After allowing the electrode sheet to dry for 16 hours at room temperature, dry it at 70 degrees Celsius for approximately 3 hours in an oven [2.12.1-MED-TXT].

    - Show talent placing the sheet in the oven, TEXT: Ensure electrode is environmentally isolated to prevent non-uniform drying.

  - At this point, place the dried electrode sheet onto the previously cleaned sheet of aluminum metal [2.13.1-MED-over the shoulder]. Gently place a ½ inch hole punch onto a region of the sheet with a uniform surface [2.13.2-MED-TXT]. Slowly apply pressure to the punch and “roll” the pressure around the edges of the punch to ensure a clean cut [2.13.3-CU].

    - *Film as written

    - *Film as written, TEXT: Edges may appear non-uniform.

    - *Film as written

  - Remove the cut electrode from the sheet with clean, plastic tweezers and place it into a labeled vial, with the electrode surface facing up [2.14.1-MED]. Then, further dry the electrodes in a vacuum oven at 120 degrees Celsius at minus 0.1 megapascal for 12 hours to remove any remaining moisture [2.14.2-MED-over the shoulder-TXT]. After removing the electrodes from the oven, weigh them within 0.0001 grams [2.14.3-MED].

    - *Film as written

    - Show talent placing the labeled vials in the vacuum oven, TEXT: 120 °C, -0.1 MPa, 12 hr.

    - *Film as written

- Coin Cell Assembly

  - In a glovebox, place a coin cell case into a small weigh boat and place the cathode into the center of the coin cell case [3.1.1-MED-over the shoulder]. Apply 1 to 2 drops of electrolyte to the center of the electrode and apply 1 drop on opposite sides of the rim of the case [3.1.2-CU].

    - *Film as written

    - *Film as written

  - Place a single ¾ inch separator onto the surface of the electrode [3.2.1-CU]. Then, place the gasket into the case, with the flat side facing down and the lipped side facing up [3.2.2-MED].

    - *Film as written

    - *Film as written

  - Apply 2 to 3 drops of electrolyte to the center of the cell, and place the prepared counter electrode onto the center with the lithium side facing down [3.3.1-CU]. Place the wave spring on top of the centered counter electrode [3.3.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - Following this, fill the cell to the brim with electrolyte until it forms a curved, convex meniscus that covers most of the wave spring surface [3.4.1-CU]. Carefully place the coin cell cap on top of the cell utilizing the tweezers to hold the cap centered vertically over the cell [3.4.2-MED-over the shoulder].

    - *Film as written

    - *Film as written

  - Press down on the cap until it sets into the lip of the gasket [3.5.1-MED]. Transfer the cell to the crimper and ensure that the cell is centered in the groove of the crimping die [3.5.2-MED-over the shoulder]. Then, crimp the cell to a pressure of approximately 6.2 megapascal and release [3.5.3-MED].

    - *Film as written

    - *Film as written

    - *Film as written

  - After removing the cell from the crimper, clean off any excess electrolyte and label the cell [3.6.1-MED-over the shoulder]. When finished, remove the cell from the glovebox [3.6.2-MED].

    - *Film as written

    - *Film as written

- Electrochemical Evaluation

  - At this point, connect the cleaned cell to the battery cycler [4.1.1-CU]. Ensure that the terminals are correctly connected by measuring the open circuit potential [4.1.2-MED-TXT].

    - *Film as written

    - *Film as written, TEXT: If not positive, reverse the connections.

  - With a measured electrode mass of 0.0090 grams, an aluminum disc mass of 0.0054 grams, and a rated capacity of 155 milliamp hours per gram, determine the desired current [4.2.1-MED-over the shoulder-TXT].

    - Show talent at computer performing the calculation in Excel, TEXT: (0.0090 g – 0.0054 g) × 0.70 × 155 mAh/g = 0.3906 mAh.

  - Next, set the schedule on the cycler to charge and discharge the cell between the upper and lower voltage levels of 4.2 volts and 2.8 volts, respectively [4.3.1-SCREEN]. Cycle the cell 4 times at a rate of C/10 (pronounced C over ten) [4.3.2-SCREEN]. Then, charge the cell once at C/10 [4.3.3-MED-over the shoulder].

    - *To be submitted by Author

    - *To be submitted by Author

    - Show talent at computer charging the cell.

  - Following the fifth C/10 charge, perform EIS on the cell after resting for 1 hour [4.4.1-MED-TXT]. Then, place the cell back on the cycler and discharge at C/10 [4.4.2-MED-over the shoulder].

    - Show talent placing sample in EIS instrument, TEXT: EIS: Electrochemical Impedance Spectroscopy.

    - Show talent placing the cell on the cycler and starting the discharge.

  - After performing another EIS analysis and placing the cell back onto the cycler, cycle the cell 5 times at rates of C/5, C, 2C, 5C, and 10C, followed by 100 1C cycles [4.5.1-SCREEN-TXT].

    - *To be submitted by Author, TEXT: C/5, C, 2C, 5C, and 10 C, followed by 100 1C cycles.

  - Determine the specific capacity of the cells at each C-rate by dividing the capacity in milliamp hours by the mass of active material present in the cathode [4.6.1-SCREEN]. Calculate the capacity retention by dividing the average specific capacity of the last 5 1C cycles by the average specific capacity of the first 5 1C cycles [4.6.2-SCREEN].

    - *To be submitted by Author

    - *To be submitted by Author

- Results: Construction and Evaluation of Lithium-ion Coin Cells

  - A properly cast electrode sheet should appear uniform and adhere to the current collector [5.1.1-LM]. Flaking of the sheet is caused by poor etching or too little NMP [5.1.2-LM], and too much NMP can cause a higher degree of porosity [5.1.3-LM]. Lastly, a non-uniform surface can be caused by material pooling during drying [5.1.4-LM].

    - Figure 3.tif

    - Figure 3.tif: Zoom into image a.

    - Figure 3.tif: Zoom into image b.

    - Figure 3.tif: Zoom into image c.

  - When the cell is not properly sealed, atmospheric exposure will cause swelling of the lithium, which causes the cell to pop open [5.2.1-LM].

    - Figure 4.tif: Highlight right image.

  - SEM imaging of the electrode surface reveals the complexity of the cathode [5.3.1-LM]. The large particles are the active material, and the remaining material is polyvinylidene difluoride and carbon black [5.3.2-LM].

    - Figure 5.tif

    - Figure 5.tif: Zoom into right image.

  - Representative cycling results for a sheet that was dried too fast and one that was properly dried are shown here [5.4.1-LM].

    - Figure 6.tif

  - The specific energy of the cells can be determined as the area under the discharge curve [5.5.1-LM].

    - Figure 7.tif

  - The slope of the tail in the EIS data indicates resistance due to diffusion, and the semicircle represents the number of resistances due to charge transfer resistances [5.6.1-LM]. The quickly dried sheet has a larger radius indicating higher charge transfer resistance [5.6.2-LM].

    - Figure 8.tif: Highlight right section or tail of both curves.

    - Figure 8.tif: Make a black arrow appear from the x-axis to the semicircle of the dotted red curve similar to the arrow labeled R pointing to the blue curve.

  - The casting thickness, slurry viscosity and composition, and the degree of calendaring all have a direct impact on the porosity and thickness of an electrode sheet [5.7.1-LM]. A thinner sheet allows for shorter diffusion distances, and the porosity can be optimized to allow for more efficient transfer [5.7.2-LM].

    - Figure 9.tif

    - Figure 9.tif: Highlight figure a) for the first part of sentence and figure b) for the second part of sentence.

- Conclusion (said by authors on camera)

# *Note to the Authors: Please indicate the author name in the statements below.

  - Author Name: Once mastered, this method can be accomplished within 24 hours if performed properly.

  - Author Name: While attempting this procedure, it’s imperative to wear safety gloves and maintain clean electrode sheets followed by final cell assembly in the glove box.

  - Author Name: Following this procedure, with the assembled coin cell, electrochemical tests such as charge/discharge cycling, cyclic voltammetry, and electrochemical impedance spectroscopy can be performed routinely to characterize cell behavior and performance characteristics under different cycling and environmental conditions.

  - Author Name: This experimental exploration highlights the importance of electrode processing on the cell performance and electrochemical attributes.

  - Author Name: After watching this demonstration video, you should have a good understanding of the essential steps in making electrodes and coin cell assembly followed by electrochemical tests for lithium-ion batteries in the lab.

  - Author Name: Don't forget that the electrolyte can easily react with oxygen and water and hence the coin cell assembly must be done in the glove box.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.