Appendix

An Analytical Method to Predict the Dynamic Response of a Remote Microphone Probe

In this appendix, an analytical method is introduced to estimate the dynamic response of a remote microphone probe. This analytical method can be applied to estimate the performance of a RMP system in the design stage for the sake of optimization.

Tijdeman22 studied the sinusoidal motions of a fluid in a rigid cylinder and showed that the fluid motions were characterized by the shear wave numbers, the reducedfrequencyk, the square root of the Prandtl number σand the ratio of specific heatsγ. The Navier-Stokes equations in the axial and radial directions, the continuity equation and the equations of state and energy were simplified with the assumption that the medium in the rigid cylinder was homogeneous, there was no steady flow, the sinusoidal perturbations were small, the tube was long such that end effects were negligible and the heat conductivity of the boundary was much larger than that of the fluid. With the no slip, no penetration boundary conditions, Tijdeman defined a propagation constant Γ solved the simplified governing equations and expressed the pressure perturbation in the cylinder as the summation of incident and reflection waves.

Bergh and Tijdeman derived a general recursion formula for determining the dynamic response of a series of tubes connecting a series of volumes. The solution for the pressure fluctuation was based on Iberall23 who independently arrived at the exact low-reduced-frequency solution of Zwikker and Kosten24. For a system of N tubes, the ratio of the pressure fluctuationspj/pj-1 at the beginning and end of the jth tube of reduced length lj and radiusRj is:

pjpj-1=[coshΓjlj+Rj+12Rj2Γj+1ΓjJoi32sjJoi32sj+1J2i32sj+1J2i32sjsinhΓjljsinhΓj+1lj+1{coshΓj+1lj+1-pj+1pj}]-1

Where j=[N,N-1,…,2,1] and lj=ωLj/co. When j=N, the j+1 terms can be ignored leaving:

pNpN-1=[cosh⁡(ΓNlN)]-1

The ratio of the pressure fluctuations between any two tubes can be computed by:

pnpm=i=mn-1pi+1pi

as long as n>m.

The present RMP can most easily be analyzed as three inter connecting tubes with the gradual diameter change. The first tube extends from the surface to the inner diameter expansion, the second tube is the distance from the exit of the diameter expansion to the microphone seating location and the third long tube as the anechoic termination. The ratio of the pressure fluctuation between each adjacent tube can be computed by equations above.

The analytical modeling of the gradual expansion is performed by representing the expansion as n small tube gradually increasing in diameter over the length of the expansion. The system is then represented by:

- j=N=n+3: anechoic termination tube

- j=N-1=n+2: tube from expansion to sensor location

- j=je+1: expansion section comprised of n tubes where je=n,n-1,…,2,1

- j=1: the first tube from the surface to expansion section.

The analytical transfer function can be expressed as the ratio of the pressure fluctuation measured by the microphone in the RMP and the pressure fluctuation at the entrance of the first tube which is flush mounted to the surface.