Submission ID #: 53683
Editor Name: Brigid Stadinski
Videographer name: Nastasha Drobnica
Film Date: 11/17/2015
Authors and Affiliations: 

Holly D Carlton1, John W Elmer1, Yan Li2, Mario Pacheco2, Deepak Goyal2, Dilworth Y Parkinson3, and Alastair A MacDowell3
1Materials Engineering Division, Lawrence Livermore National Laboratory, Livermore, CA USA

2Assembly Test and Technology Development Failure Analysis Labs, Intel Corporation, Chandler, AZ USA

3Advanced Light Source, Lawrence Berkeley National Laboratory, Berkeley, CA USA
Title: Using Synchrotron Radiation micro-Tomography to Investigate Multi-scale Three-dimensional Microelectronic Packages
Corresponding Author: 
Holly D. Carlton

barth4@llnl.gov
1. Brief Questionnaire:

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)_NO  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___YES, I already sent the screenshots. Do you need more/different ones? _ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps by their protocol numbers. Please do not list entire sections of the protocol. If your protocol contains highlighting, make sure these steps are highlighted. _____Protocol #: 2.2– 2.3, the rest 2.5-2.8 –end are mostly computer work 

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps to be filmed by their protocol numbers. (Please do not list an entire section.)  

E.  Will the filming need to take place in multiple locations? (Y/N) NO, all filming can be done at the Advanced Light Source, Lawrence Berkeley National Laboratory.

 If yes, how far apart are the locations? ____________ _______________________________________ 

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal (read by voice talent at JoVE):
This experiment was designed to utilize synchrotron radiation micro-tomography, which is a non-destructive three-dimensional imaging technique, in order to investigate a complex multilevel sample. The sample being imaged here is an entire microelectronic package that has a cross-sectional area of approximately 17 by 17 millimeters, however the features we’re interested in resolving range in lengthscale from micrometer to mm. (Intro)
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.1. John Elmer: The main advantage of this technique is that it can non-destructively evaluate the microelectronic package at the micrometer scale with fast data acquisition time [1.1.1 – MED].
1.1.1. Talent speaks toward the camera, interview style.  

1.2. Holly Carlton: The micro-tomography beamline at the Advanced Light Source in Berkeley CA has a setup, which is adaptable and can be tailored to optimize resolution and quality based on a sample’s properties, such as volume and density. The sample size is limited to a maximum allowable field of view of 36 by 36 millimeters [1.2.1 – MED]. 
1.2.1. Talent speaks toward the camera, interview style.  

1.3. Mario: This method can help answer key questions in the semiconductor field, for example it can be used to analyze electronic packages and identify failures during reliability test and process development, as well as to provide experimental feasibility of how a high-brightness x-ray source can quickly detect defects in complex next generation microelectronic packages. [1.3.1 – MED]. 

1.3.1. Talent speaks toward the camera, interview style.  

Protocol (read by voice talent at JoVE):

Editors, throughout this procedure, please utilize zoom bubbles to highlight the action being performed in the SCREEN capture movies.

2. Steps for performing tomography scans at beamline 8.3.2 (ALS, LBNL) 
2.1. Prepare the sample for the scan by mounting it on a sample holder designed to fit in the beamline’s rotational stage [2.1.1 – MED].  For samples that do not have a custom mount, adhere the sample to a post or drill chuck with clay or wax [2.1.2 – CU]. 
2.1.1. Talent mounts the sample on a sample holder designed to fit in the beamline’s rotational stage.
2.1.2. Sample as talent adheres the sample to a post or drill chuck with clay or wax.
2.2. Before loading the sample on the rotational stage inside the hutch, there is an offline mock rotation stage that is used to align the sample [2.2.1 – MED-over the shoulder].  Visual inspection of the center of rotation is usually sufficient for the alignment [2.2.2 – CU].
2.2.1. Talent aligns the sample on an offline mock rotation stage.  Continue action in next shot.
2.2.2. Offline mock rotational stage as talent uses to align the sample through visual inspection. 
2.3. Mount the sample attached to the sample holder inside the hutch [2.3.1 – MED-over the shoulder].  Once the sample has been mounted in the hutch, two orthogonal centering motors allow positioning of the sample with respect to the center of rotation [2.3.2 - CU].
2.3.1. Talent mounts the sample attached to the sample holder inside the hutch.
2.3.2. [added] Talent closes hutch door, and secures door following beamline safety protocol. 

2.3.4. [Added] movie of motor moving. 
(previously 2.3.2)
Mounted sample as talent uses 2 orthogonal centering motors to position the sample with respect to the center of rotation.
2.4. Select the magnification for the scan based on the sample size and feature size of interest [2.4.1 – MED-over the shoulder].  Since the sample scanned here is 22.6 millimeters in the longest direction, select the 1x lens with the PCO.4000; this combination gives the largest sample field of view.  The resulting pixel size is 8.7 microns [2.4.2 – CU – TXT].
2.4.1. Mislabeled, should be 2.10. Camera couldn’t focus on slate so had to do an audio slate

2.4.2. Talent looks over several different lenses and motions to select the 1x lens.   
2.4.3. 1x lens with PCO.4000 as talent retrieves from other lenses and displays to the camera.  TEXT Overlay:  see Tables 1 and 2 in text  
2.4.4. [added] Extreme close-up of 1x lens
2.5. Set the x-ray energy or switch to a polychromatic beam using the Beamline Control Computer [2.5.1 – MED].
2.5.1. Talent sets the x-ray energy or switches to a polychromatic beam using the Beamline Control Computer.  
2.6. To get the best quality image, base the energy selection on targeting an approximately 30% transmission, which can be measured on the Data Acquisition Computer.  In general, %Transmission increases with increasing energy [2.6.1 – SCREEN]. 
2.6.1. *To be submitted by authors – 53683_Carlton_SCREEN_2.6.1: Screen capture movie as talent selects the % transmission to be around 30%.
2.7. For the microelectronic package, “select white” light due to the thickness and material of the package [2.7.1 – SCREEN]. 
2.7.1. *To be submitted by authors – 53683_Carlton_SCREEN_2.7.1: Screen capture movie as talent clicks “select white” light.
2.8. When using “white” light mode, add 2 to 4 metal aluminum and copper filters in line with the x-ray beam to filter out the lower energy x-rays [2.8.1 – MED-over the shoulder].  For this sample, use 2 copper sheets with a total thickness of approximately 1.2 millimeters [2.8.2 – CU].
2.8.1. Talent adds 2 copper filters in line with the x-ray beam.  Continue action in next shot.
2.8.2. 2 copper filters as talent puts them in place.
2.9. Next, verify that the stage’s center of rotation is aligned with the camera’s center [2.9.1 – MED].  
2.9.1. Talent working at the Beamline Control Computer
2.10. To check that the sample is aligned, rotate it through 180 degrees using software on the Beamline Control Computer and visually observe the change in sample location by viewing the radiographs on the computer.  Control changes to alignment on the same computer [2.10.1 – SCREEN].  
2.10.1. *To be submitted by authors – 53683_Carlton_SCREEN_2.10.1: Screen capture movie as talent rotates the sample through 180 degrees and visually observes the change in sample location by viewing the radiographs on the computer.  
2.11. Set the sample to detector distance for the scan [2.11.1 – MED].  The camera is on a translational stage that can move horizontally and is used to change the sample to detector distance.  When the distance increases, the phase contrast contribution also increases [2.11.2 – CU].  
2.11.1. Talent prepares to manually sets the sample detector distance for the scan.
2.11.2. Camera on Close up of translational stage as it moves horizontally.
2.12. Select an exposure time for each radiograph; the range for exposure time is 1 to 1500 milliseconds and the selection depends on the scan energy and resolution.  The selected time should provide a tradeoff between the quickest scan time and a scan with more counts and thus the best signal-to-noise ratio [2.12.1 – SCREEN – TXT]. 
2.12.1. *To be submitted by authors – 53683_Carlton_SCREEN_2.12.1: Screen capture movie as talent selects an exposure time for each radiograph.  TEXT Overlay: use 100 ms/exposure for microelectronic package
3. Set up the scan parameters using the data acquisition computer 
3.1. Input the desired angular range, and the number of images to collect over that range.  The more angles selected, the longer the scan times and larger the dataset size.  For this study, use 1025 angles over 180 degrees during data acquisition [3.1.1 – SCREEN – TXT].
3.1.1. *To be submitted by authors – 53683_Carlton_SCREEN_3.1.1: Screen capture movie as talent inputs the desired angular range, and the number of images to collect over that range.  TEXT Overlay: common numbers of angles = 513, 1025, and 2049 over 0-180º
3.2. After selecting the scanning mode and the number or bright and dark field images as described in the text protocol [3.2.1 – MED – TXT], verify that the sample is translated far enough so that it is not present in the bright field image in order to avoid large defects in the reconstructed images [3.2.2 – SCREEN].  Here, acquire 15 dark field images and 15 bright field images [3.2.3 – MED-over the shoulder].
3.2.1. Talent working at the data analysis computer. 
3.2.2. *To be submitted by authors – 53683_Carlton_SCREEN_3.2.2: Screen capture movie as talent verifies that the sample is translated far enough so that it is not present in the bright field image.  
3.2.3. Talent begins to acquire 15 dark and 15 bright field images.   (We filmed it at computer, because not possible in a screen video or as a MED shot).  
3.3. After determining if tiling is necessary, execute run scan on the Data Acquisition Computer.  The scan will run automatically based on the inputted settings [3.3.1 – SCREEN – TXT]. 
3.3.1. *To be submitted by authors – 53683_Carlton_SCREEN_3.3.1: Screen capture movie as talent executes the run scan on the Data Acquisition Computer and the scan begins to run.  TEXT Overlay (as “if tiling is necessary” is narrated): see text for more info
4. Results: Multi-scale features imaged in an entire micro-electronic package using synchrotron radiation micro-tomography
4.1. Shown here is a 3D rendering of an entire field programmable gate array system in package imaged with 8.7 micron resolution and a scan time of 3 minutes [4.1.1 – LM].
4.1.1. 53683_Carlton_Figure 3A – Authors, please provide figure 3A as a separate image
4.2. A zoomed-in view of a region of the package shows one corner of the field programmable gate array substrate and the circuit board interconnections [4.2.1 – LM].
4.2.1. 53683_Carlton_Figure 3B – Authors, please provide figure 3B as a separate image
4.3. A 3D volume rendering of the three different interconnect levels shows the entire system in package with an 8.7 micron resolution [4.3.1 – LM]. 
4.3.1. Figure 5
4.4. Here, a 3D reconstructed image of the vertically scanned CPU die package with first level interconnect and mid-level interconnect solder connections is shown [4.4.1 – LM].
4.4.1. 53683_Carlton_Figure 6A – Authors, please provide figure 6A as a separate image
4.5. A zoomed in region of a 2D reconstructed slice shows a mid-level interconnect solder ball with a large center void and cracks caused during intentional thermal stress testing [4.5.1 – LM].
4.5.1. 53683_Carlton_Figure 6B – Authors, please provide figure 6B as a separate image
4.6. This movie shows tomography images of the microelectronic package imaged in the horizontal orientation.  The 3D volume rendering of the 16 by 16 square millimeter package shows it from different perspectives [4.6.1 – LM].  
4.6.1. Intel Chip 1 No SLI4 Movie4.  Editors, please show 0:00-0.15s as this point is narrated.
4.7. Here, the movie pans through the different cross-sectional views to show internal information from within the package [4.7.1 – LM]. 
4.7.1. Intel Chip 1 No SLI4 Movie4.  Editors, please show 0:15-1.23s as this point is narrated. Perhaps speed up the video to fit the narration.  Alternatively crop the video.
5. Conclusion (said by authors on camera)
5.1. Yan The ability of tomography to accommodate large sample sizes with faster through-put-time, especially compared to table-top CT systems, is of the upmost importance to the semiconductor industry.  This technique enables non-destructive quantification of cracks, voids, delamination, defects, and much more [5.2.1 – MED].
5.1.1. Talent speaks toward the camera, interview style.  

5.2. John: This method is very useful at providing insight into solder joint interconnects for the microelectronics industry, however it can also be applied to a wide range of material systems, such as metal alloys, composites, biomaterials, organics, and additively manufactured components.  [5.4.1 – MED].
5.2.1. Talent speaks toward the camera, interview style.  
5.3. Holly: Although there is a wide range of materials and volumes that can be imaged using SRμT there are several limitations due to the available energy range at the ALS synchrotron facility.  Specifically, high density materials are constrained to very thin sample sizes due to need to get sufficient x-ray transmission through the sample in order to obtain quality reconstructed images. [5.8.1 – MED].
5.3.1. Talent speaks toward the camera, interview style.  
5.4. Holly: One of the most critical steps for the experimental setup is the sample mounting and focusing of the optics. These steps are vital to obtaining quality images that can be used for quantification of the data [5.5.1 – MED]. 
5.4.1. Talent speaks toward the camera, interview style.  
5.5. Mario:  Specifically, even slight movement of the sample causes artifacts in the reconstructed image and defocusing causes deterioration in resolution.  To avoid issues with image quality, reconstruct a test image, which can take place simultaneously while the next sample scans [5.6.1 – MED].  
5.5.1. Talent speaks toward the camera, interview style.  
5.6. Holly: While attempting this type of experiment it is important to remember to modify your setup depending on the sample constraints and to talk to your beamline scientists about optimizing your experimental procedures and scan times [5.7.1 – MED].
5.6.1. Talent speaks toward the camera, interview style.  
5.7. John: The high-resolution capability of synchrotron radiation micro tomography provides valuable information for both failure analysis and assembly process development [5.1.1 – MED].
5.7.1. Talent speaks toward the camera, interview style.  
5.8. Yan: The application of synchrotron 3D X-ray CT to microelectronic packages opens up a wide range of possibilities in the quality and reliability of 3D microelectronic packages, including in-situ reliability tests, inspection of failures in complex packages. It also provides directions for the development of next generation lab scale 3D X-ray CT. [5.3.1 – MED].
5.8.1. Talent speaks toward the camera, interview style.  

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.
LAB MEDIA

53683_Carlton_Figure 3A – Authors, please provide figure 3A as a separate image
53683_Carlton_Figure 3B – Authors, please provide figure 3B as a separate image
Figure 5
53683_Carlton_Figure 6A – Authors, please provide figure 6A as a separate image
53683_Carlton_Figure 6B – Authors, please provide figure 6B as a separate image
Intel Chip 1 No SLI4 Movie4

SCREEN Capture Movies

53683_Carlton_SCREEN_2.6.1: Screen capture movie as talent selects the % transmission to be around 30%.
53683_Carlton_SCREEN_2.7.1: Screen capture movie as talent clicks “select white” light.
53683_Carlton_SCREEN_2.10.1: Screen capture movie as talent rotates the sample through 180 degrees and visually observes the change in sample location by viewing the radiographs on the computer.  
53683_Carlton_SCREEN_2.12.1: Screen capture movie as talent selects an exposure time for each radiograph.  
53683_Carlton_SCREEN_3.1.1: Screen capture movie as talent inputs the desired angular range, and the number of images to collect over that range.  
53683_Carlton_SCREEN_3.2.2: Screen capture movie as talent verifies that the sample is translated far enough so that it is not present in the bright field image.  .    
53683_Carlton_SCREEN_3.3.1: Screen capture movie as talent executes the run scan on the Data Acquisition Computer and the scan begins to run.  
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

PAGE  
3
( 2013, Journal of Visualized Experiments


