## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Tonolab | Tiolat, Helsinki, Finland | TV02 | Device to measure IOP
Burian-Allen lens electrodes | Hansen Labs, Coralville, Iowa, USA | 1000-540-305-D | Electrodes for ERG
CP511ACamplifier | Grass Instruments, Quincy, MA, USA | CP511AC | Amplifier
Power Lab data acquisition board | AD Instruments, Chalgrove,UK | 16/35 | Data adquisition system
Photometer | Mavo Monitor USB,Gossen, Nürenberg, Germany | 5032 B | Photometer
GraphPad Instat | GraphPad Software, San Diego California USA | v 3.0 | Plotting and data analysis
Hydroxystilbamidine methanesulfonate | OHSt; Molecular ProbesInc, Eugene, OR, USA | H22845 | Retrograde axonal transport
Fluorescence microscope | Axioscop 2 Plus; Zeiss Mikroskopie, Jena, Germany | 000000-1116-576 | Retinas visualization
Digital high-resolution camera | ProgRes C10plus; Jenoptik, Jena, Germany | 456140-0000-000 | Picture capture
Computer driven motorized stage | ProScan H128 Series; Prior Scientific Instruments, Cambridge, UK | 00-H101AFN1
Image analysis software | Image-Pro Plus 5.1 for Windows (IPP); Media Cybernetics, Silver Spring, MD, USA | MAN SU 41N51000 20040830 | Analysis of the images
DBA/2J mouse | Charles River Spain, Cerdanyola del Vallès, Spain | Stain code 026 | Glaucomatous mice
Ketamine | Imalgene 1000, Merial, Barcelona, Spain | 2529 ESP | Anesthesia
Xylazine | Rompún, Bayer, S.A., Barcelona, Spain | 750 DB | Anesthesia
Colircusí Tropicamida 1% | Alcon-Cusí, S.A., El Masnou, Barcelona, Spain | 653486 ESP | ERG measurements
Methocel 2% | Novartis Laboratories CIBA Vision, Annonay, France | 336503 | Animal Care
Prednisone | Oftalmolosa Cusí Prednisona-Neomicina; Alcon S.A., Barcelona, Spain | NDC 61314-637-05 | ERG measurements
Gelatin sponge | Espongostan Film, Ferrosan A/S, Denmark | 150865 | Retrograde labeling
Image-editing computer software | Adobe Photoshop CS ver. 8.0.1; Adobe Systems Inc., San Jose, CA, USA | 20150722. r168 x64
Analysis software | Microsoft Office Excel 2003; Microsoft Corporation, Redmond,WA | 160329
Sigma Plot | SigmaPlot 9.0 for Windows; Systat Software, Inc., Richmond, CA | 90075
| Subbed slides |  | Retinas whole mount
Immunolabeling | Anti-Brn3a, Santa Cruz | sc-31984 | Immunohystochemistry

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=