Submission ID #: 53712
Editor: Steven Nilsen
Videographer: Vito DeFilippo
Film Date: Oct 20, 2015
Authors and Affiliations: 

Emmanuel Martin, Olivier Rocheleau-Leclair and Sarah Jenna

Department of Chemistry, Pharmaqam, Université du Québec à Montréal (UQÀM), Montréal, Canada
Title: Novel Metrics to Characterize Embryonic Elongation of the Nematode Caenorhabditis elegans
Corresponding Author: 

Sarah Jenna, Ph.D

jenna.sarah@uqam.ca 

Co-authors:

martin.emmanuel.2@courrier.uqam.ca
oro.leclair@gmail.com 

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)____No
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___Yes Mac, QuickTime X also has the ability to record the steps.
C.  Which steps of your protocol will viewers benefit most from having filmed? 
1.2.4, 1.2.5, 3.2.3; 3.2.4; 3.3.7 from original manuscript.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps to be filmed by their protocol numbers. (Please do not list an entire section.) ___3.2.3 see in discussion (last paragraph p12 referring to this step) and 3.2.4

E.  Will the filming need to take place in multiple locations?  All on the same floor. 
1. Introduction 

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this group of experiments is to identify developmental defects in the nematode Caenorhabditis elegans during the early and late phases of embryonic elongation. (Intro)
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  

1.1. Emmanuel Martin: This method can help answer key questions in the developmental genetic field. It enables the characterization of genes controlling a late stage of Caenorhabditis elegans embryonic development called embryonic elongation.
1.2. Emmanuel Martin: The main advantage of this group of techniques is that they identify genes controlling either early or late phase of the elongation and also those that control morphogenic processes at the anterior or posterior part of the embryos.   
1.3. Emmanuel Martin: I will demonstrate the procedure together with Olivier Rocheleau-Leclair, a former student of the laboratory. 

1.3.1. Interview style: Author saying the above 

1.3.2. The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Protocol (read by voice talent at JoVE):

2. Characterizing Early Elongation using 4D (Time Lapse Z-stack) DIC Imaging
2.1. This procedure requires DIC lenses, [2.1.1-WID] prism and a video capture system for time-lapse microscopy of Z-stacks. [2.1.2-MED]

2.1.1. Establishing shot of microscope

2.1.2. Panning over scope and associate computer control for microscope
2.2. First, position the slide-mounted sample for viewing - preparation details are in the text protocol.  [MED]

2.2.1. Talent puts sample on stage and gets ready to focus in on it

2.3. Beginning at low magnification, identify embryos in their pre-morphogenesis stages. [LM]

2.3.1. Screen capture 1 

2.4. Then, add a drop of oil and use a more powerful objective. [ECU]

2.4.1. Film as written

2.5. Now, identify the top and bottom points of the embryos to record and set the Z-stack parameters.   [LM]

2.5.1. Screen capture 2

2.6. Set the time-lapse to take images every two minutes.  Make certain that the light shutter is closed between the image acquisitions.  The time needed to capture the early elongation event can vary from one to eight hours, depending on the stage of the embryo. [LM]

2.6.1. Screen capture 3

2.7. Now, run the image acquisition program and save the results [2.7.1-LM] Next, proceed with their analysis using Fiji-ImageJ software. [2.7.2-CU/TEXT]

2.7.1. Screen capture 4 

2.7.2. Opening software, TEXT: v1.48o – http://fiji.sc/Fiji
2.8. Once the images are loaded, choose the Hyperstick viewing mode.  Therein, adjust the brightness and contrast by applying the Auto mode from the Lookup tables.  [LM]

2.8.1. screen capture 5
2.9. Next, go under Analyze/Set Measurements and set the Parameters.  For each embryo set the Z-scale bar to focus on the pharynx, which is a good landmark for the center point of the embryo. [LM]

2.9.1. screen capture 6
2.10. Now, adjust the time scale bar to the beginning of early elongation for a specific embryo.  Take note of this time.  [LM]

2.10.1. screen capture 7
2.11. Then, calculate the length of the embryo using the Analyze/Measure tool to draw a line from the tip of the tail to the mouth, along the midline.  Take note of this length.[LM]

2.11.1. screen capture 8
2.12. Next, adjust the time point to the end of the early elongation event and repeat the length measurement.  Use these values to calculate the duration of early elongation and length increase during early elongation. [LM]

2.12.1. screen capture 9
2.13. The change in width can also be measured, using a straight-line tool to draw a line across the midline of the head. This is a good location for consistent measurements.  Do the same at the midline of the tail, then calculate the head-to-tail ratio for any time point and use this to score changes in width. [LM]

2.13.1. screen capture 10
3. Characterizing Late Elongation using Flow Cytometry
3.1. For this protocol, a flow cytometer must be prepared for large particle flow. [WID]
3.1.1. Talent approaches flow cytometer, pan over space
3.2. Such a machine essentially becomes a worm sorter. [MED/TEXT]
3.2.1. Talent starting up the machine, the laser block, TEXT: See the text protocol for details.
3.3. Before beginning, start up the laser block, the compressor, the worm sorter and the software. [MED]
3.3.1. Starting the compressor and opening the software
3.4. In the software press START and check the argon laser control.  Select the run mode and let the laser warm up to near 10 mW of power.  Then, select Done. [LM]

3.4.1. screen capture 11
3.5. Let the pressure equilibrate for at least fifteen minutes. [MED]
3.5.1. Establish the talent passing time at the equipment, talent reading a paper
3.6. Now, prepare the sample.  First, load 10 µL of synchronized wild-type L1 in a watch glass [3.5.1-CU] and estimate the fraction of dead eggs under a microscope.  [3.5.2-LM] If the estimate is greater than 20% do not use the sample. [3.6.3-MED]

3.6.1. Film as written

3.6.2. Screen capture 19

3.6.3. Removing sample from microscope stage and preparing to transfer larva to 15 mL tube (next step)
3.7. Transfer, the about 700 µL of synchronized L1 in M9 solution to a 15 mL tube [3.7.1-CU] and add propidium iodide to 10 µg per mL.   [3.7.2-MED] Let the stain work for 30 minutes at room temperature. [3.7.3-MED]

3.7.1. Loading tube

3.7.2. Taking aliquot and adding propidium iodide to tube

3.7.3. Starts a timer and continues reading paper to pass time
3.8. Now, prepare the system.  It is vital to adjust the flow rate using the sheath and sample flow controllers to 5.1 and 5.51 respectively.  When pressures stabilize, click the pressure OK box.  [LM/TEXT]
3.8.1. Screen capture 12, TEXT: Sheath: 5.10 ± 0.02, Pressure: 5.51 ± 0.01
3.9. Next, use the Acquire command [3.9.1-LM] and manually flick the tubule to remove any bubbles from the channel between the sample cup and the analysis chamber. [3.9.2-CU] The acquisition window will eventually show that no bubbles are present. This is also vital to the experiment. [3.9.1-LM]
3.9.1. Screen capture 13
3.9.2. Flicking tube as described
3.10. Now, set the parameters for the fluorescence and TOF measurements.  Set the scales for TOF, Ext, Green, Yellow and Red to 256. [LM]
3.10.1. Screen capture 14
3.11. Then, set the gain, as noted. [3.13.1-LM][3.13.2-LM]
3.11.1. Table 1
3.11.2. Screen capture 15
Editor: use a split screen or put Table 1 in the corner
3.12. Then, set the PMT Control to 700 for both Green and Yellow and to 900 for Red. [LM]
3.12.1. Screen capture 16
3.13. Now, calibrate the worm sorter.  Load 20 mL of General Purpose High Fluorescence Control Particles [3.13.1-MED] into a sample cup and load it into the sorter. [3.13.1-MED]
3.13.1. Taking aliquot of solution
3.13.2. Ejecting into sample cup and loading cup into the sorter
3.14. In the software, select Run Control Particles from the Tools and click Acquire.  Check that the resulting coefficient of variation is greater or equal to 11 and the mean is equal to 21± 6.  [LM]

3.14.1. Screen capture 17
3.15. If it is not the case, try to clean the tubules by clicking on the clean button [3.15.1-MED] or by flicking the flow channel. [3.15.2-CU]

3.15.1. Talent working with software, using the “clean button” eventually getting up to flick channel

3.15.2. Film as written

3.16. Now, quit control particles mode, by unchecking the command in the Tools. [LM]

3.16.1. To be provided by authors, screen capture of above action(s)
3.17. Once the 30 min staining of worms with Propidium iodide is finished, add 10 mL [3.17.1-MED] of M9 to the stained worms and mix. Incubate for at least 15 min at room temperature. [3.17.2-MED]

3.17.1. Taking aliquot of M9

3.17.2. Ejecting M9 into staining worms and starting a timer

3.18. Now, take 5 mL of the dilution and add it to a sample cup with 15 mL of M9.  [MED]

3.18.1. Film as written

3.19. Run this dilution through the worm sorter. [3.19.1-MED]  Press the Acquire button and observe the flow rate.  It may be necessary to adjust the concentration of worms to get a good flow, somewhere between 15 and 25 objects per second.[3.19.2-LM]
3.19.1. Talent returns attention to software
3.19.2. Screen capture 20
3.20. Once the appropriate concentration of the objects is achieved, add control particles [3.20.1-CU] to the test to get a final concentration of about 0.5 to1X control particles in solution. [3.20.2-MED]

3.20.1. Taking aliquot of control particles, show label of stock bottle

3.20.2. Adding aliquot to the sample cup, show mixing if done, then returning attention to computer

3.21. Now, adjust the gating parameter under the Gating menu to TOF versus Green.  Then adjust the sorting parameters to TOF versus Red.  This will sort the control particles from the dead animals and the living animals. [LM]
3.21.1. Screen capture 21
3.22. Now, run the experiment by clicking acquire.  Analyze about 10 thousand objects, which should correlate to about 8 thousand animals. [LM]
3.22.1. Screen capture 22
3.23. Then stop the experiment and click STORE to save the data as a text file for analysis. [LM]

3.23.1. Screen capture 23
4. Results: 4D-DIC versus Flow Cytometry for Sizing Nematode Larvae
4.1. To establish the robustness of head width measurement, measurement was performed independently five times on 12 wild-type embryos at the 1.2-fold stage.  There was no variances among the data when applying the Brown-Forsythe test.
4.1.1. Figure 4A
4.2. The reproducibility and batch effects associated with head width measurement was tested using 4D-DIC imaging on three different days.  Across these three measurement groups, no variance or batch effects were found.
4.2.1. Figure 4B
4.3. Both described protocols were used to assess the length of arrested larvae in wild-type and mutant backgrounds.  Image analysis provided absolute measurements of length in micrometers.  Mutants were smaller than wild types in this experiment.
4.3.1. Figure 5A
4.4. Measurement of length by flow-cytometry gave comparable results, however, these measurements were far more robust.   Thus this method should elucidate more subtle effects in mutant populations.
4.4.1. Figure 5B
5. Conclusion (said by authors on camera)

5.1. Olivier Rocheleau-Leclair: While attempting this procedure, it’s important to remember to maintain a constant flow rate throughout the experiment in order to ensure fair comparison between analyzed strains.

5.2. Olivier: Once mastered, measurement of larval length using flow-cytometry enables the characterization of 18 to 24 conditions or mutant strains per day, even giving for the initial calibration of the equipment.

5.3. Olivier: Following this procedure, characterization of the morphology of hypodermal cells using fluorescent markers and confocal microscopy can be performed in order to characterize the molecular function of the identified genes.

5.4. Olivier: Don't forget that working with propidium Iodide can be extremely hazardous and precautions such as warring gloves and protection glasses should always be taken while performing this procedure.   

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2015, Journal of Visualized Experiments


