Narration Scripts

This protocol demonstrates a novel and simple self-assembly technique of colloidal silica nanoparticles to create a nanofluidic junction between two microchannels in poly(dimethylsiloxane). The bead membrane with a pore size of approximately 45 nm acting as a cation-selective membrane can be used for the electrokinetic concentration of DNA and protein samples.

I. Overview

In the first step, the PDMS device with nanotraps is casted through a double molding process. After plasma bonding the device to a glass substrate, surface functionalized silica beads are injected into the microchannels to form the self-assembly colloidal membrane. Lastly, a voltage is applied across the membrane using a source meter and voltage divider. The ion depletion and concentration increase are observed using an inverted epifluorescence microscope and a CCD camera.

II. Preparation of the silica colloidal particle suspensions

Of the starting with 300 nm silica beads, vortex beads stock for 30 sec, withdraw 600 μl suspension into an eppendorf tube, and centrifuge for 1 min at 2600 x g. After centrifugation, carefully remove the supernatant. Re-suspend the beads with 400 μ

l 1mM sodium phosphate buffer to reach a 15% working concentration. Vortex to reach a homogeneous suspension.

Repeat the same steps to prepare 500 nm silica beads.

For 500 nm carboxylic silica beads, weigh 100 mg in a 15 ml falcon tube. Then transfer 9.8 ml 1M sodium chloride to re-suspend the beads. Vortex the tube vigorously.  Invert the tube several times to displace beads impacted at the bottom.

To create surface charge on the beads, we prepare 2 polyelectrolytes: PAH and PSS. The 0.9% PSS is prepared by dissolving 180 mg PSS with 20 ml 1M sodium chloride. The 0.4% PAH is prepared by diluting 300 μl of the stock solution in 15 ml of 1 M sodium chloride.  Vortex both solutions to ensure they are fully dissolved.

For deposition a positively charged PAH layer, add 200 μl of the PAH solution to the beads suspension. Vortex for 1min, and incubate the suspension in a rotator for 1h at room temperature. To wash away the unbound PAH, centrifuge the suspension at 1801 x g for 1 min to precipitate the beads. Remove the supernatant, pipette 1-2 ml of water into the tube to disrupt the beads. Add the remaining of 8 ml water and then vortex. Repeat the washing procedure 4 more times.

After the 5th wash and centrifuge, discard the supernatant and restore the beads with 9.8 ml 1M sodium chloride. For deposition the negatively charged PSS layer, add 200 μl of the PSS solution to the beads suspension. Vortex for 1min, and incubate the suspension in the rotator for 1h at room temperature. Wash the beads 5 times with DI water as done for the PAH coating. After the last wash, discard the supernatant and resuspend the beads with 650 µL of 1 mM sodium phosphate buffer with 0.05% Tween 20. Transfer the beads suspension to an eppendorf tube.

For preparation of 500 nm amine silica beads, repeat the same procedure to deposit a single negatively charged PSS layer.

Ultrasonicate the beads suspension for 1h prior to use.

III Fabrication of the PDMS microfluidic chip

To fabricate the silicon master, first, spin coat a 1 µm thin photoresist at 4000 rpm on a silicon wafer. Then use projection lithography and reactive ion etching to create 700 nm deep and 2 μm wide planar nanochannels as nanotraps for the beads. Then spin coat the second photoresist layer at 2000 rpm and perform an alignment to the previously patterned nanotraps. Pattern the microchannels via contact lithography and by deep reactive ion etching of silicon.

Silanate the silicon master in a vacuum jar with 50 L trichlorosilane overnight to create a release layer. To cast the PDMS mold, mix the PDMS base and curing agent at a 10:1 ratio. Pour the mix on top of the silicon master. Place the master with PDMS in a vacuum jar to remove the air bubbles and bake it in the oven at 70°C to crosslink the PDMS.

After baking for 2h, carefully remove the PDMS slab from the silicone master. Treat the surface with plasma to create a permanent bonding to a blank silicon wafer. Attach Scotch tape along the edge to mark a partition line for the following PDMS casting step.

Silanate the PDMS mold in a vacuum jar overnight to create a mold release layer. Cast PDMS on top of the PDMS mold, and transfer it into a vacuum jar for degasing. Then bake it in the oven.

Peel off the cured PDMS slab from the PDMS mold along the partition line marked with the Scotch tape. Cut off the devices carefully and punch holes with 1.5 mm biopsy punch in the reservoirs. After surface cleaning with Scotch tape and IPA, plasma bonds the PDMS device on a 25 mm x 75 mm microscope glass slide.

Inject 10 µL of the suspension into inlets 4 and 6 of the bead delivery channels immediately after plasma bonding. After filling the bead delivery channels, cover all the reservoirs except outlets 1 and 9 of the bead delivery channels.

Airdry the device for 3 hours at room temperature and store at 4°C prior to use.  Micrograph of the device shows the colloidal particles assembles inside the upper and lower bead delivery channels. The SEM image shows self-assembled 300 nm silica colloidal particles trapped with the nanotrap arrays between the sample and the buffer channel.

Fill inlets 3 and 7 of the buffer channels with 10 L of 1 mM sodium phosphate buffer and inlet 5 of sample channel with 10 L 10 nM DNA sample. Apply a gentle negative pressure with an inverted pipette tip on all the outlets to fill the channels with the solutions without air bubbles. Add 10 L sodium phosphate buffer to reservoirs 2 and 8, and 10 L DNA sample to the reservoir 10 to stabilize the pressure for 5 min.

IV. Experiment for electrokinetic concentration of DNA

Connect the microfluidic chip with a voltage divider connected to a source meter. Insert the Pt wires into reservoirs 3, 7, 5 and 10. Apply voltage across the nanofluidic junction.

First apply 30V on reservoirs 5 and 10 and ground on reservoirs 3 and 7. Decrease the voltage to 25 V on reservoir 10 after ~30 sec.

V. Results   Colloidal Self-assembly and Electrokinetic Preconcentration

The microfluidic channel is filled with DNA with initial concentration at 10 nM. Time-lapse micrographs show the formation of an ion depletion region near the nanofluidic colloidal junctions. The ion depletion region was initiated in 10 s. A concentrated DNA plug was generated when the voltage is applied across the sample channel while the buffer channels were grounded. The dotted lines have been used to highlight the channels walls. A concentration factor of about 1700 folds is achieved within 15 minutes using 300 nm colloidal membrane.

The average fluorescence intensity of DNA is increasing as a function of time in a nanoporous membrane. The dotted lines represent the signal level for 10 nM, 17 μM, 2 μM, and 10 μM DNA. The concentrated plug is generated at the nanoporous membrane of the 300 nm silica beads, the 500 nm silica beads, the 500 nm silica amine beads coated with a single layer of PSS, and the 500 nm silica carboxyl beads coated with two layers of PAH and PSS.

VI. Conclusion

Using the self-assembled colloidal silica membrane with an estimated pore size of 45 nm, we demonstrated ion concentration polarization near the nanofluidic junction

and concentrate a DNA sample by 1700 times within 15min. Compared to the silicon-based nanochannels, the major advantage of the self-assembled colloidal membrane is the possibility of performing surface functionalization completely outside the sealed microfluidic device in a separate vial. We believe that this approach opens up a possibility to fabricate a micro/nanofluidic platform rapidly with easily tunable pore sizes by controlling the bead size, the ionic strength or the pH value of the buffer solution to study the ionic and molecular transport in the 10–100 nm regime.