# Submission ID #: 53819

# Editor Name: Laifong Lee

# Videographer name: Kevin McRoberts

# Film Date: December 8, 2015

# Authors and Affiliations:

M. Heath Farris

Department of Advanced Technology

The MITRE Corporation

McLean, Virginia, USA

hfarris@mitre.org

Kara A. Ford

Center for Biomedical Engineering

Brown University

Providence, Rhode Island, USA

kara_ford@brown.edu

Richard C. Doyle

The MITRE Corporation, Emeritus

McLean, Virginia, USA

Title: Qualitative and Quantitative Assays for Detection and Characterization of Protein Antimicrobials

# Corresponding Author:

M. Heath Farris, Ph.D.

Authors, please check the answers to the brief questionnaire below.

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)__N_______  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope:

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)__N______ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 2.7, 2.8, 2.9, 2.13, 4.3, 4.7, 4.10, 4.11._______________________________________

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) _2.8 - This step requires the researcher to monitor the addition of the agarose to the microslide, ensuring that it does not overflow the microslide._4.3 - This step is tedious for the researcher to perform._______________________

E.  Will the filming need to take place in multiple locations? (Y/N) __N_____ If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of these experiments is to rapidly screen and characterize enzymes for antimicrobial activity.  (Intro)

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Heath Farris:  The microslide diffusion and the dye-release assays have utility in the functional discovery of new antimicrobials that have lytic activity against specific targets, such as a pathogenic bacterium of interest.

  - Heath Farris:  The main advantages of these techniques are that they are simple to execute, provide flexibility for variation of experimental parameters, and can be performed with laboratory equipment commonly found in most microbiology laboratories.

C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)

N.A.

# D. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!)

N.A.

# Protocol (read by voice talent at JoVE):

- Qualitative Microslide Diffusion Assay

  - Prior to starting the Microslide Diffusion assay, the concentration of the antimicrobial enzyme to be evaluated should be determined using a BCA Protein Assay Kit according to the manufacturer’s protocol. [2.1.1 – MED]

    - Talent setting out the enzyme. (protein concentration determined previously)

  - Perform a serial dilution of the antimicrobial enzyme using PBS as a reaction buffer. [2.2.1 – MED] [2.2.2 – CU]

    - Talent starting to make serial dilution.

    - A shot of all the tubes of diluted enzyme after serial dilution is complete.  (Author: please make sure tubes are clearly labeled as 0 pg, 10 pg, 100 pg, 1 ng, 10 ng, 100 ng, 1 µg, 10 µg.)

  - Dispense the protein into individual microfuge tubes [2.3.1 – MED] and adjust volumes to 20 µL using PBS. [2.3.2 – CU]

    - *film as written.

    - *film as written.

  - Next prepare a 0.5% agarose solution by dissolving 0.25 g of agarose in 50 mL of PBS. [2.4.1 – MED] Heat the solution to a boil until the agarose is completely dissolved. [2.4.2 – MED] Determine water lost during the melting process by weight [2.4.3 – MED] and add back to the solution. [2.4.4 – CU]

    - Talent adding PBS to flask with agarose and then weighing the flask.

    - Talent putting flask into microwave and starting the heating.

    - Talent weighing the flask (after boiling).

    - Water being added to the flask.

  - To inhibit contaminating bacterial growth during incubation of the assay, add 50 µL of 10% sodium azide in water to the agarose solution [2.5.1 – CU] and adjust the temperature of the solution to 50°C in a water bath. If viable cells are used as the substrate, omit the sodium azide from the agarose solution. [2.5.2 – MED]

    - *film as written.

    - Talent putting flask into 50°C water bath.

  - Thaw the heat-killed bacterial substrate on ice. [2.6.1 – MED –TXT]

    - Talent putting a tube of the substrate on ice.  TEXT:  Refer to protocol text for preparation of substrates.

  - Re-suspend the bacterial substrate in 12 mL of the agarose solution to approximately match the turbidity of a 2.0 McFarland equivalence turbidity standard. [2.7.1 – MED] Compare the turbidities of the solutions by visualizing a black line on a white background through the solutions, [2.7.2 – CU] adding bacterial substrate to the agarose until the approximate turbidity is achieved. [2.7.3- CU]

    - *film as written.

    - *film as written.

    - Bacterial substrate being added to the agarose until turbidity matches the standard.

  - Immediately but carefully pipet 3 mL of the agarose-substrate solution to each microslide, making sure the solution does not overflow the microslide. [2.8.1 – CU]

    - 3 mL of the agarose-substrate solution being pipetted to a microslide without overflowing.

  - After the slides have solidified, use a 4.8-mm diameter cork-borer to punch three wells in the agarose-substrate layer of each microslide. [2.9.1 – CU] Add 20 µL of each adjusted protein serial dilution to their respective wells. [2.9.2 – CU]

    - A cork-borer being used to punch three wells in the agarose-substrate layer of one microslide.

    - *film as written.

  - Use bovine serum albumin in a negative control well. [2.10.1 – CU] As a positive control, use known bacteriolytic enzymes appropriate for the substrate, such as lysozyme. [2.10.2 – CU]

    - BSA being added to a negative control well.

    - Lysozyme being added to a positive control well.

  - Incubate the slides in a humidity chamber at 37°C or the optimal activity temperature of the enzyme. [2.11.1 – MED] The length of incubation depends upon the concentration and specific activity of the antimicrobial enzyme. A typical reaction time is approximately 16 hours. [2.11.2 – MED]

    - Talent putting slides into humid box.

    - Talent putting box into the 37°C incubator.

  - When the incubation is complete, observe the slides under indirect light [2.12.1 – MED] and capture images of the developing assay. Use a digital single-lens reflex camera with a 60-mm lens at a focal distance of approximately 30 cm. [2.12.2 – MED]

    - Talent taking slides out of humid box and looking at them under indirect light.

    - Talent taking photos of the slides.

- Substrate Labeling – Remazol Brilliant Blue R Dye Labeling

  - In the dye-release assay to be demonstrated in the next segment, the substrate is covalently linked to Remazol brilliant blue R dye, or RBB. Begin this protocol by making a 200 mM RBB solution:  dissolve 1.25 g of RBB in a freshly prepared sodium hydroxide solution. [3.1.1 – MED-TXT]

    - Talent mixing RBB with NaOH solution.  TEXT:  Refer to protocol text for details of making the RBB solution.

  - Next re-suspend heat-killed bacterial cells at a concentration of 0.5 g wet weight in 30 mL of RBB solution. [3.2.1 – MED] For purified peptidoglycan, re-suspend the peptidoglycan at a concentration of 0.3 g wet weight in 30 mL of RBB solution.  [3.2.1 – MED]

    - Talent resuspending heat-killed bacterial cells in RBB solution in an Erlenmeyer flask.

    - Talent resuspending peptidoglycan in RBB solution in a second Erlenmeyer flask.

  - Since subsequent steps are the same regardless of the substrate used, the labeling will be demonstrated for only the bacterial cells.  Incubate the reaction mixture on a rotating platform for 6 hours at 37°C with gentle mixing. [3.3.1 – MED-TXT]

    - Talent putting the Erlenmeyer flask with the cells on the platform in the 37°C incubator.  TEXT: 6 h; 37°C

  - After 6 hours, transfer the reaction mixture to a 4°C incubator and incubate for an additional 12 hours with gentle mixing. [3.4.1 – MED-TXT]

    - Talent transferring the flask to a 4°C incubator.  TEXT: 12 h; 4°C

  - When the incubation is complete, [3.5.1 – MED] harvest the dyed substrate by centrifugation at 3,000 × g for 30 minutes. [3.5.2 – MED-TXT] Decant the dye solution from the substrate pellet. [3.5.3 – CU]

    - Talent transferring reaction mix from flask to a centrifuge tube.

    - Talent putting tube into centrifuge.  TEXT: 3,000 × g; 30 min

    - *film as written.

  - Re-suspend the pellet thoroughly in Type I water [3.6.1 – CU] followed by centrifugation. [3.6.2 – MED-multiple shots] Wash the dye-labeled cells 3-5 times in this manner to remove non-covalently linked soluble dye from the substrates.  For final washes, transfer the pellet portion that will be used in the dye-release assay to 1.5-mL microfuge tubes.  [3.6.3 – MED-TXT] The supernatant of the last wash should be clear while the substrate remains blue. [3.6.4 – CU/ECU]

    - Water being added and pellet resuspended thoroughly.

    - Multiple takes from different angles of talent putting tube into the centrifuge.

    - Water being removed from the cell pellet (after centrifugation) and then fresh water added. TEXT: Wash 3-5 X

    - Shot of the pellet and the supernatant after the final wash, before the supernatant is removed.  Videographer: Please make sure you capture the blue pellet and the clear water.

  - Store the dyed substrates suspended in a minimal amount of water at -20 °C until ready for use. [3.7.1 – MED]

    - Talent putting the tube into the -20 °C freezer.

- Quantitative Dye-Release Assay

  - To prepare for the dye-release assay, allow the frozen dyed substrate to return to room temperature and wash twice with the assay buffer that was empirically determined for the enzyme.  PBS is used in this case. [4.1.1 – MED] [4.1.2 – reuse shot-TXT]

    - Talent adding PBS to the dyed cells.

    - Reuse shot from 3.6.2. TEXT: Wash 2X

  - Calculate the volume of substrate suspension that is needed by multiplying the 200 µL reaction volume by the number of dye-release assays to be performed. [4.2.1 – MED]

    - Talent making calculation. (either manually or with a calculator)

  - To prepare the substrate suspension, first add the dyed substrate to the appropriate volume of PBS.  [4.3.1 – MED] Make a 1:1 dilution and take an initial measurement of the optical density at 595 nm, using PBS as a blank. [4.3.2 – MED-multiple shots] Add incremental amounts of the dyed substrate to the suspension [4.3.3. – CU] until an optical density of 2.0 at 595 nm is achieved. [4.3.4 – reuse shot]

    - Talent adding dyed substrate to PBS.

    - Multiple takes from different angles of talent at spectrophotometer taking an OD measurement.

    - Dyed substrate being added to the substrate suspension.

    - Use shot from 4.3.2.

  - In this demonstration, the dye-release assay will be used to determine the optimal incubation conditions for a protein antimicrobial. [4.4.1-MED] First, prepare a stock protein antimicrobial suspension by adjusting the concentration to 1 mg/mL using PBS, as described in the protocol text. [4.4.2 – CU]

    - Talent setting out the protein antimicrobial.

    - PBS being added to the protein antimicrobial.

  - Then dilute the stock protein antimicrobial suspension to a concentration of 100 ng/µL. This concentration gives a final reaction mass of 1 µg of protein per volume added to the assay reaction. [4.5.1 – MED]

    - Talent diluting stock protein antimicrobial suspension to 100 ng/µL.

  - Perform the reaction assays in 0.5-mL microfuge tubes for the thermal range to be assessed. [4.6.1 – MED-TXT] For each thermal condition, add 10 µL of the stock protein to 200 µL of prepared substrate suspension.  [4.6.2 – CU]

    - Talent setting out the appropriate number of tubes.  TEXT: Thermal range: 5°C, 15°C, 25°C, 35°C, 45°C, 55°C, 65°C

    - Stock protein being added to substrate for one of the thermal conditions.

  - Incubate in a thermal cycler for 8 hours [4.7.1 – MED] with mixing by inversion once per hour.  [4.7.2 – MED]

    - Talent putting microcentrifuge tubes into a thermal cycler.

    - Talent taking a tube out of a thermal cycle and inverting the tube.

  - Following the incubation, arrest the reactions by adding 25 µL of ethanol to each microfuge tube. [4.8.1 – CU]

    - 25 µL of ethanol being added to each microfuge tube.

  - To remove undigested, insoluble substrate, centrifuge at 3,000 × g for 2 minutes.  [4.9.1 – MED-TXT] After that, while being careful not to disrupt the pellet of undigested substrate, transfer 150 µL of the reaction supernatant for each reaction mixture to a 96-well flat-bottom microplate.  [4.9.2 – CU]

    - Talent putting microfuge tubes into centrifuge.  TEXT: 3,000 × g; 2 min

    - Reaction supernatant from one tube being carefully transferred to a well of a microplate.

  - To quantify the enzymatic activity, use a microplate spectrophotometer to measure the absorbance of the supernatant at 595 nm. Increased absorbance by the soluble dye released into the supernatant from the labeled substrate is a quantitative measurement of enzymatic activity. [4.10.1 – WIDE/MED]

    - General shot of talent at the spectrophotometer, i.e., putting 96-well plate into the machine.

- Results: detection and characterization of novel protein antimicrobials

  - The microslide diffusion assay was used to qualitatively evaluate the activity of an unknown protein antimicrobial against heat-killed Salmonella enterica whole cell substrate. The antimicrobial was added in decreasing amounts from wells A through F, and PBS was used for negative controls. [5.1.1 – LM]

    - 53819_Figure1.pdf

  - After 6 hours, the size of the clear zone of hydrolysis that formed around each well was observed. High enzymatic activity qualitatively relates to a larger zone, [5.2.1 – LM] while low enzymatic activity qualitatively relates to a smaller zone. [5.2.2 – LM]

    - 53819_Figure1.pdf.  Highlight panel A.

    - 53819_Figure1.pdf.  Highlight panel E.

  - The quantitative dye-release assay was used to determine the optimal reaction temperature for a protein antimicrobial. [5.3.1 – LM] As seen from the amounts of blue color in the reaction supernatants, [5.3.2 – LM] and the activity units derived from absorbance measurements at 595 nm, [5.3.3 – LM] 35°C is the optimal temperature. [5.3.4 – LM]

    - 53819_Figure3.pdf.

    - 53819_Figure3.pdf.  Draw a box around the middle column in panel B with the 3 darkest blue wells.

    - 53819_Figure3.pdf.  Add arrow to point to peak in panel A graph.

    - 53819_Figure3.pdf.  Highlight ‘35’ on the x axis of the panel A graph.

  - The dye-release assay was also used to determine the activity range of an unknown protein antimicrobial against Bacillus subtilis heat-killed substrate. [5.4.1 – LM]

    - 53819_Figure 4 for video.pdf

  - A comparison to the activity range of α-chymotrypsin revealed that the unknown antimicrobial enzyme has almost twice the affinity for the substrate. In addition, while the activity of α-chymotrypsin begins to plateau around 0.3 µg, the activity of the unknown enzyme continued to rise across all enzyme amounts. [5.5.1 – LM]

    - 53819_Figure 5 for video.pdf Add this figure to the right of ‘53819_Figure 4 for video.pdf’ (from 5.4) so viewers can compare the two figures.

- Conclusion (said by authors on camera)

  - Heath Farris: Once mastered, the microslide diffusion assay can be done in 30 minutes and the dye-release assay can be done in less than 1 hour.  Incubation times for each assay will depend upon the enzyme activity and concentration.

  - Heath Farris: Expanding upon these procedures, the dye-release method can be modified to determine the chemical influences affecting enzymatic activity of the antimicrobial enzyme by manipulating aspects of the reaction such as buffer pH and salinity.

  - Heath Farris: After watching this video, you should have a good understanding of how to rapidly screen and characterize enzymes for antimicrobial activity using the microslide diffusion and the dye-release assays.

# Provided Media

# 5.1, 5.2. 53819_Figure1.pdf

# 5.3. 53819_Figure3.pdf.

# 5.4. 53819_Figure 4 for video.pdf

# 5.5. 53819_Figure 5 for video.pdf

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.