Submission ID #: 53861
Editor Name: Michael Linnes
Videographer name: Kevin McRoberts
Film Date: Dec. 14, 2015
Authors and Affiliations: C. Wyatt Shields IV,1,2 Daniela F. Cruz,1,2 Korine A. Ohiri,1,3  Benjamin B. Yellen1,2,3 and Gabriel P. López1,2,3,*
1NSF Research Triangle Materials Research Science and Engineering Center 2Department of Biomedical Engineering 3Department of Mechanical Engineering and Materials Science, Duke University, Durham, NC 27708, USA 

Title: Fabrication and Operation of Acoustofluidic Devices Supporting Bulk Acoustic Standing Waves for Sheathless Focusing of Particles

Corresponding Author: 

Gabriel P. López

gabriel.lopez@duke.edu 

Co-authors:

wyatt.shields@duke.edu, 
daniela.cruz@duke.edu, 
korine.duval@duke.edu, 
yellen@duke.edu
Questionnaire:
A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? No    
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) No  
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) Steps 2.2, 2.4, 3.1, 5.7, 6.4 and 8.2
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) Step 5.7
E.  Will the filming need to take place in multiple locations? (Y/N) Yes.  If yes, how far apart are the locations? In the same building, approximately a 5-minute walk away. Much of the filming will occur in the clean room facility at Duke (up to Step 5.8.1). We have received approval for outside users to film in the clean room for this project, and we will provide dress garments for the day of the filming.
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal (read by voice talent at JoVE): 
The overall goal of this fabrication approach is to create a versatile and robust acoustofluidic device to manipulate micron-sized colloidal particles in a contact-free manner using bulk acoustic standing waves. (Intro)
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.1. Wyatt Shields: Our goal is to demonstrate a simple approach by showing how to fabricate acoustofluidic tools supporting bulk standing waves using standard equipment and procedures in hopes of making this useful technology more accessible. 
1.2. Korine Ohiri: A major advantage of acoustofluidics is that it offers a simple way to rapidly focus or separate microscopic entities, which has broad implications in on-chip cytometry and cell sorting. 
C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.3. Daniela Cruz: This technology offers the ability to arrange particles under a variety of flow rates in a gentle and discriminate fashion, all in a convenient, miniaturized platform.  

Protocol (read by voice talent at JoVE):  
2. Photolithography (*Demonstrator: Korine Ohiri)
2.1. In a clean room facility, place a clean, 6-inch single-side polished silicon wafer onto a spin-coater, polished side up.  [2.1.1 - MED]
2.1.1. *Film as written
2.2. Deposit a positive photoresist directly onto the center of the wafer by carefully pouring until the photoresist covers most of the wafer. [2.2.1 - CU] Then, spin the sample to produce an even layer of photoresist.[2.2.2 - CU - TXT]
2.2.1. *Film as written 

2.2.2. *Film as written (TEXT: Example Spin Program: 0-300 rpm @ 100 rpm/sec, hold for 5 sec; 300-1800 rpm @ 1000 rpm/sec, hold for 60 sec)

2.3. When finished, release the vacuum on the chuck and use wafer tweezers to retrieve the wafer. [2.3.1 - CU] Next, place the wafer onto a hot plate and soft bake for the amount of time specified by the photoresist supplier.   [2.3.2 - MED]
2.3.1. *Film as written
2.3.2. *Film as written
2.4. While the photoresist bakes, load a photomask, like the one shown here, into the holder of a mask aligner. [2.4.1 - MED][2.4.2 - ECU] Then, load the wafer and expose it with UV light to an energy dosage specified by the photoresist supplier.[2.4.3 - MED]
2.4.1. Talent loads photomask into the mask aligner.

2.4.2. ECU shot of the photomask against a white background.

2.4.3. *Film as written
2.5. Next, remove the photo-patterned wafer from the holder and place it in a solution of its corresponding developer. [2.5.1 - MED] Once finished, remove the wafer from the developer, wash it with a steady stream of deionized water, and dry it with nitrogen.[2.5.2 - MED]
2.5.1. *Film as written
2.5.2. *Film as written
3. Deep Reactive Ion Etching (*Demonstrators: Wyatt Shields & Kirk Bryson)
3.1. Load the photo-patterned wafer into the chamber of a deep reactive ion-etching instrument and etch the fluidic channels into the wafer to the desired depth following standard etching procedures. [3.1.1 - MED]
3.1.1. *Film as written
3.2. When the etching process is complete, unload the sample from the chamber and place it into a large beaker containing a photoresist remover solution. [3.2.1 - MED] Ensure that the wafer is submerged in the solution and let it soak for 1 hour at 65°C. [3.2.2 - CU - TXT]
3.2.1. *Film as written
3.2.2.  *Film as written (TEXT: Heat to 65°C, 1 hr) 

3.3. Remove the wafer from the beaker and rinse it with alternating streams of acetone and isopropyl alcohol. [3.3.1 - MED] Then, dry the wafer with nitrogen.[3.3.2 - CU]
3.3.1. *Film as written
3.3.2. *Film as written
4. Piranha Cleaning (*Demonstrator: Daniela Cruz)
4.1. In a well-ventilated hood that is approved for acid use, [4.1.1 - WIDE] prepare a piranha solution in a large, clean beaker by adding 30% hydrogen peroxide to sulfuric acid in a 1:3 ratio. [4.1.2 - MED Over the Shoulder - TXT]
4.1.1. *Film as written
4.1.2.  *Film as written (TEXT: CAUTION! Piranha solutions are highly corrosive, are a strong oxidizer and are highly dangerous.)

4.2. Submerge the ion-etched wafer in the piranha solution with the etched-features facing up and leave it for 5 minutes. [4.2.1 - CU] Then, remove the wafer and rinse it well with deionized water.[4.2.2 - MED]
4.2.1. *Film as written
4.2.2. *Film as written
4.3. Re-submerge the wafer in the piranha solution for an additional 2 minutes [4.3.1 - MED] and then rinse it again with copious amounts of deionized water.[4.3.2 - MED]
4.3.1. *Film as written
4.3.2. *Film as written
4.4. In a separate well-ventilated hood that is dedicated to solvent use, wash the wafer with a steady stream of acetone followed by a steady stream of methanol [4.4.1 - MED] and then dry the wafer with nitrogen gas.  [4.4.2 - CU]
4.4.1. Talent rinses with acetone, then switches to methanol.

4.4.2. *Film as written
5. Anodic Bonding (*Demonstrator: Daniela Cruz)
5.1. Using a scribe tool, etch straight lines into the wafer around the perimeter of the microfluidic chip [5.1.1 - MED] so that it is smaller than the dimensions of the rectangular glass segment with predrilled holes. [5.1.2 - CU - TXT] Carefully snap the wafer along the etched lines. [5.1.3 - CU]
5.1.1. *Film as written
5.1.2.  *Film as written (TEXT: Silicon Chip: 7 x 3 cm, Predrilled segment: 8 x 4 cm) 
5.1.3.  *Film as written
5.2. Rinse the silicon segment with a steady stream of acetone followed by a steady stream of methanol. [5.2.1 - CU] Then, place the wafer on a hot plate at 95°C for 2 minutes for it to dry. [5.2.2 - MED]
5.2.1. *Film as written
5.2.2. *Film as written
5.3. Next, carefully add the clean glass on top of the silicon segment with the etched-features facing up.  Make sure the holes are properly aligned. [5.3.1 - CU] Then, carefully flip the segments while ensuring the holes are kept aligned.[5.3.2 - CU]
5.3.1. *Film as written
5.3.2. *Film as written
5.4. Secure the two segments with double-sided conductive tape where half of the tape secures the vertical edges of the silicon segment and the other half of the tape secures the overhanging glass. [5.4.1 - CU] Then, flip the segments again such that the glass segment is on top. [5.4.2 - CU]
5.4.1. *Film as written
5.4.2. *Film as written
5.5. Place the segments on top of a steel slab on a hot plate at 450°C. Then, carefully add a second steel slab of at least 5 kg directly to the top of the assembled glass and silicon segments. [5.5.1 - MED] This slab should not be in contact with the silicon segment or the conductive tape. [5.5.2 - CU]
5.5.1. *Film as written
5.5.2. Close-up shot showing the slab/silicon/tape.

5.6. Using a high voltage power supply, connect the live lead to the steel slab on top of the assembled glass and silicon segments and the ground to the bottom steel slab. [5.6.1 - CU]
5.6.1. *Film as written
5.7. Turn the voltage on the underlying hot plate to 1,000 V. [5.7.1 - MED] Check the applied voltage using a multimeter by pressing one probe against the bottom plate and the other probe against the top plate. [5.7.2 - CU - TXT]
5.7.1. *Film as written
5.7.2. Show multimeter displaying the voltage with the connections in the background of the device. (TEXT: CAUTION! The high voltage is extremely dangerous; be careful not to touch the metallic slabs or the connecting wires.)

5.8. Return after 2 hours to turn off the hot plate and the DC power supply and remove the device from the metallic slabs. [5.8.1 - MED - TXT]
5.8.1. *Film as written (TEXT: WARNING! The metallic slabs will be extremely hot.  Cool for at least 1 hr after turning off the hot plate before continuing.)

6. Finalizing the Acoustofluidic Device (*Demonstrator: Korine Ohiri)
6.1. Scrape the surface of the glass with a razor to remove any grime produced by the anodic bonding [6.1.1 - CU] and then clean the surface of the glass with acetone. [6.1.2 - CU]
6.1.1. *Film as written
6.1.2. *Film as written
6.2. Next, prepare a sheet of polydimethylsiloxane that is approximately 5 mm thick by cutting it into several small, square slabs approximately 10 mm by 10 mm. [6.2.1 - CU]
6.2.1. Talent displays sheet of PDMS for camera, then cuts out a small square slab.

6.3. Use a 3 mm biopsy punch to cut one hole in the center of each slab. [6.3.1 - CU] Then, glue the slabs directly on top of the holes on the glass substrate using epoxy.  [6.3.2 - CU]
6.3.1. *Film as written
6.3.2. *Film as written
6.4. Solder two wires to the two conductive areas on the transducer. [6.4.2 - CU] Carefully glue the lead zirconate titanate transducer to the silicon segment on the back side of the device, centered-underneath the microchannel. [6.4.1 - CU] 
Note order of shots switched
6.4.1. *Film as written
6.4.2. *Film as written
6.5. Finally, insert the silicone tubing through the holes in the slabs of polydimethylsiloxane [6.5.1 - CU] and add additional glue around the slabs and the tubing to secure them in place. [6.5.2 - CU]
6.5.1. *Film as written
6.5.2. *Film as written
7. Operating the Acoustofluidic Device (*Demonstrators: Wyatt Shields & Daniela Cruz)
7.1. Securely mount the device onto a microscope stage with the microchannel directly underneath the objective. [7.1.1 - CU] Take care so that the transducer does not make contact with the stage. [7.1.2 - CU]
7.1.1. *Film as written
7.1.2. Talent adjusts the stage.  Show at an angle to visualize both the transducer and the stage.
7.2. Next, connect the silicone tubes from the outlets of the device to syringes secured on syringe pumps. [7.2.1 - CU] Place the silicone tube leading to the inlet of the device in a vial containing a suspension of either polystyrene beads or cells of interest. [7.2.2 - CU]
7.2.1. *Film as written
7.2.2. *Film as written
7.3. Then, place the vial containing the sample on a stir plate to continuously mix it in order to ensure that a constant concentration is maintained throughout the course of the experiment. [7.3.1 - MED]
7.3.1. *Film as written
7.4. Connect the transducer to the output from a power amplifier in series with a function generator. [7.4.1 - MED] Program the settings on the function generator and monitor the output on an oscilloscope. [7.4.2 - MED Over the Shoulder - TXT] Then, turn on the function generator and power amplifier to begin actuating the transducer. [7.4.3 - MED/CU]
7.4.1. *Film as written
7.4.2.  *Film as written (TEXT: See accompanying text protocol for details)

7.4.3. *Film as written
7.5. Next, turn on the microscope and ensure the microfluidic channel is clearly in focus. [7.5.1 - MED] Also, turn on the syringe pump to introduce the sample into the device. [7.5.2 - MED] Monitor the entities flowing through the device with a fluorescence microscope throughout the experiment. [7.5.3 - MED Over the Shoulder]
7.5.1. Talent looks through microscope and focuses on chip.
7.5.2. Talent starts the syringe pump.
7.5.3. Talent at computer watching display during experiment.
8. Results: Acoustofluidic Devices Support Bulk Acoustic Standing Waves
8.1. Here, a syringe pump was used to infuse the microfluidic chamber with a suspension of green fluorescent polystyrene beads at a rate of 100 microliters per minute.  [8.1.1 - LM]
8.1.1. Figure 2a (Video Editor: Only show the area between the dotted lines and add “PZT Off” on top of the image.)

8.2. Once the lead zirconate titanate transducer is activated and tuned to a frequency of 2.366 MHz, a half-wavelength standing wave forms across the width of this microchannel, which is 313 micrometers across. This focuses the stream of beads along the pressure node. [8.2.1 - LM]
8.2.1. Figure 2b (Video Editor: Only show the area between the dotted lines and add “PZT On” on top of the image.)

8.3. When the red fluorescent silicone particles, which have a negative acoustic contrast factor, were injected to the device, they concentrated along the pressure antinodes.[8.3.1 - LM]
8.3.1. Figure 2c (Video Editor: Add white arrows pointing to the 2 red areas.)

8.4. The ability of this system to focus particles is dependent on both the flow rate and the applied voltages.  As the flow increases, the distribution of particles across the microchannel spreads out.  Also, increasing the applied voltages increases the extent of particle focusing.[8.4.1 - LM]
8.4.1. Figure 3a-b (Video Editor: Label Figure 3 “Flow Rate” and Figure 3b “Applied Voltage”.  Highlight Figure 3a with the words “flow rate” in the first sentence and 3b with “applied voltages”.  Then Highlight Figure 3a with the 2nd sentence and Figure3b with the 3rd sentence.)

9. Conclusion (said by authors on camera) 
9.1. Korine Ohiri: Once operational, this device can be used to manipulate particles and cells for a variety of microfluidic-based bioassays and experiments requiring fine spatial or temporal control.

9.2. Korine Ohiri: It is important to remember to take your time and be careful with each step as haste at any step can introduce imperfections in the final device.
9.3. Daniela Cruz: Once the device is finished, it can be used many times as long as proper care is given to clean the device between uses with proper detergents and wash buffers. 
9.4. Wyatt Shields: After watching this video, you should have a good understanding of how to fabricate an acoustofluidic device comprised of silicon and glass, supporting a bulk acoustic standing wave. 
9.5. Wyatt Shields: Please remember that you are working with strong chemicals, such as the piranha mixture, that can be extremely hazardous if handled poorly. Please take proper care when handling these liquids to ensure safe chemical practice for all of your fabrication work 
Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2013, Journal of Visualized Experiments


