## Sheet1
Equipment: | Company | Catalogue Number | Comments/Description
Mini-Beadbeater-16 | BioSpec | 607
PCR workstation |  |  | Any PCR hood can be used, e.g., the AirClean 600.
Thermocycler |  |  | Any thermal cycler with a heated lid can be used, e.g., MJ Research PTC-200.
Electrophoresis system |  |  | Any electrophoresis system can be used, e.g. the Thermo Scientific Owl EasyCast B1 Mini Gel Electrophoresis system.
Nanodrop | Thermo Scientific | 2000C | Any other DNA quantification method will be sufficient
Bioanalyzer | Agilent | 2100 | An alternative is the Agilent 2200 TapeStation Instrument. Not absolutely necessary but very helpful.
MiSeq or HiSeq | Illumina
Materials: | Company | Catalogue Number | Comments/Description
Catch-All Sample Collection swab | Epibio | QEC89100 | Other swabs can be used but the Catch-All swab is recommended by the Human Microbiome Project.
ELIMINase | Fisher | 04-355-31
SteriFlip 50 mL filtration device (0.22 µm) | EMD Millipore | SCGP00525
0.1 mm glass beads | BioSpec | 11079101
2 mL screw-cap tubes | Sarstedt | 72.694.006 | For bead beating
UltraPure 5M NaCl | Life Technologies | 24740-011 | Molecular Biology Grade
1 M Tris-HCl | Ambion (Invitrogen) | AM9856 | Molecular Biology Grade
0.5 M EDTA | Ambion (Invitrogen) | AM9260G | Molecular Biology Grade
Sodium Dodecyl Sulfate, 20% Solution | Fisher | BP1311-200 | Molecular Biology Grade
UltraPure DNase/RNase-free distilled water | Ambion | 10977-015 | Molecular Biology Grade, for buffer preparation
2-Propanol BioReagent, for molecular biology, ≥99.5% | Sigma | I9516-500ML | Molecular Biology Grade
Phenol:Chloroform:IAA, 25:24:1 | Invitrogen | AM9730 | Warning: Toxic
3 M Sodium Acetate, pH 5.5 | Life Technologies | AM9740 | Molecular Biology Grade
Disposable sterile polystyrene forceps, PS | Cole Parmer | EW-06443-20
1.5 mL, clear, PCR clean tubes | Eppendorf | 22364120
PCR grade water | MoBio | 17000-11 | For PCR
Phusion High-Fidelity DNA Polymerase | New England Biolabs | M0530S
dNTP mix | Sigma | D7295-0.5mL
0.2 ml PCR 8-tube with attached clear flat caps, natural | USA Scientific | 1492-3900 | Any 8-tube strips that are DNase, RNase, DNA, and PCR inhibitor free will work
Agarose | BioExpress | E-3121-25
50X TAE buffer | Lonza | 51216
DNA gel stain | Invitrogen | S33102
6X DNA Loading Dye | Thermo (Fisher) | R0611
50bp GeneRuler Ladder | Thermo (Fisher) | SM0373
AllPrep DNA/RNA kit | Qiagen | 80284
UltraClean PCR Clean-up Kit | MoBio | 12500-100
Quant-iT PicoGreen dsDNA Assay Kit | Thermo Fisher Scientific | P11496 | An alternative is Qubit Fluorometric Quantification (Life Technologies)
Primers: | Company | Catalogue Number | Comments/Description
515F (forward primer) 5'-AATGATACGGCGACCACCGAGATCTACACTATGGTAATTGTGTGCCAGCMGCCGCGGTAA-3' |  |  | Order at 100 nmole; Purification: Standard Desalting. Resuspend at 100 µM. **Critical: primers must be resuspended with MoBio PCR Grade Water (see above) in a hood to avoid contamination.**
Reverse primers, see the Supplemental Code File and: ftp://ftp.metagenomics.anl.gov/data/misc/EMP/SupplementaryFile1_barcoded_primers_515F_806R.txt | IDT is recommended |  | If ordering large sets of primers, order as a 96-well plate at the 100 nmole scale. Resuspend at 100 μM. Full directions for primer ordering and resuspension at http://www.earthmicrobiome.org/files/2013/04/EMP_primer_ordering_and_resuspension.doc. **Critical: primers must be resuspended with MoBio PCR Grade Water (see above) in a hood to avoid contamination.**
Read 1 Sequencing Primer 5'-TAT GGT AAT TGT GTG CCA GCM GCC GCG GTA A-3' |  |  | 25 nmole; Purification: Standard Desalting. Resuspend at 100 µM.
Read 2 Sequencing Primer 5'-AGT CAG TCA GCC GGA CTA CHV GGG TWT CTA AT-3' |  |  | 26 nmole; Purification: Standard Desalting. Resuspend at 100 µM.
Index Sequencing Primer 5'-ATT AGA WAC CCB DGT AGT CCG GCT GAC TGA CT-3' |  |  | 27 nmole; Purification: Standard Desalting. Resuspend at 100 µM.
PhiX Control v3 | Illumina | FC-110-3001 | Required if performing the sequencing in-house. If the sequencing will be performed by a third-party sequencing center, they will already have PhiX.