Submission ID #: 53942

Editor: Steven Nilsen
Videographer: Kevin McRoberts
Film Date: Dec 21, 2015
Authors and Affiliations: 
Milad Nazari, Mark T. Bokhart and David C. Muddiman

W. M. Keck FTMS Laboratory for Human Health Research, Department of Chemistry, North Carolina State University, Raleigh, NC, USA
Title: Whole-Body Mass Spectrometry Imaging by Infrared Matrix-Assisted Laser Desorption Electrospray Ionization (IR-MALDESI) 
Corresponding Author: 
David C. Muddiman
dcmuddim@ncsu.edu
919-513-0084

Co-authors:
mtbokhar@ncsu.edu

mnazari@ncsu.edu
A.
i) Does your protocol involve microscopy, such as filming a complex dissection or a microinjection technique, which will need to be filmed by JoVE? (Y/N) _N__ 
B.
Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) __Y___ 


(If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.)
C.
Which steps of your protocol will viewers benefit most from having filmed?  
These steps are in italics.
D.
What is the single most difficult aspect of this procedure and what do you do to ensure success? 

Overall, no single step of IR-MADLESI analyses is that difficult. However, monitoring the relative humidity inside the enclosure to form and maintain a consistent ice layer is pivotal in MSI analyses. We ensure this is the case by using a PID controller to monitor relative humidity and temperature at all times during the experiment. 

E.
i) Will the filming need to take place in multiple locations? (Y/N) _N__
1. Introduction
A. Experimental Goal (read by voice talent at JoVE):
The overall goal of this protocol is to describe the major steps necessary for IR-MALDESI mass spectrometry imaging of whole-body tissue sections.  (Intro)
B. Interview: (Said by you on camera. Don’t forget to smile!)  
1.1. David Muddiman: This method can effectively answer key questions in the field of mass spectrometry imaging, such as discerning the spatial distribution of endogenous and exogenous analytes in multiple organs simultaneously.  
1.2. David Muddiman: The main advantage of this technique is that it operates at atmospheric pressure, and the exogenous ice matrix helps account for variations in water content in different organs.   
1.3. Milad Nazari: Though this protocol provides insight into un-targeted whole-body imaging, IR-MALDESI mass spectrometry imaging can also be applied to targeted and quantitative drug distribution analyses.
1.4. David Muddiman: Demonstrating the procedure will be Mark Bokhart, a PhD candidate from the W.M. Keck FTMS Laboratory for Human Health Research at North Carolina State University.
1.4.1. Interview style: Author saying the above 

1.4.2. The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.
E.  Ethics title card: (for human subjects or animal work, does not count toward word length total)

Animal tissue samples used in this protocol were obtained according to Institutional Animal Care and Use Committee (IACUC) and North Carolina State University regulations.
Protocol (read by voice talent at JoVE):
2. Tissue Preparation
2.1. The following protocol describes how to perform IR-MALDESI MSI experiments. [2.1.1-WID] In-depth details about the optimized geometry of the IR-MALDESI source and its synchronization [2.1.2-MED] with the laser, stage, and mass spectrometer can be found elsewhere. [2.1.3-MED]

2.1.1. establish talent working with equipment

2.1.2. any representative action of optimizing the geometry of the source

2.1.3. any representative action of synchronizing source with laser/stage

2.2. To prepare the specimen, wear protective gloves and apply a layer [2.2.1-MED] of OCT mounting medium onto a 40-mm cryostat specimen disc.  [2.2.2-CU/TEXT]
2.2.1. putting on gloves and preparing to pour OCT mounting medium
2.2.2. pouring the OCT onto the disc, TEXT: optimal cutting temperature (OCT)
2.3. Then, gently place a frozen whole mouse specimen onto the OCT coated holder [2.3.1-MED] and orient it for sectioning.  OCT is used solely to adhere the tissue to the specimen disc; [2.3.2-CU] do not completely embed the tissue in OCT. [2.3.2-ECU]

2.3.1. placing specimen into holder

2.3.2. orienting the specimen in the OCT 

2.3.3. finished preparation in detail
2.4. Place the specimen disc on the Peltier sample holder in the cryostat [2.4.1-CU], turn on the Peltier and wait 10 minutes for sample to equilibrate. [2.4.1-MED]

2.4.1. loading sample onto Peltier holder

2.4.2. turning on holder and starting a 10 min timer
2.5. Then, place the specimen disc inside the disc holder, oriented to slice to the desired plane. [CU]

2.5.1. mounting the sample with in the cryostat to be sliced

2.6. Section the specimen at -20 °C, at, for instance, 25 microns for whole-body analysis. [CU]

2.6.1. slicing the frozen tissue 

2.7. Make use of the anti-roll glass plate [2.7.1-ECU] and use the cryostat vacuum and brushes to remove unwanted tissue debris. [2.7.2-ECU]

2.7.1. slicing the tissue, focus on the role of the anti-roll glass plate

2.7.2. slicing the tissue, using the vacuum and brushes to remove debris

2.8. After the tissue is sectioned, cover the blade with a blade guard. [CU]

2.8.1. film as written

2.9. Now, orient the frozen section [2.9.1-MED] on the specimen plate and thaw-mount them [2.9.2-CU] onto pre-cleaned glass microscope slides.  Bring the slides as close as possible to the sections without touching. [2.9.3-CU]

2.9.1. orienting slices

2.9.2. orienting slices in detail

2.9.3. thaw mounting slices to slides, show how close glass is placed next to slices

2.10. Keep the mounted slides inside the cryostat [2.10.1-CU] until the IR-MALDESI calibration is complete to maintain the tissue's cryopreservation. [2.10.2-MED]

2.10.1. placing mounted tissue slide in cryostat

2.10.2. continuing to mount more slides and place them in the cryostat 
3. IR-MALDESI Preparation/Calibration
3.1. To begin, turn on the mid-IR laser [3.1.1-WID] and launch the laser control application. [3.1.2-MED]

3.1.1. establish setting, talent turns on laser

3.1.2. talent starts software, laser control

3.2. Then, choose the desired wavelength.  IR-MALDESI experiments are typically performed at 2940 nanometers. [LM]
3.2.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

3.3. Next, turn on the stage controller and launch the control program. [MED/TEXT]

3.3.1. film as written, TEXT: RASTIR

3.4. Using the program, calibrate the stage position using the home button.
3.4.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

3.5. Next, fill a one milliliter syringe with electrospray solvent [3.5.1-MED] and flush the silica capillary. [3.5.2-CU]

3.5.1. film as written 

3.5.2. show solvent being pumped into capillary
3.6. Then, align the ESI emitter with the MS inlet using the source parameters, [3.6.1-CU] such as ESI-spot distance, spot-inlet distance, sample height, and solvent flow rate, all of which have been optimized using statistical DOE for analysis of tissue sections. [3.6.2-LM]

3.6.1. Aligning the ESI emitter

3.6.2. Fig 1b

3.7. Now, start the electrospray and evaluate its stability for at least ten minutes. [MED]

3.7.1. film as written, which may just amount to talent studying screen

3.8. Monitor the total ion current, which, at this point, consists solely of ambient compounds.  [LM] 

3.8.1. Fig 1a

3.9. Variation under 10% over a ten to fifteen minute period indicates the system is stable. [LM]
3.9.1. to be provided by authors, SCREEN CAPTURE of the described action(s) (this shot was not captured since it is part of the dataset)
4. Deposition of Ice Matrix
4.1. After turning off the electrospray, and ensuring it is off, [4.1.1-WID] transfer a specimen slide from the cryostat to the IR-MALDESI sample plate.[4.1.3-WID]

4.1.1. turning off the electrospray and double checking

4.1.2. removing slide from cryostat and taking it to the IR-MALDESI, following shot

4.2. Then, stand back from the ESI emitter and restart the electrospray. [WID]

4.2.1. film as written

4.3. Close the access door of the IR-MALDESI source [4.3.1-MED] and purge the enclosure with dry nitrogen to prevent condensation of water on the tissue. [4.3.2-MED]

4.3.1. closing door

4.3.2. starting nitrogen flow

4.4. Once the relative humidity inside the enclosure is less than three percent, [4.4.1-CU] switch on the Peltier plate’s DC power supply to about 12 Volts [4.4.2-MED] to cool the sample plate to -9 ºC.   [4.4.3-CU]

4.4.1. gauge showing RH dropping, goes below 3%

4.4.2. talent turns on Peltier

4.4.3. detail of power on Peltier, set around 12V

4.5. After about five to ten minutes, stop the nitrogen purge [4.5.1-MED] and open the source access door to expose the tissue to the ambient humidity.  [4.5.2-CU] A thin layer of ice will form on the stage and mounted tissue section. [4.5.3-ECU]

4.5.1. turning off gas 

4.5.2. opening the door

4.5.3. detail of ice forming on the stage

4.6. If the air is dry, place a beaker of warm water inside the enclosure. [MED]

4.6.1. film as written

4.7. Now, close the door and restart the nitrogen flow to reduce the humidity to around 10%. [MED]

4.7.1. closes door, open gas valve and watches RH gauge

4.8. Adjust the nitrogen flow as needed [4.8.1-CU] to maintain a stable layer of ice on the sample during the experiment. [4.5.3]

4.8.1. adjusting gas valve

4.8.2. specimen with ice on it at the desired thickness
5. Mass Spectrometry Imaging Data Acquisition
5.1. Using the RASTIR GUI, [5.5.1-WID] move the stage to the analysis position by clicking the “LASER position” button.  Use the adjustment diode of the laser to ensure an off-tissue region will be ablated.   Then, fire a test-shot to calibrate the laser’s offset with respect to the camera view.  Click the “Laser Test Fire” button to update the laser position. [5.1.2-LM]
5.1.1. Establishing shot of talent working with computer control
5.1.2. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.2. Now, return to “CAMERA position” and update the laser position in RASTIR by placing the laser alignment reticle on the laser ablation spot. [LM]
5.2.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.3. Then, click the ROI button and select the region of interest.  Include some off-tissue area to serve as control. Use this off-tissue section for peak picking.  The spot size of the laser on tissue is about 150 microns.  A smaller diameter is possible with oversampling. [LM]
5.3.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.4. Now, input the appropriate experimental parameters and name the mass spectrometer imaging file in the “Project Name” box. [LM]

5.4.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.5. Then, select the appropriate laser frequency from the dropdown box.  Typically, use two laser pulses per voxel at 20 Hz to completely desorb the material.  Also set the delay time to 10 ms so the ions have time to reach the mass analyzer.  The repetition rate should be set to the laser’s maximum. [LM]
5.5.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.6. Now, choose mass spectrometer parameters such as ionization mode, electrospray voltage, solvent flow rate, capillary temperature, and the injection time in the mass spectrometer software. [LM]

5.6.1. Table 1

5.7. Once all parameters have all been set, [5.1.1] place the mass spectrometer in “handshake” mode for synchronization and start the mass spectrometer acquisition. [5.7.1-MED]

5.7.1. setting “handshake” mode on the mass spec, then starting the scan
5.8. Using the RASTIR imaging software, verify that all steps in the checklist have been completed and, then, load the program. [LM]
5.8.1. to be provided by authors, SCREEN CAPTURE of the described action(s)
5.9. Once the “Run” button becomes available, start the MSI signal acquisition. [LM]
5.9.1. to be provided by authors, SCREEN CAPTURE of the described action(s)

5.10. Upon completion of the imaging experiment, [5.10.1-MED] stop mass spectrometer acquisition and place the instrument in standby mode. [5.10.2-MED]

5.10.1. getting up from the RASTIR computer

5.10.2.  stopping the mass spec, putting it into standby

5.11. Turn off the nitrogen purge to the enclosure, turn off the power supply to the Peltier plate, turn off the stage controller and turn off the laser. [WID]

5.11.1. turning off four things, as written

5.12. Then, open the access door [5.12.1-MED], remove the electrospray emitter tip from inside the source enclosure, [5.12.2-CU] and, wearing protective gloves, remove the very hot, extended, metal, mass spectrometer inlet. [5.12.3-CU]

5.12.1. film as written 

5.12.2. try to capture this showing the emitter tip being grasped

5.12.3. try to capture this showing the inlet being grasped

5.13. Wearing gloves and safety goggles, clean the inlet using an ultrasonic bath.  [WID]

5.13.1. talent in protective gear, pouring the nitric acid bath

5.14. First use 15% nitric acid for 10 minutes, [5.14.1-MED] then use HPLC-grade water for 10 minutes, [5.14.2-MED] and finally use HPLC-grade methanol for 10 minutes. [5.14.3-MED]

5.14.1. setting sample from nitric acid bath

5.14.2. pouring HPLC-grade water bath, moving sample into this bath

5.14.3. pouring HPLC-grade methanol bath, moving sample into this bath

5.15. Dry the metal capillary inlet under a stream of nitrogen, [5.15.1-WID] and reinsert it into the mass spectrometer for future analyses. [5.15.2-CU]

5.15.1. drying the sample with N2 gas 

5.15.2. detail of the sample, as drying is completed
6. Results: Spatial Distribution of Lipid Metabolites in Whole Mouse Preparations
6.1. Spatial distribution of metabolites in different organs of whole-body tissue sections were analyzed using the described method.  Cholesterol was observed in all tissues because of its structural role in cell membranes.

6.1.1. Fig 4A

6.2. Other lipid metabolites exhibited distinct distributions within specific organs or tissue compartments. For example, some lipids, such as putatively-assigned desmosterol, were observed to have a specific localization in the brain.

6.2.1. Fig 4B

6.3. Whereas, other lipids exhibited a higher distribution in the spinal cord ...

6.3.1. Fig 4C

6.4. … and other lipids were uniformly distributed across all organs, except for the brain.

6.4.1. Fig 4D
7. Conclusion (said by authors)
7.1. David Muddiman: IR-MALDESI mass spectrometry imaging is a disruptive technology that allows for the relative and absolute quantification of analytes in tissues with minimal sample preparation at atmospheric pressure.  
7.2. Mark Bokhart: Once mastered, all of the sample preparation steps can be done in approximately 30 minutes.
7.3. Mark Bokhart: A key step in sample preparation is the formation of the ice matrix, which facilitates efficient desorption of tissue-related material. The ice matrix also helps account for variations in water content in different organs. 
7.4. Milad Nazari: In tandem with this protocol, supplementary analyses such as histological and immunohistochemical staining of a serial tissue section can be performed.
Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

The following screen capture files have been uploaded to JoVE’s website:

Step 3.2.1_Laser Wavelength Selection

Step 3.4.1_Stage Calibration

Step 5.1.1_Laser Position Adjustment

Step 5.2.1_Laser Spot Calibration

Step 5.3.1_ROI Selection

Step 5.4.1_Project Name

Step 5.5.1_Laser Parameters in RASTIR

Step 5.8.1_RASTIR Checklist

Step 5.9.1_Run Button

General Preparation
It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.
 2015, Journal of Visualized Experiments


