## Sheet1
Source | Uncertainty (%)
Methane Sensor | 1
Methane sensor calibration correlation | 0.73
Methane gas bottle | 1
Zero air gas bottle | 0.1
LFE | 0.7
MAF | 4
Differential pressure module | 0.025
Absolute pressure module | 0.06
Thermocouple | 0.4
MAF calibration correlation | 0.09
Gas divider | 0.5