## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
Abaco DBX 97 mm | Abaco Performance, LLC | http://www.abacoperformance.com/products.htm | mass air flow sensor
Ultraportable Greenhouse Gas Analyzer | Los Gatos Research | http://www.lgrinc.com/analyzers/ultraportable-greenhouse-gas-analyzer/ | methane, co2, and water sensor
3AA20 Fume Exhauster | Daytona | http://www.sustainablesupply.com/Dayton-3AA20-Exhauster-Fume-Smoke-p/w267066.htm?gclid=CI2Dm9ffrcgCFUYTHwodyusFRg&CAWELAID=1307486526 | blower/dilutor
Eagle II | RKI Instruments | http://www.rkiinstruments.com/pdf/eagle2brochure.pdf | Handheld detector
MCR 50 | Alicat Scientific | http://www.alicat.com/ | calibrated on methane
Laminar Flow Element, Model Number: Z50MC2-6, Serial Number 707230-Y1 | Meriam | http://www.meriam.com/product-category/laminar-flow-element/ | calibrated on air
K-Type thermocouple | Omega | http://www.omega.com/
PTE-1 Calibrator | Heise | http://www.heise.com/products/calibrators/ | handheld unit for use with Dressor modules
Model HQS-2 | Dresser/Ashcroft | http://www.ashcroft.eu/download/data%20sheet/englisch/MODULE_E.pdf | absolute pressure module
Model HQS-1 | Dresser/Ashcroft | http://www.ashcroft.eu/download/data%20sheet/englisch/MODULE_E.pdf | differential pressure module
Gas Divider - SGD-710C | Horiba | http://www.horiba.com/us/en/ | calibrated gas divider
Methane (99.9%) | Mathenson TriGas | http://www.mathesongas.com/ | pure methane for gas recovery test
Methane (+/-1%) 2.5% | Mathenson TriGas | http://www.mathesongas.com/ | high concentration
Methane (+/-1%) 2010 ppm | Mathenson TriGas | http://www.mathesongas.com/ | low concentration
Ultra High Purity Nitrogen (UPHN) | Mathenson TriGas | http://www.mathesongas.com/ | 99.9% nitrogent gas
10 Liter Tedlar Bag | Dupont | http://www.dupont.com/products-and-services/membranes-films/pvf-films/brands/tedlar-pvf-films/uses-and-applications/tedlar-gas-sample-bag-applications.html | used for bag samples for alternative gas sampling
PET-7018Z | ICP DAS USA | http://www.icpdas-usa.com/pet_7018z.html | DAQ unit
Edgetech Dew Prime Hyrgrometer | Edgetech Instruments | http://www.edgetechinstruments.com/moisture-humidity | hygrometer for flowbench
Stainless steel Swagelok fittings (1/4 inch) | Swagelok | https://www.swagelok.com/products/fittings.aspx | tee and other fittings
PTFE Tubing | McMaster-Carr | http://www.mcmaster.com/#standard-hollow-tubing-(made-with-teflon-ptfe)/=z8xrzl | tubing for sampling and calibration
FLIR GF 320 | FLIR | http://www.flir.com/ogi/display/?id=55671 | infrared camera
CGA 580 Regulator | Airgas | http://airgas.com/category/_/N-1z13vaq | UHPN regulator
CGA 350 Regulator | Airgas | http://airgas.com/category/_/N-1z13vaq | Methane in nitrogen regulator
Leak detection solution (Snoop) | Swagelok | https://www.swagelok.com/search/find_products_home.aspx?show_results=Y&item=5e208092-ed6c-4251-9202-ed8a2aae5811 | bubble solution for non-leak verification

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=