Supplement 1. Specifications of neutralizer (soft X-ray ionizer).

| SXN-05U, SUNJE |  |
| --- | --- |
| Ion Generation Method | Soft X-ray |
| Source | Soft X-ray Tube |
| Power Consumption | 8 W |
| Cooling Method | Natural Air Cooling |
| Mounting Method | Bolt Mounting with Bracket |
| Operation circumstance | 0℃~+50℃, 35%~85% RH |
| Weight | 0.4 kg |
| Input Power | AC100~240V, 50/60Hz(Adaptor Input), DC 12V |
| Avg. Life Time | 8,900 Hr |
| Remote / Interlock | Remote / Interlock On/Off Control |
| Indicator | Alarm State, Over Time State |