## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
Zebrafish mating boxes | Aqua Schwarz | SpawningBox1
NaCl | Sigma | S5886
KCl | Sigma | P5405
Na2HPO4 | Sigma | S3264
KH2PO4 | Sigma | P9791
CaCl2 | Sigma | C7902
MgSO4-7H2O | Sigma | 63138
NaHCO3 | Sigma | S5761
Tricaine | Western Chemical | Tricaine-D (MS 222) | FDA approved (ANADA 200-226)
Tris base | Sigma | 77-86-1 | to prepare 1 M Tris pH 9.0
HCl | Sigma | 920-1 | to prepare 1 M Tris pH 9.0
Fish net (fine mesh) (4-5 in) | PennPlax | (ThatFishThatPlace # 212370) | available in ThatFishThatPlace
Plastic spoon |  |  | available in most standard stores
Dissecting scissors | Fine Science Tools | 14091-09
Dissecting forceps | Dumont | SS | available from Fine Science Tools
Dissecting stereoscope (with transmitted light source) | Nikon | SMZ645 | or equivalent
Reflective light source (LED arms) | Fostec | KL1600 LED | or equivalent
Petri plates 10 cm diameter |  |  | any maker
Eppendorf tubes 1.5 ml |  |  | any maker
Ice bucket |  |  | any maker
Pipetteman P-1000 |  |  | any maker
Pipette tips 1000 µl |  |  | any maker
Narrow spatula | Fisher | 14-374
Depression glass plate | Corning Inc | 722085 (Fisher cat. No 13-748B) | available from Fisher Scientific
UV lamp | UVP | Model XX-15 (cat No. UVP18006201) | available from Fisher Scientific. Although not observed by us with this model, some UV sources have been observed to experience a decrease of intensity over time (if this is the case, see Modifications and Troubleshooting)
UV glasses |  |  | any maker
Paper towels |  |  | any maker
Kimwipes | Kimberly-Clark | 06-666-11 | available from Fisher Scientific
Timer stop watch |  |  | any maker
Wash bottle | Thermo Scientific | 24020500 | available from Fisher Scientific
Tea strainer |  |  | available in kitchen stores
beakers, 250 ml (2) | Corning Inc. | 1000250 | available from Fisher Scientific
water bath (2) |  |  | any maker, with accurary to 0.1 C (e.g. Shel Lab H2O Bath Series)
Hanks’ Solution 1 | see above | see above | 8.0g NaCl, 0.4g KCl in 100ml ddH2O. Store at 4oC.
Hanks’ Solution 2 | see above | see above | 0.358g Anhydrous Na2HPO4, 0.6g KH2PO4 in 100ml ddH2O. Store at 4oC.
Hanks’ Solution 4 | see above | see above | 0.72g CaCl2 in 50ml ddH2O. Store at 4oC.
Hanks’ Solution 5 | see above | see above | 1.23g MgSO4 ∙ 7H2O in 50ml ddH2O. Store at 4oC.
Hank's Premix | see above | see above | add, in the following order: 10.0 ml Solution 1; 1.0 ml Solution 2; 1.0 ml Solution 4; 86.0 ml ddH2O; 1.0 ml Solution 5. Store at 4oC
Hanks’ Solution 6 | see above | see above | 0.33g NaHCO3 in 10ml ddH2O. Prepare fresh the morning of the IVF procedure.
Hank's Solution (final solution) | see above | see above | Combine 990ul of Hank’s Premix and 10ul of freshly made Solution 6 (NaHCO3 solution)

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=