•NOTE: Please download this version of the Microsoft word document (File name: 54551_R1_070516) for any subsequent changes.

•Many steps require additional detail:

-1.2.1 – What do xx and yy stand for? What values should be used? (Corrected/Text added)

-1.3.1, 3.5 – What sonication settings were used?(Corrected)

-Section 1.4 – Please provide citations for each method mentioned in 1.4.1, 1.4.2, and 1.4.3. (Citation added)

-2.1 – How long is spinning performed? (Text corrected)

-2.3 – How is film thickness measured? (Text corrected)

-2.4 – What pattern is used here? (Poker dot)

-3.1, 3.3 – Please describe the GNP solutions. How many? What concentration and components? What size of GNP can be used? (Corrected)

-3.2 – In what way does size influence length of incubation? Does smaller size mean longer incubation? (Text modified)

-3.3 – How are GNPs sprayed? (Nozzle size, orientation of spray, quantity sprayed, etc.).(Corrected)

-3.4 – What is used for incubation? A hot plate? An incubator? (On a hot plate; text modified)

-4.3 – Please describe how this is performed. How are the holes identified? How are the cross-section images obtained? (Corrected and clarified)

-Section 7 – Are images acquired of the etched film from Section 6 prior to these calculations? If so, please describe how these images are acquired.(corrected)

-7.1.1 – Is this performed in software or by hand? (By hand)

-7.2, 7.3, 7.4, 7.6 – How is this performed? How is the number of holes obtained? Before or after etching? (Section modified to clarify the  analysis procedure)

•Formatting:

-Please re-write the title to reflect the procedure. We suggest “Use of nanoparticles….” (Corrected)

-Please include a space between 1.4 and 1.4.1, 7.1 and 7.1.1, etc.(corrected)

-2.2 – Please correct the font.(Corrected)

-4.2 – Should sputter-coating be performed before SEM (4.1)? (Sub-section modified to clarify strandard top-down and cross-sectional imaging)

-References – Please abbreviate journal titles. (Done; But please verify if I missed any abbreviations))

•Length of highlighted material is below the 1 pg minimum limit for filming. Please highlight additional material to be filmed for the video. We suggest highlighting sections 1, 2, & 4. (Corrected; except for section 2, as this would require travel to Eugene, OR)

•Grammar:

-Line 38 – “the effects shot noise”  (Text corrected)

-3.1, 3.3, 7.4 – Please use a complete sentence in the imperative tense. (Text corrected)

-7.3.1 – Please use imperative tense. Text corrected

-6.1 – “GNPS” (Text corrected)

-2.4.1 – “distribution of particle” (Text corrected)

-Line 341 – Should be “conditions, one would need” (Text corrected)

-Line 354 – “Figures 1” (Text corrected)

-396 – “for selection nanoparticles”  (Text corrected )

•Discussion: Please discuss the limitations of the protocol. (Added)