{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Results","Final Results","Export"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Results","index":0,"n_rows":4,"n_cols":1,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["Instructions:"]
["Copy Results (from original Quant Studio Export file) tab into this file by right clicking on tab, click \"move or Copy\" to this file, at the end. Rename the tab as \"Export\""]
["Rename the tab as \"Export\""]
["Click \"View\" and then \"Macro\" and click run"]

{"sheet":"Final Results","index":1,"n_rows":20,"n_cols":19,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
["Instructions:"]
["After running \"Macro\", run \"Final Results Macro\" to sort results "]
[]
["Representative results"]
[]
["Sample name","MS2","CAV","BCOR","BORD","DISTA","DISTB","MCYNOS","CPIV","CPNV","EADV1","EADV2","EAV","ERVA","ERVB","EHV1","EHV4","IVM","SEQU"]
["Equine fecal sample"]
["Bovine fecal sample",15.429]
["Bovine lung tissue",15.208]
["Canine nasal swab",14.079000000000001,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,11.03]
["Equine nasal swab",14.473000000000001]
["Canine nasal swab",16.425000000000001,null,4.8899999999999997]
["Canine nasal/oropharyngeal swab pool",14.840999999999999,null,null,null,null,null,null,6.4059999999999997]
["Canine nasal swab",15.055999999999999,null,null,null,22.677,null,null,17.148]
["Canine nasal swab",14.654,null,null,14.79,null,null,null,null,6.9390000000000001]
["Canine nasal/oropharyngeal swab pool",15.103,null,null,null,null,null,null,5.03]
["Negative Amplification Control"]
["Negative Extraction Control",14.778]
["Positive Control Pool 1",14.773,11.726000000000001,12.022,11.875,15.787000000000001,15.664,null,10.987,13.538,null,null,null,null,null,null,null,9.9819999999999993]
["Positive Control Pool 2",13.707000000000001,null,null,null,null,null,null,null,null,9.7710000000000008,10.417,11.015000000000001,9.7590000000000003,10.096,9.6430000000000007,13.56,9.8140000000000001,12.005000000000001]

{"sheet":"Export","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}