## Sheet1
Name | Company | Catalogue Number | Comments
VGM | Sigma | D6429, P0781 | 500 ml DMEM+5 ml Pen/Strepb
PBS A |  |  | Nature pH Phosphate-buffered saline: NaCl -10 gm, KCl - 0.25 gm, Na2HPO4 - 1.437 gm, KH2PO4 – 0.25 .gm, and Dist. Water – 1 L.
Avicell | FMC | RC-581F | 2.4g in 100ml distilled water dissolved by agitation on a magnetic stirrer for 1 hr. Sterilize by autoclaving.
2XDMEM | Gibco | 21935-028
Trypsin | Sigma | T1426
Overlay (10ml/plate): |  |  | 5ml 2X DMEM, Trypsin 2μg/ml final conccentration,Avicell - 5ml
Triton X- 100e | Sigma | T8787 | Permeabilisation buffer: 0.2% in PBS A (v/v)
Tween 80 | Sigma | P5188 | Wash Buffer: 0.05% Tween – 80 in PBS A (v/v)
Horse serum | PAA Labs Ltd | B15-021 | ELISA Buffer: 10% in PBS A (v/v) + 0.1% Tween 80
Mouse MAb against influenza type A | Biorad | MCA 400 | 1st Antibody: 1:1000 in ELISA Buffer
Goat anti-mouse IgG (H+L) HRP conjugate | Biorad | 172-1011 | 2nd Antibody: 1:1000 in ELISA Buffer
True Blu peroxidase substrate | KPL | 50-78-02 | Substrate: True blue +0.03% H2O2g (1:1000 of 30% solution)
96-well flat-bottom microtitre plates | Costar | 3596
8 channel multiwall-plate washer and manifold | Sigma | M2656
Perfection Plate Scanner | Epson | V750 Pro | The imaging software can be downloaded freely from http://www.epson.com/cgi-bin/Store/support/supDetail.jsp?oid=66134&infoType=Downloads.
Software operational environment: LabVIEW | National Instruments Corporation | Window based with NI Vision builder | Version: LabVIEW2012 or above