## Sheet1
Instruments | Company | Catalog Number
Binocular light microscope | Leica | M60 CMO
Scanning transmission electron mircoscope | JEOL | ARM200F
with spherical aberration corrector
Liquid flow TEM specimen holder | DENS Solutions | Ocean
Microfluidic syringe pump | Harvard Scientific | PicoPlus
Plasma cleaner | Gatan | Solarus950
Chemicals
Acetone, Rotisolv Plus for HPLC | Sigma-Aldrich | 7328.2
Water, chromasolv Plus for HPLC | Sigma-Aldrich | 34877-2.5L
Ethanol, Rotisolv HPLC grade | Carl Roth | P076.2
Gold colloid citrate stabilized, diameter 30 nm | British-Biocell | EM.GC20
Materials
Base silicon microchips with silicon nitride membranes | DENS Solutions | for Ocean system
of 50 nm thickness and dimensions of 20 µm x 0.40 mm
Spacer silicon microchips with silicon nitride membranes | DENS Solutions | for Ocean system
of 50 nm thickness, dimensions of 20 µm x 0.40 mm, and
spacer thickness of 200 nm
Microfluidic peek tubing | Upchurch Scientific | 1570
Plastic Replaceable tips Tweezers
(Anti-Magnetic Anti-Acid Stainless Steel body with ESD PVDF (SV) tips) | ideal-tek | 2ASVR.SA
Teflon coated bent steel tweezers (EMS SA with "PTFE" Coating) | Electron Microscopy Sciences | 78322-7Te
Teflon coated broad beak steel tweezers (EMS 2A "PTFE" Coating) | Electron Microscopy Sciences | 78322-2ATe
Hamilton syringe, 1 mL, gastight (Model 1001 TLLX SYR) | Hamilton | 81323
Clean room tissue Sontara Micropure AP (224x224mm) | DuPont | Sontara MicroPure