# Submission ID #: 55030

# Editor Name: Brigid Stadinski

# Videographer name: Nastasha Drobnica

# Film Date: 10/12/2016

# Authors and Affiliations:

Jackson T. Del Bonis-O’Donnell1, Abraham Beyene1, Linda Chio1, Gözde Demirer1, Darwin Yang1, and Markita P, Landry1,2

1Department of Chemical and Biomolecular Engineering, University of California Berkeley, Berkeley, CA, USA

2California Institute for Quantitative Biosciences (QB3), University of California Berkeley, Berkeley, CA, USA

# Title: Engineering Molecular Recognition with Bio-Mimetic Polymers on Single Walled Carbon Nanotubes

# Corresponding Author:

Markita P. Landry (landry@berkeley.edu)

# Co-authors corresponding information:

jtdo@berkeley.edu

beyene.abraham@berkeley.edu

lchio@berkeley.edu

gdemirer@berkeley.edu

darwiny@berkeley.edu

1. Brief Questionnaire:

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)___N______  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________

B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___Y____ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 steps by their protocol numbers. Please do not list entire sections of the protocol. If your protocol contains highlighting, make sure these steps are highlighted. 2.2, 2.5, 2.7, 2.8, 4.5, 5.1

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps to be filmed by their protocol numbers. (Please do not list an entire section.) ______2.5, 5.1________________

E.  Will the filming need to take place in multiple locations? (Y/N) __N_____ If yes, how far apart are the locations? ___________________________________________________

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A. Experimental Goal (read by voice talent at JoVE):

The overall goal of this procedure is to prepare near-infrared fluorescent single-walled carbon nanotubes for molecular sensing that have been functionalized using bio-mimetic polymers. (Intro)

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Markita Landry: These sensors have the potential to enable time-resolved, in vivo imaging of molecules in tissue.  For example, they can precisely monitor changes in dopamine transmission [1-MED].

    - Markita speaks toward camera, interview style.

  - Jackson Travis Del Bonis-O’Donnell: The main advantage of these sensors is their inherent near-infrared fluorescence, which lends itself to imaging deeper into tissue [1-MED].

    - Jackson speaks toward camera, interview style.

C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Linda Chio: Synthetic sensors enable detection of molecules without natural molecular recognition elements, making this generic method for sensor development especially useful for small molecule detection [1-MED].

    - Linda speaks toward camera, interview style.

# Protocol (read by voice talent at JoVE):

- Preparation of nucleic acid suspensions of single walled carbon nanotubes (SWNTs)

  - To prepare a nucleic acid suspension of SWNTs, first dissolve nucleic acids in 0.1 Molar sodium chloride to a concentration of 100 milligrams per milliliter [1-MED].

    - Talent dissolves nucleic acids in 0.1 Molar sodium chloride to a concentration of 100 milligrams per milliliter.  Use labeled containers.

  - In a fume hood, remove static electricity from the disposable spatula, microcentrifuge tubes and the SWNT stock using an anti-static gun [1-CU]. Next, add 20 microliters of the nucleic acid solution to 980 microliters of 0.1 Molar sodium chloride [2-MED-over the shoulder].

    - Spatula, microcentrifuge tubes and SWNT stock as talent removes the static using an anti-static gun.

    - Talent adds 20 microliters of the nucleic acid solution to 980 microliters of 0.1 Molar sodium chloride.  Use labeled containers.

  - Then add 1 milligram of washed SWNTs to the resulting nucleic acid solution before sonicating the mixture [1-CU-TXT].

    - Washed SWNTs as talent adds to the resulting nucleic acid solution.  TEXT Overlay: see text for washing SWNTs

  - Linda Chio:  Positioning of the probe tip during sonication is critical. If foaming occurs, reposition the probe tip or try lowering the amplitude. Alternatively, you can try pulses of sonication or use bath sonication if the suspension remains poor [1-MED].

    - Linda speaks toward camera, interview style.

  - Using an ultrasonicator with a 3 millimeter diameter tip [1-CU], sonicate the solution for 10 minutes at 40% amplitude in an ice bath [2-CU].

    - Probe tip as talent positions it in solution and begins sonication at 40% amplitude in an ice bath

    - {ADDED} Close up of sonication process. [CU]

  - Centrifuge the DNA-SWNT solution twice for 90 minutes at 16,100 x g [1-MED].

    - Talent places the DNA-SWNT solution into the centrifuge, shuts lid, and turns on.  TEXT Overlay: centrifuge 2x for 90 min at 16,100 x g

  - Collect and keep the supernatant, being careful not to disturb the pellet containing carbon nanotube bundles and aggregates [1-CU].  Discard the pellet in accordance with institutional hazardous waste procedures appropriate for nanomaterials [2-MED].

    - Sample as talent collects the supernatant without disturbing the pellet.

    - Talent discards the pellet in accordance with institutional hazardous waste procedures.

  - Measure the solution absorbance at 632 nanometers using a UV/Vis spectrophotometer to determine the approximate concentration of suspended SWNTs in accordance with Lambert-Beer’s law and the appropriate dilution factor [1-MED-over the shoulder-TXT].

    - Talent measures the solution absorbance at 632 nanometers using a UV/Vis spectrophotometer.  TEXT Overlay: use =0.036 L/cm*mg

- Amphiphilic polymer suspensions of SWNTs

  - For amphiphilic polymer suspensions, first remove the static electricity from the disposable spatula, micro centrifuge tubes, and SWNT stock [1-MED].

    - Talent removes the static electricity from the disposable spatula, micro centrifuge tubes, and SWNT stock.

  - In a fume hood, add 5 milligrams of SWNTs to 5 milliliters of 2% sodium cholate solution [1-CU-TXT].

    - 5 milliliters of 2% sodium cholate solution as talent adds SWNTs there.  TEXT Overlay:  see text for preparation of sodium cholate (SC) solution

  - Using an ultrasonicator with a 6 millimeter diameter tip, sonicate the solution for 1 hour at 40% amplitude in an ice bath [1-MED-over the shoulder].

    - Talent uses an ultrasonicator with 6 millimeter diameter tip to sonicate the solution at 40% amplitude in an ice bath.

  - Centrifuge the sample at 150,000 x g for 4 hours using an ultracentrifuge before carefully collecting supernatant [1-MED].

    - Talent removes the sample into the ultracentrifuge and begins to collect the supernatant.  TEXT Overlay (as narrated): 150,000 x g for 4 h

  - Next, dissolve 1 percent weight of amphiphilic polymer in the SC-SWNT solution [1-CU].

    - SC-SWNT solution as talent dissolves 1 percent weight of amphiphilic polymer there.  Use labeled containers.

  - Then, dialyze the polymer-SC-SWNT solution using a 3.5 kiloDalton dialysis membrane against 1 Liter of deionized water or buffer for 5 days [1-MED].  Change out the water or buffer at hour 2, and at hour 4 [2-MED-over the shoulder].

    - Talent pipettes the polymer-SC-SWNT solution into a 3.5 kiloDalton dialysis membrane.

    - Talent transfers the dialysis bag into fresh dialysis buffer.

  - Measure the solution absorbance at 632 nanometers using a UV/Vis spectrophotometer to determine the approximate concentration of suspended SWNTs [1-MED].

    - Talent measures the solution absorbance at 632 nm using a UV/Vis spectrometer.

- Prepare BSA-Biotin coated microscope slides

  - To prepare the BSA-Biotin coated slides, clean a microscope slide and 0.17 millimeter cover glass with deionized water [1-CU], followed by methanol, acetone, and a final rinse of deionized water [2-MED-TXT].

    - Talent washes the microscope slide and cover glass with water.

    - Talent continues to wash the slide and coverslip.  Include labeled containers of methanol, acetone and deionized water in the shot.  TEXT Overlay: clean with deionized water, methanol, acetone, deionized water

  - Create channels by placing several pieces of double-sided tape approximately 5 millimeters apart on the clean microscope slide [1-CU or ECU].

    - Slide as talent creates channels by placing several pieces of double-sided tape approximately 5 millimeter apart on the clean microscope slide.

  - Seal the channels by taking a long glass coverslip and pressing it onto the top of the double sided tape [1-MED-over the shoulder].  Be sure it is centered on the microscope slide so that the edges of the cover slip and slide are not flush [2-CU].

    - Talent begins to seal the channels by taking a long glass coverslip and pressing it onto the top of the double sided tape.  Continue action in next shot.

    - Slide as talent continues to press the long glass coverslip onto the top of the double sided tape, showing that it is centered and sides are not flush.

  - Next, add 100 microliters of BSA-Biotin stock solution to 900 microliters of 1X Tris buffer to a final concentration of 1 milligram per milliliter [1-MED-TXT].

    - Talent adds 100 microliters of BSA-Biotin stock solution to 900 microliters of 1X Tris buffer to a final concentration of 1 milligram per milliliter.  TEXT Overlay: see text for preparation of BSA-Biotin stock solution and 1X Tris buffer

  - Flow 50 microliters of the BSA-biotin solution into the channel by pipetting the solution into one end and wicking away the solution at the other end using a tissue [1-CU or ECU].  After incubating the solution for 5 minutes, perform 3 to 5 flushes with 50 microliters of 0.1 Molar sodium chloride [2-MED-over the shoulder-TXT].

    - Slide as talent pipettes 50 microliters of the BSA-biotin solution into the channel by pipetting the solution into one end and wicking away solution at the other using a tissue.

    - Talent flushes the slide with 50 microliters of 0.1 Molar sodium chloride from al labeled container.  TEXT Overlay: perform 3-5 flushes

  - Next, dilute 40 microliters of 5 milligrams per milliliter NAV stock solution into 960 microliters of 1X Tris buffer to a final concentration of 0.2 milligrams per milliliter [1-MED-TXT].

    - Talent dilutes 40 microliters of 5 milligrams per milliliter NAV stock in 960 microliters of 1X Tris buffer.  Use labeled containers.  TEXT Overlay: see text for preparation of NeutrAvidin protein (NAV) stock solution

  - Flow 50 microliters of the NAV solution into the channel by pipetting the solution into one end and wicking away the solution at the other end using a tissue [1-CU].

    - Talent flows 50 microliters of the NAV solution into the channel by pipetting the solution into one end and wicking away solution at the other end using a tissue.

  - After incubating the slide for 2 to 5 minutes, perform 3 to 5 flushes with 50 microliters of 0.1 Molar sodium chloride [1-MED].

    - Talent flushes slide with 50 microliters of 0.1 Molar sodium chloride from a labeled container.

  - Then, dilute the stock solutions of suspended SWNTs in imaging buffer to a concentration of 1-10 milligrams per liter [1-MED-over the shoulder].  Flow 50 microliters of this solution into the channel and incubate for 5 minutes [2-CU or ECU].

    - Talent dilutes the stock solutions of suspended SWNTs in imaging buffer.  Use labeled containers.

    - Slide as talent flows 50 microliters of this solution into the channel.

  - Gently rinse away excess SWNTs using 50 microliters of imaging buffer [1-MED-over the shoulder].

    - Talent gently rinses away excess SWNTs using 50 microliters of imaging buffer.  Use labeled container.

- Fluorescence Spectroscopy and Microscopy of SWNTs

  - To measure the reversible response of (GT)15 (pronounced as “G-T-fifteen”) DNA-SWNTs to dopamine, first mount the sensor coated channels onto the fluorescence microscope stage [1-MED].  Bring the channels into focus using a 100X oil objective and Indium Gallium Arsenide camera [2-CU].

    - Fluorescence microscope state as talent mounts the sensor coated channels there. [MED]

    - Talent brings the channels into focus using a 100X oil objective and Indium Gallium Arsenide camera. [CU]

  - Then, add 50 microliters of 100 micromolar dopamine solution in phosphate buffered saline to the flow channel and record the change in fluorescence intensity [1-SCREEN].

    - 55030_Landry_SCREEN_5.2.1 – Screen capture movie of microscope-coupled computer as talent adds the dopamine solution to the flow channel and records the change in fluorescence intensity. Author note: {Steps 5.2 and 5.3 should be combined. There is only one screen cast video (55030_Landry_5.2.1.avi) which shows both of these steps in a single video.}

  - Wash out the dopamine solution using phosphate buffered saline and observe the change in fluorescence of the individual SWNT sensors [1-SCREEN].

    - 55030_Landry_SCREEN_5.3.1 – Screen capture movie of microscope-coupled computer as talent washes out the dopamine solution and observes the change in fluorescence of the individual SWNT sensors. See above note

  - To perform the well-plate screening for analyte response of bio-mimetic polymer-SWNTs, pipette equal volumes of the suspended SWNT sensor into each well [1-MED].  Use enough volume to cover the bottom of the well uniformly [2-ECU-TXT].

    - Talent pipettes equal volumes of the suspended SWNT sensor into each well.  Use labeled container.  Continue action in next shot.

    - Wells on plate as talent pipettes the suspended SWNT sensor and covers the bottom of the well uniformly.  TEXT Overlay: typically >100 µL for a 96-well plate, >30 µL for a 384-well plate

  - Then, pipette analytes from the screening library into the wellplates [1-MED-over the shoulder].  Prepare each analyte in triplicate to account for potential well-to-well variation and fluctuations of excitation intensity or temperature [2-CU].

    - Talent pipettes analytes from screening library into the wellplate.  Use labeled containers.  Continue action in next shot.

    - Wellplates as talent pipettes analytes there in triplicate.

  - Raise the objective while monitoring the emission spectra using the spectrometer and Indium Gallium Arsenide array [1-MED-over the shoulder].

    - Talent raises the objective while monitoring the emission spectra using the spectrometer and Indium Gallium Arsenide array.  Continue action in next shot.

    - {ADDED} Shot of instrument (spectrometer) while talent stands at computer screen. [MED] Use if possible…not sure where this will fit best

  - Optimal position of the objective will put the focal plane approximately in the middle of the sample volume in the well, which should correspond to a maximum in measured intensity [1-SCREEN].

    - 55030_Landry_SCREEN_5.7.1 – Screen capture movie of microscope coupled computer as talent puts the focal plane approximately in the middle of the sample volume in the well and monitors the emission spectra.

  - For each sample well, record a 1 to 10 second exposure to collect a spectrum [1-SCREEN].  Compare the emission spectra for each well to a control containing just SWNTs [2-MED-over the shoulder] without additional analyte to quantify the fluorescence response [3-CU].

    - 55030_Landry_SCREEN_5.8.1 – Screen capture movie of microscope coupled computer as talent moves to a new sample well and records a 1 to 10 second exposure to collect a spectrum.

    - Computer screen as talent works to quantify the fluorescence response.

    - {ADDED} Shot of well plate moving on microscope stage.  [CU]

- Results: Fluorescence response of nanosensors

  - Absorbance spectrum of (GT)15-DNA nanotube sensors shows multiple peaks corresponding to well dispersed carbon nanotubes of different chirality [1-LM].

    - 55030_Landry_Figure1.png – Authors, please provide an image of the absorbance spectrum of (GT)15-DNA nanotube sensors.  Omit any figure-labels such as (a) – Editors, please highlight the solid curve from left to right as this point is narrated.

  - The near infrared fluorescence of (GT)15-DNA nanotube sensors is shown [1-LM].  Interestingly, fluorescence intensity approximately doubles in response to dopamine [2-LM].

    - 55030_Landry_Figure2.png – Authors, please provide an image of the near infrared fluorescence of (GT)15-DNA nanotube sensors as a solid curve and the plus dopamine curve as a dashed curve.  Omit any figure-labels such as (b) – Editors, please highlight the solid curve from left to right as this point is narrated.

    - 55030_Landry_Figure2.png – Editors, please highlight the dashed curve from left to right as this point is narrated.

  - In this figure, near infrared fluorescence microscopy reveals single (GT)15-DNA nanotube sensors immobilized on the surface of a glass cover slip [1-LM].

    - 55030_Landry_Figure3.png – Authors, please provide a near infrared fluorescence microscopy image of single (GT)15-DNA nanotube sensors immobilized on the surface of a glass cover slip with the sensors pointed out by arrows.  Omit any figure-labels such as (a) – Editors, please highlight the arrows as “single (GT)15-DNA nanotube sensors immobilized on the surface of a glass cover slip” is narrated.

- Conclusion (said by authors on camera)

  - Markita Landry: Moving forward, it is important to test the sensor for its in vivo use through attainment of a comprehensive analyte library of molecular competitors, reversibility of the effect, and response linearity for in vivo relevant concentrations of the analyte [1-MED].

    - Markita speaks toward camera, interview style.

  - Markita Landry: Once mastered, this approach can be used to create libraries of bio-mimetic polymer-based sensors to screen for new near-infrared molecular sensors for biological analytes without known recognition elements [1-MED].

    - Markita speaks toward camera, interview style.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# 55030_Landry_Figure1.png – Authors, please provide an image of the absorbance spectrum of (GT)15-DNA nanotube sensors.  Omit any figure-labels such as (a)

# 55030_Landry_Figure2.png – Authors, please provide an image of the near infrared fluorescence of (GT)15-DNA nanotube sensors as a solid curve and the plus dopamine curve as a dashed curve.  Omit any figure-labels such as (b)

# 55030_Landry_Figure3.png – Authors, please provide a near infrared fluorescence microscopy image of single (GT)15-DNA nanotube sensors immobilized on the surface of a glass cover slip at 100x with the sensors pointed out by arrows.  Omit any figure-labels such as (a)

SCREEN Capture Movies:

# 55030_Landry_SCREEN_5.2.1 – Screen capture movie of microscope-coupled computer as talent adds the dopamine solution to the flow channel and records the change in fluorescence intensity.

# 55030_Landry_SCREEN_5.3.1 – Screen capture movie of microscope-coupled computer as talent washes out the dopamine solution and observes the change in fluorescence of the individual SWNT sensors.

# 55030_Landry_SCREEN_5.7.1 – Screen capture movie of microscope-coupled computer as talent puts the focal plane approximately in the middle of the sample volume in the well and monitors the emission spectra.

# 55030_Landry_SCREEN_5.8.1 – Screen capture movie of microscope-coupled computer as talent moves to a new sample well and records a 1 to 10 second exposure to collect a spectrum.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.