## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Soda glass microscope slides | n/a | n/a | Typical slides are suitable for all experiments
PTFE-coated microtome blades | C.L. Stuckey | DT315R50 | Blade size depends on cryostat blade holder. Check before ordering.
Parafomaldehyde | Sigma-Aldrich | 16005 | Any supplier suitable
Sucrose | n/a | n/a | Commercial grade white sugar is suitable
Phosphate buffer saline | Sigma-Aldrich | P5368 | Pre-mixed sachets listed, can be prepared according to normal laboratory protocols
Xylene | Sigma-Aldrich | 247624 | Any supplier suitable
Ethanol | Sigma-Aldrich | E7023 | Any supplier suitable
Lamb brain | n/a | n/a | Available from most local butchers
Metal salts | n/a | n/a | Use water soluble metal salts containing desired analytes
Omni TH Tissue Homogeniser | Omni Inc | THP115 | Alternative homogenizers are suitable
Polycarbonate homgenizer probes | Omni Inc | TH115-PCRH
Microwave digestion unit | n/a | n/a | Optional. See Section 2
1.5 mL microfuge tubes | TechnoPlas | P4010 | Metal-free polypropylene tubes. Acid washed tubes are also suitable
65% nitric acid | Merk Millipore | 100441 | Trace analysis grade
30% hydrogen peroxide | Sigma-Aldrich | 95321 | Trace analysis grade
10 x 10 mm disposable cryomolds | Ted Pella | 27181
Iso-pentane | Sigma-Aldrich | 76871
Liquid nitrogen | n/a | n/a | Use local supplier
NWR213 Laser Ablation system | ESI Ltd | n/a | Used in these experiments. Other manufacturers suitable, may require modifications to protocol
Agilent 8800 Series ICP-MS | Agilent Technologies | n/a | Used in these experiments. Other manufacturers suitable, may require modifications to protocol
Iolite | Iolite Software | n/a | Available from http://iolite-software.com/. Other methods are available, see protocol
Excel | Microsoft | n/a
IGOR Pro | Wave Metrics | n/a | Avalable from https://www.wavemetrics.com/products/igorpro/igorpro.htm

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=