[image: image1.jpg]Universitdtsmedizin Géttingen, Georg-August-Universitat Stiftung Offentlichen Rechts Vorstand Prof. Dr. Cornelius Frémmel (Forschung & Lehre, Sprecher des Vorstands)
Prof. Dr. Wolfgang Briick (komm. Krankenversorgung) Dipl.-Kffr. (FH) Barbara Schulte (Wirtschaftsfihrung & Administration) Sparkasse Gottingen (260500 01) Kto:448



[image: image2.jpg]UNIVERSITATSMEDIZIN ' UMG
GOTTINGEN =

Universitats-Krebszentrum Géttingen

Comprehensive Cancer Center s CCC







Briefpost
37099 Göttingen

Adresse
Robert-Koch-Straße 40
37075 Göttingen

Telefon Sekretariat
0551 / 39-8943
Fax Sekretariat
0551 / 39-8587
E-Mail
claudia.binder@
med.uni-goettingen.de
Homepage
www.onkologie-haematologie.
med.uni-goettingen.de
Datum
28.07.16
	Zentrum Innere Medizin
Abteilung Hämatologie und Onkologie
Direktor: Prof. Dr. med. Lorenz Trümper

	

	


Universitäts-Krebszentrum Göttingen, Abteilung Hämatologie und Onkologie
Dr. med. C. Binder, Robert-Koch-Str. 40, 37075 Göttingen
Universitätsmedizin Göttingen, 37099 Göttingen

To the Editors and Reviewers

of Journal of Visualized Experiments
Manuscript revision:
	Isolation and characterization of microvesicles from peripheral blood


Dear Editor,

We appreciate the opportunity to resubmit our manuscript entitled “Isolation and characterization of microvesicles from peripheral blood”. We have read the helpful comments/reviews very carefully and improved our manuscript based on the suggestions. Consecutively, you find our point-to-point responses to the comments raised by the editors/reviewers. 
Comments of the Editor: 
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.
The manuscript has been thoroughly proofread by the authors. 
2. Please abbreviate all journal titles.
All journal titles in the reference section were abbreviated. 

3. All tables should be uploaded separately to your Editorial Manager account in the form of an .xls or .xlsx file.

Table 1 was now uploaded as xlsx instead of a pdf file. 

4. Formatting:
-Please use periods to indicate decimal points rather than commas, including in the materials table.
The comma in the materials table was changed to a period. 
-3.8 should be a note under step 3.1, and should not be highlighted for filming.
As suggested, point 3.8 was moved as a note to point 3.1 and the highlighting removed so that it will not be filmed. 
-3.6.1 – Paraformaldehyde is toxic and requires a caution statement. 
A toxicity statement was added in the text: “In case that samples cannot be measured immediately, add 150 µL PBS and 50 µL 4% paraformaldehyde (PFA) to fix samples and store at 4 °C. CAUTION: PFA is toxic. Use gloves and suitable personal protective equipment.”
-References – Please abbreviate all journal titles.
All journal titles in the reference section were abbreviated. 

5. Grammar: Line 55 – Please remove “e.g.”
In line 55 “e.g.” was removed. 

6. Visualization: Section 4 should not be highlighted for filming as insufficient detail is provided in lieu of citing standard protocols. Significant additional detail would be required (gel running conditions, transfer conditions, what buffers are used). This would likely take the protocol above the length limit for filming. If the authors wish to film this method, the detail can be added and alternative methods mentioned in sections 1 & 2, which likely would not be filmed anyway, should be unhighlighted.
As suggested by the Editor, we removed section 4 from filming. 

7. Additional detail is required:
-4.3 – What volume of loading buffer?
The following details were added in point 4.3: “Prepare 10-20 µg of MVs in 22,5µl RIPA buffer, add 7,5µl 4x Laemmli loading buffer…”
-4.6 – Please provide a citation. Alternatively, please provide detail regarding how this is performed.
Based on the suggestion of the Editor, we added more details on this procedure (see new points 4.6-4.12 and Materials table). 
-4.7 – Which antibodies are used here? What are they diluted in?
Details on antibodies (CD9, CD81 and Tubulin primary antibodies as well as HRP-coupled secondary antibodies) as well as the recipe for the TBS-T buffer in which the antibodies are diluted in have been included in the Materials table. Moreover, the former point 4.7 was instead placed as a note at the end of Protocol section 4. 
8. Branding should be removed: Nanosight – Results, Figure 1 legend
The brand name “Nanosight” was replaced by “nanoparticle tracking analysis” in the Results section and legend of Figure 1. 
9. Discussion: Please discuss the critical steps of the protocol.

We added one paragraph in the discussion describing the critical steps for MV isolation and also highlighted several important points in the paragraph about the flow cytometry analyses. 
Comments of Reviewer #1: 
When extracellular vesicles are abbreviated as EV - please use plural "s". Eg. EVs, which also counts for MV /MVs.
The plural “s” was added for abbreviations of EVs, Exos and MVs in the text and Figures 1, 3 and 4. 
In protocol:
Add 1.1: A note should be given to discard the first tube of blood drawn to avoid the stressed cells from the penetration.
We thank the reviewer for his point. In order to clarify this question, we have discussed it with several physicians and haematologists in our large university medical center. However, the conclusion from these discussions was that it is not usual to discard the first tube of blood when drawing peripheral blood from the crook of the arm. In contrast, the first tube of blood is the most precious one that is always used for the most important tests. Maybe the reviewer is referring to drawing blood from a central venous catheter where indeed the first 3-5ml of blood are discarded which is solely due to the architecture of the catheter and not due to biological reasons. Since most of the readers will be drawing blood from the arm, we refrained from including this note in the protocol. 
Add 1.4: it is not serum but plasma you transfer.
“Serum” was changed to “plasma”. 

Add 1.6 note: Which temperature is used for centrifugation?
The temperature for centrifugation was added to the protocol. 

Add 2.1: It is irrelevant which size the centrifugation tube has (13 mL) and the speed of 14.000g is not normally termed "ultra".
We agree with the reviewer that it is better to formulate this step in a more general way and changed the text in point 2.1 and 2.2 accordingly. The term “ultra” was removed. 

Add 2.8: unnecessary information - should be erased.
Point 2.8. was erased. 
Add 3.3: Explain what is being blocked at this stage. 
Unspecific binding of the antibody or the attached fluorochrome to the MV surface can be caused by e.g. electrostatic, glycolipid or protein-protein interactions. These unspecific interactions should be largely covered by incubation with protein (=FCS). Therefore, MV are incubated in PBS+1%FCS in order to block all these unspecific binding sites on the MV surface. In order to clarify this point, 3.3 was slightly modified: “Incubate samples for 30 min at RT in order to block unspecific binding sites at the MV surface and thereby reduce background staining.”
Add 3.8: Unnecessary information at this stage - eventually move it to paragraph 3.1.
As already suggested by the Editor, point 3.8 was moved as a note to point 3.1. 

Discussion:
line 300: Proteomics should be proteomics.
See “track changes” in the manuscript. 
line 304: donor should be donors.
Since “donor” refers to donor “samples”, the addition of an “s” would not be correct. 

Figure 4: It is not correct to use "=platelets"; "=leokocytes" etc. It is not cells analysed. It is markers for EVs originating from "platelets" etc…

In order to make clear that we are dealing with MVs, we changed platelets to platelet MVs, leukocytes to leukocyte MVs etc. A new version of Figure 4 with the changes was uploaded. 
Comments of Reviewer #2: 
It is suggested to give more details, especially in the following sections:
1. preparation of plasma samples - there is no information about the starting sample volume of blood (for this certain procedure) and the sample handling temperature (even if it take less than 30 min. ) is not specified. 
We agree that detail on the exact volume of blood was missing in point 1.1, therefore we added the following specification in the note below: “The recommended volume of blood for subsequent flow cytometry and Western Blot analysis is 5-15 mL.” Furthermore, detailed information on typical yields is displayed in Table 1 and new Table 2. 
1.2) this reviewer would like to know why centrifugation is performed at 4ᵒC since plasma (platelet rich plasma) preparation is usually done at RT
We agree with the reviewer that based on the recommendations of the International Society for Extracellular Vesicles (ISEV) the plasma preparation should be done at room temperature (Witwer et al, J Extracell Vesicles, 2013). We have changed the protocol accordingly. 
1.3) it should be specified what kind of "serum filter" authors use, and why authors transfer serum instead of plasma into the 15ml tube (1.4). 
We thank the Reviewer for his point, in 1.4 the term “serum” was wrongly used and was replaced by “plasma”. As indicated in the text, the serum filter (name changed to “valve” filter) is used to separate the plasma from any remaining blood cells and is specified in the Materials table. 

A second centrifugation step of plasma should be considered to avoid platelets contamination. 
We agree with the reviewer that platelet removal is very important when isolating MVs. However, we already have a second centrifugation step of the plasma included (see point 1.5). In order to clarify this point, we added the following statement in point 1.5: “Centrifuge for 15 min at 1,500 x g, 4° C to pellet larger cell debris and remove remaining platelets.”
2. isolation of MV
2.1) authors pay attention to vesicle -depleted FCS which they used for MV preparation, however, in this reviewer's opinion, they also should specify if vesicle-depleted PBS was used for MV/exosomes washing and FACS analysis.
Since we show in Figure 3B that our routinely used PBS does not contain any MVs, we are not concerned about vesicle contaminations from the PBS and used non-depleted PBS throughout the whole protocol, as indicated. However, to draw the reader’s attention to this point, we included a statement in the discussion that the PBS should be validated not to contain any contaminating vesicles. 
3. Characterization of MV by flow cytometry
Flow cytometry analysis of MV is limited by their size, a threshold setting of the FL parameter/chanel may address this problem
It is true that flow cytometry analysis of MVs is limited by their size and that especially smaller MVs might be lost in the described analysis. We are also aware of several studies that have been presented this year at the annual meeting of the ISEV showing that modulating the threshold settings of the fluorescence channels can allow detection of smaller particles, even exosomes. However, we are concerned that exactly for this reason the modulation might lead to the detection of mixed signals coming from pure, larger MVs and smaller vesicles (i.e. exosomes). Since so far we obtained very reliable results with our flow cytometry settings that we also were able to confirm by other methods such as Western Blotting, and never observed any problems with too few particle counts during the flow cytometry measurements, we would like to refrain from adding these modulations to our protocol. 
3.5) information about multicolor staining possibility is lacking
We thank the reviewer for his point and added a respective note in point 3.4: “Note: It is also possible to perform multicolor flow cytometry by adding multiple antibodies coupled to different fluorochroms.“ Moreover, the possibility of doing multicolour analyses has already been mentioned in the discussion: “If specific MV subpopulations in blood shall be identified with higher specificity, it is possible to perform double stainings against two different antigens present on the respective MVs and only consider all double positive MVs for subsequent analyses.”
3.7) information about the log scale for FSC and SSC is lacking
Information about the logarithmic scale was added in point 3.7: “Reduce the threshold of the flow cytometer to the lowest value possible and search for the MV population using a forward scatter (FSC) versus side scatter (SSC) plot in logarithmic scale.”
Additional Comments to Authors:
Comments/description section need clarification (page 19), there is no information what kind of "serum filters" were used (1.3)
See point 1.3 above. 

Besides the concentration of MV (protein) also information about the MV numbers, concentration, etc. (e.g. NTA analysis) should be included (Table I).
As suggested by reviewer 2 and 3, we calculated the particle concentration in the MV samples from 10 donors by NTA and included this information in the Results section as new Table 2. 

Comments of Reviewer #3: 
The authors state the size of Exosomes as <100nm. Authors should give also a minimum size, eg 30-100nm. The field in general uses 70-150 nm.
We thank the Reviewer for his point and have specified the size of exosomes as 30-100 as shown in Raposo&Stoorvogel, 2013, J Cell Biol. 
The authors did Nanosight analsyis for size anaylsis of the particles. Besides, the concentration could be given as well, to compare the yields of the samples and changes of concentrations as a potential diagnostic tool.
As mentioned above, we included this information as new Table 2. 
Only limited data is available in the literature that proofs DNA-content of EVs. The statement needs to be cited.
We agree with the reviewer that the literature on the DNA content of EV is sparse, however, there are some studies that have already demonstrated the presence not only of RNA, but also of DNA, in EV. The according references have been added to the introduction: “Both types of vesicles are surrounded by a lipid bilayer and contain nucleic acids e.g. DNA, mRNA or miRNA 3–5,…”
The authors perfomred Western BLot analysis to show MV and Exosome specific marker expressions. Tubulin is stated as a MV marker, whereas CD9 and CD81 are stated as Exosome markers. Tubulin as a MV marker could be shown different from other groups (Elham Hosseini-Beheshti et al, 2012, Clotilde Théry et al, 2002) other markers have been described to discriminate between Exosomes and MV in Kowal et al, 2016.
In our manuscript we state that Tubulin, actinin-4 or mitofilin can be used as markers for MVs to discriminate them from Exos (final note in point 4 of the protocol section). The two examples mitofilin and actinin-4 are already taken from the recent study of Clotilde Thery’s lab (Kowal et al, PNAS, 2016) and are also referenced in the manuscript. 
In the Results section we used the established standard markers CD9, CD81 and Tubulin to show that with the protocol it is possible to isolate these two different vesicle populations. Since by using these markers, we can clearly confirm this assumption, we do not think that this point needs further confirmation by testing other markers. 

With regard to Tubulin, we agree with the reviewer that previous studies sometimes found Tubulin also in exosomes. However, these studies focused on exosomes only and thereby did not pay attention to the separation of exosomes from MVs like we did in our study by an additional filtration step (Menck et al, J Mol Cell Biol, 2015). Therefore, we are convinced that the tubulin signals found in the exosome pellet originally stem from contaminations with tubulin-expressing MV and that tubulin, in our hands, is a good marker for separating MV from Exo. 
We are grateful for the thorough evaluation of our protocol by the editor and the reviewers. We feel that the manuscript has now been greatly improved by following the suggestions and hope that the revised version will be suitable for publication. 
With kindest regards,

Claudia Binder

PAGE  


