## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
butterfly needle (21 gauge) | Hospira Deutschland GmbH | 490P29201
Bovine serum albumin Fraction V | Roth | 8076.3 | For 10x TBS weigh 24.2 g Tris base and 80 g NaCl, ad 1 L H2O and adjust pH to 7.6
For 1x TBS-T mix 100 mL 10x TBS with 900 mL H2O and add 1 mL Tween-20
CD235a-PE | Beckman Coulter | A07792 | use 5µl for staining
CD45-FITC | Beckman Coulter | 7782 | use 5µl for staining
CD62E-PE | Biolegend | 336008 | use 0.8µg for staining
CD62P-PE | Biolegend | 304905 | use 0.1µg for staining
CD81 antibody | Biolegend | 349501 | 1:2000 in 5%BSA in TBS-T; use non-reducing conditions for Western Blotting
CD9 antibody | Immunotools | 21270091 | 1:1000 in 5%BSA in TBS-T; use non-reducing conditions for Western Blotting
Chemiluminescence imager ImageQuant LAS-4000 | Fujitsu Life Sciences
DC protein assay kit II | Bio-Rad | 5000112
ECL detection reagent | GE Healthcare | RPN2232
EDTA vacutainers for blood collection | Sarstedt | 01.1605.001
FACSCanto II | BD Biosciences
fetal calf serum (FCS) | Invitrogen | 10091148 | heat-inactivated (30 min, 56°C)
filter 0.22µm | Sarstedt | 83.1826.001
HRP-coupled anti-mouse secondary antibody | santa cruz | sc-2005 | use 1:10,000 in 5% milk powder in TBS-T
HRP-coupled anti-rabbit secondary antibody | santa cruz | sc-2004 | use 1:10,000 in 5% milk powder in TBS-T
4x Laemmli loading buffer, Roti-Load 1 | Roth | K929.1
microfuge SIGMA 1-15K | Sigma Laborzentrifugen
milk powder (Blotting-Grade Blocker, nonfat dry milk) | BioRad | 170-6404
multifuge 3 L-R | Heraeus
NanoSight LM10 | NanoSight Ltd.
PBS, w/o Ca and Mg | Pan biotech | P04-36500
perfusor syringe 50 mL | Braun | 8728844F
Ponceau-S staining solution | PanReac AppliChem | A2935,0500
rotor Sw32.1 Ti for ultracentrifugation (6x 17 mL) | Beckman Coulter
rotor TLA-120.2 for ultracentrifugation (10x 1.5 mL) | Beckman Coulter
tubes for flow cytometry (5 mL, round-bottom) | BD Biosciences | 352054
tubes for ultracentrifugation (15 mL) | Beckman Coulter | 344061
tubes for ultracentrifugation (11* 34 mm) | Beckman Coulter | 343778
Tubulin antibody | Millipore | 05-829 | 1:5000 in 5%BSA in TBST
ultracentrifuge Optima L-80 XP | Beckman Coulter
ultracentrifuge TL-100 | Beckman Coulter
valve filter Seraplas V15 | Sarstedt | 53428

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=