## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
(in order of use)
Cork | VWR Scientific | 23420-708 | Cut into small squares with a sharp blade.
Plastic coverslip | Fisher Scientific | 12-547 | Used to orient the muscle during freezing.
Low temperature thermometer | VWR Scientific | 89370-158
2-methylbutane | Sigma | M32631-4L | Caution: hazardous chemical. Store in flammable cabinet.
Embedding resin: "cryomatrix" | Thermo Fisher Scientific | 6769006 | Other embedding resins can be substituted for cryomatrix.
Cryostat | Thermo Fisher Scientific | microm HM550 with disposable blade carrier | Any working cryostat should be sufficient for the protocol.
Disposable cryostat blade | Thermo Fisher Scientific | 3052835 | Use an appropriate blade or knife for the cryostat to be used.
RNAse decontamination solution: "RNase Zap" | Thermo Fisher Scientific | AM9780
Analytical balance | Mettler Toledo | XS64
Paint brush | Daler Rowney | 214900920 | Use to handle cryosections. Can be found with in stores with simple art supplies.
Razor blade | VWR Scientific | 55411-050
Microscope slide | VWR Scientific | 48311600
RNA organic extraction reagent: TRIzol | Thermo Fisher Scientific | 15596026 | Caution: TRIzol is a hazardous chemical. Note: Only organic extraction reagents are recommended for RNA extraction from skeletal muscle.
18 gauge needle | VWR Scientific | BD305185
22 gauge needle | VWR Scientific | BD305155
26 gauge needle | VWR Scientific | BD305115 | Optional. Can be used for a third round of sample trituration in the RNA extraction protocol.
1 mL syringe | VWR Scientific | BD309659 | For very high value samples, a luer-lok syringe is recommended (e.g. VWR BD309628).
1-bromo-3-chloropentane (BCP) | Sigma | B9673
For 70% ethanol in DEPC water: 200 proof alcohol | Decon Laboratories, Inc. | +M18027161M | Mix 35 ml 200 proof alcohol + 15 mL DEPC water.
For 70% ethanol in DEPC water: DEPC-treated water | Thermo Fisher Scientific | AM9922 | Mix 35 ml 200 proof alcohol + 15 mL DEPC water.
RNA purification kit: PureLink RNA minikit | Thermo Fisher Scientific | 12183018A | Final steps of RNA preparation.
DNase/Rnase-free water | Gibco | 10977 | DEPC-treated water can also be used.
Spectrophotometer: Nanodrop 2000 | Thermo Fisher Scientific | NanoDrop 2000
Dnase I | Thermo Fisher Scientific | AM2222 | Treat purified RNA to remove any DNA contamination before downstream appications.
Hydrophobic pen | Thermo Fisher Scientific | 8899
Dulbecco's PBS | Gibco | 14190 | PBS for immunofluorescence protocol.
Donkey serum | Jackson ImmunoResearch Laoratories, Inc | 017-000-121 | Rehydrate normal donkey serum stock according to the manufacturer's instructions, then dilute an aliquot to 5% for immunofluorescence. Normal goat serum can also be used.
eMHC antibody | University of Iowa Developmental Studies Hybridoma Bank | F1.652
Collagen VI antibody | Fitzgerald Industries | #70R-CR009x
Donkey anti-rabbit AlexaFluor488 | Thermo Fisher Scientific | A21206
Goat anti-mouse IgG1 AlexaFluor546 | Thermo Fisher Scientific | A21123
DAPI (4',6-diamidino-2-phenylindole) | Thermo Fisher Scientific | D1306
Aqueous mounting media: Permafluor | Thermo Fisher Scientific | TA-030-FM | Only use mounting media designed for fluorescent applications with anti-fade properties.
Glass coverslip | VWR Scientific | 16004-314 | Use for mounting slides at the end of immunofluorescence protocl
Image analysis software: ImageProExpress | Media Cybernetics, Inc. | Image-Pro Express, or more advanced products | Freeware ImageJ should also work for manual counting. More advanced software with segmentation abiities may allow partial automation of the process. E.g. ImageProPremier.
Merge and map section images: Photoshop | Adobe | Photoshop
Cardiotoxin | Sigma | C9659 | Sigma C9659 has been discontinued. Other options for cardiotoxin are EMD Millipore #217503; American Custom Chemicals Corp. # BIO0000618; or Ge Script # RP17303; but these have not been validated.
reverse transcription kit: Superscript III First-strand synthesis system | Thermo Fisher Scientific | 18080051 | Any validated, high quality reverse transcription reagents can be used.
Standard PCR: GoTaq Flexi polymerase system | Promega | M8298 | Any validated, high quality Taq polymerase system can be used. If DNA sequencing is to be used for any application downstream of the PCR, then a high fidelity PCR system should be used instead.
SYBR green | Thermo Fisher Scientific | S7585 | For use in qPCR when not using a dedicated qPCR master mix. Use with SuperROX (for Applied Biosystems instruments) and GoTaq Flexi polymerase and buffers.
ROX: SuperROX, 15 mM | BioResearch Technologies, Inc. Novato CA | SR-1000-10 | SuperROX is more stable in the PCR reaction, so it is preferred for use as a qPCR passive reference dye over ROX (carboxy-X-rhodamine). For qPCR with Applied Biosystems instruments
Real-time PCR | Applied Biosystems | 7900HT

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=