Submission ID #: 55136

Editor Name: William Hoston

Videographer name:

Film Date: 

Authors and Affiliations: Kali Prasanna Nayak, Jameesh Keloth, Kohzo Hakuta
Center for Photonic Innovations, University of Electro-Communications, Japan
Title: Fabrication of 1-D Photonic Crystal Cavity on a Nanofiber Using Femtosecond Laser Induced Ablation
Corresponding Author: Kohzo Hakuta (k.hakuta@cpi.uec.ac.jp)

Co-authors:
Authors, please fill out the brief questionnaire below.   

A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)___N_____  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N____ If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ________Step 2.7, 3.2, 4.2, 4.4, 5.4, 5.6_______________
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ___Step 4.3, 4.4____________ These two steps are performed in iteration until a periodic ablation pattern is observed.
E.  Will the filming need to take place in multiple locations? (Y/N) ___N___ If yes, how far apart are the locations? ___________________________________________________
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal (read by voice talent at JoVE):
Authors: Please complete the following statement to describe the overall goal of your protocol. This should consist of a single statement of no more than 40 words.   
The overall goal of this ____(insert methodology type; ex. - procedure, experiment, surgical intervention)          is to _______(insert goal here e.g. observe the effect of your treatment on cell migration using wound healing assays)___________________ . (Intro)

The overall goal of this procedure is to demonstrate the optical fabrication of 1-D photonic crystal cavity on a tapered optical fiber with subwavelength-diameter waist, an optical nanofiber. 
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
Authors: Below are statements we would like you to complete that provide additional information about the significance of your protocol. You may revise the given prompts as necessary to improve the sentence flow.

Please complete the following two statements and indicate the name of the author who will give the statement. If only one author is giving interview statements, the same author may speak both statements. Please restrict the length of each statement to no more than 30 words.
1.1. Author Name: This method can help answer key questions in the _________ field, such as _________________. 
1.2. Author Name: The main advantage of this technique is that ___________.   

Kohzo Hakuta:

We show that thousands of periodic nano-craters are fabricated on an optical nanofiber by irradiating with just a single femtosecond laser pulse. Such a device eventually acts as a fiber-in-line 1-D photonic crystal cavity. 

The strong confinement of the field in such a device may open new possibilities for nanophotonic applications and quantum information science.
C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  
Authors: The following statements may be spoken by additional authors if desired. These statements must be completed by different authors than those who gave the required statements, and no more than one statement can be spoken by each additional author. Please restrict the length of each statement to no more than 30 words. You may revise the given prompts as necessary to better fit your protocol, but please remember that the total introduction length cannot exceed 150 words. 
1.3. Author Name: The implications of this technique extend toward therapy (or diagnosis) of_______, because ________.  
1.4. Author Name: Though this method can provide insight into ____________, it can also be applied to other systems (model organisms, studies of disease, organ systems), such as ____________.
1.5. Author Name: Generally, individuals new to this method will struggle because ______________.
1.6.  Author Name: I/We first had the idea for this method, when I/we ___________.
1.7. Author Name: Visual demonstration of this method is critical as the ______________ steps 

are difficult to learn, because _______________.   

Kali Prasanna Nayak:

A key aspect of such a nanofabrication is that the nanofiber itself acts as a cylindrical lens and focuses the femtosecond laser beam on its shadow surface. 
Moreover, the single-shot fabrication makes it immune to mechanical instabilities and other fabrication imperfections.

D. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!)
Authors: If any individuals will be doing demonstrations on camera but are not assigned a speaking part in the introduction section, please use statement 1.8 to introduce these individuals (for example, the PI introduces a student not speaking on camera). Please use this statement ONLY if the demonstrator has not given an interview statement and limit the statement to no more than 30 words.
1.8. ** Author Name: Demonstrating the procedure will be NAME, a (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).  

1.8.1. Interview style: Author saying the above 

1.8.2. The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.
*Note to the Authors: Goal and interview statements will be edited to conform to the specified number and length restrictions. I am happy to help if you have any questions.

Kohzo Hakuta:
Demonstrating the procedure will be Jameesh Keloth, a grad student from my laboratory.
E.  Ethics title card: (for human subjects or animal work, does not count toward word length total) N/A
Protocol (read by voice talent at JoVE):
Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps – each step being defined as 3 lines of 12 pt text in our formatting style below.  This amounts to 3 pages of protocol text.  The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.     
2. Nanofiber Preparation
2.1. The nanofibers will be produced using a commercial device. The fiber is heated with an oxyhydrogen flame from this nozzle. It is drawn by motorized stages to produce a tapered section. A probe laser and photodiode connected to a computer allow monitoring of the transmission through the fiber. 

2.2. The nanofiber will be made from a length of single mode optical fiber about 210 millimeters long. Producing the nanofiber will require other equipment. To start, have a fiber coating stripper, a source of methanol, and cleanroom wipes. Also have a reservoir of acetone in which the single mode fiber can be immersed.

2.3. To prevent dust from collecting on the nanofiber, be prepared to isolate it quickly.  For the experiment, the nanofiber will be mounted in this nanofiber holder using UV curable epoxy. The holder has a piezo actuator to stretch the fiber. The holder can be closed using the glass plated top cover. 

2.4. Begin with the length of single mode fiber and remove 5 millimeters of the polymer jacket from each end. Use a cleanroom wipe dipped in methanol to clean the ends. Next, immerse the fiber between the two ends in the reservoir of acetone for 10 to 15 minutes. 

2.5. When the fiber jacket has fallen off, remove the fiber from the acetone. Clean the entire fiber with a cleanroom wipe dipped in methanol. Continue by taking the fiber to the commercial nanofiber device. 

2.6. This fiber is mounted on the motorized drives and ready for fabrication to begin. Close the device and start the probe laser to monitor the transmission. (Authors: How and when is the probe laser coupled to the fiber?) Start the gas flow and ignite the flame. Then, load the parameters for a fiber with waist diameter of 500 nanometers and start the fabrication. (Authors: Are the parameters entered on a control panel? At a computer? Can the settings be seen and understood by a viewer?)
The probe laser is always coupled to the fiber through the fiber spool. It can be filmed in Step 2.1.
Yes, the parameters are entered at a computer. We do not want to film the parameter settings, as we are not discussing these parameters in the manuscript.
2.7. After the fabrication, take the nanofiber holder with epoxy to the device. Secure the fiber on either side of the taper using UV curable epoxy. Once it is in place, cover the nanofiber holder with the top cover. Put the sample in a clean box to transfer it the experiment setup. (Authors: Is this clean box just a simple cardboard or wood box?)
The clean box is made using vinyl (plastic) sheets and metal supports.

3. The Femtosecond Laser Setup
3.1. This is the setup for femtosecond laser fabrication, inside a clean booth with HEPA filters. The laser beam enters from above the cylindrical lens. The nanofiber is held in a holder that sits on top of a stage for XYZ translation and one for rotation. (Authors: Are the holder and nanofiber clearly visible when they are in place for the ablation process?)
The holder is visible but not the nanofiber. However one may see the thicker part of the tapered fiber.

3.2. This schematic provides a clearer idea of the apparatus. Laser light passes through a cylindrical lens. [TEXT: Laser: 400 nm center wavelength; 120 fs pulse] It then reaches a phase mask with a pitch of 700 nanometers. The phase mask splits the beam into zero and plus and minus 1 orders. The 0-order is blocked but the plus/minus 1 orders reflect from folding mirrors. The symmetrically placed mirrors lead to the creation of an interference pattern at the nanofiber in its holder. A photodiode allows monitoring of the light in the fiber. (Authors: Should a probe laser be shown in the schematic.) A CCD camera is used to monitor the nanofiber position.
The schematic shows the scattering of femtosecond laser coupled to fiber. Hence showing another probe laser may induce confusion.
4. Femtosecond Laser Fabrication Setup Alignment
4.1. At the setup, use a glass plate for alignment. (Authors: How large is the glass plate?) Put the glass plate on the fabrication bench. With the translation stage, adjust the height of the bench to 15 millimeters. Then, use the laser to irradiate the glass for 5 seconds at a pulse energy of 1 milliJoules. 

The dimensions of the glass plate are 60 X 24 X 0.15 mm.

4.2. Observe the plate to identify the laser induced ablation. A damage-line can be seen on the glass with the ablation pattern. (Authors: What do you mean by “identify the femtosecond laser induced ablation from white light generation”?) Change the horizontal position of the glass by a millimeter to allow for new ablation. Then change the height of the glass surface. Repeat the ablation and assess the damage on the glass plate.

During the ablation process one can clearly see the surface of the glass plate burning. This is what we mean by white light generation.
This can be recorded on the CCD camera. 
4.3. Continue until the strongest ablation line is found. Then, fine tune the tilt angle of the mirrors and the tilt of the stage to maximize ablation. After this optimization, go to the software for the CCD camera. Mark the position of the ablation line in the field of view. (Authors: Can you provide screen shots of the CCD software?)
The screen shot of the CCD image is uploaded (File Name: Step 4.3.jpg). The bright white lines are the ablation lines for different heights of the glass plate. The strongest position is at the center marked by a yellow box.
4.4. Remove the glass plate to test the periodic structure of the ablation. To image the pattern, use a scanning electron microscope. The pattern should show a period structure with a period of 350 nanometers. (Authors: Can you provide an image from the SEM of the glass plate.) [TEXT: See text manuscript for details.]
The SEM of the ablation lines on the glass plate is uploaded (File Name: “Step 4.4.jpg”). 
5. Fabrication of an Apodized Photonic Crystal Cavity
5.1. Begin at the aligned fabrication bench with a properly fabricated tapered fiber in its holder. Mount the fiber holder and couple the fiber to a probe laser. [TEXT: laser power: 1 mW] To be properly aligned, the fiber should be approximately parallel to the ablation line marked in the CCD software.

5.2. Continue by sending a probe laser through the tapered fiber. Use the CCD camera to observe the scattering in the fiber. Use the translation stage to move the fiber along its length and center it on the ablation line. (Authors: Can you provide screen shots of the CCD software?) At this point, turn off the probe laser.

The CCD image is uploaded (File Name: “Step 5.2.jpg”). The bright white line is the scattering from the nanofiber. It is overlapped with the strongest ablation line position marked by the yellow box.
5.3. Now, use the femtosecond laser with a minimum pulse energy. [TEXT: energy < 10 µJ] Translate the fiber in the horizontal plane to overlap with the femtosecond laser beam. Then, translate the fiber in the vertical plane to overlap its position with ablation line. Again, translate in the horizontal plane to maximize the overlap with the femtosecond laser.

5.4. Observe the glass on the top cover of the fiber holder. (Authors: Is this done by eye? Would it be easy for a camera to pick up?) There are two bright spots corresponding to the two first order reflections that provide useful feedback. [TEXT: See text manuscript for possible adjustment of rotation stage.] When the nanofiber is parallel to the ablation line, measure the power through the fiber with the photodiode. Adjust the position in the horizontal plane so as to maximize the power from the scattered femtosecond laser light. (Authors: In manuscript steps 2.2.6 and 2.2.7 the Y-stage is moved to maximize laser and nanofiber overlap. If the video does not show adjustment of the rotation stage, can this be done only once? Is the only difference between those two steps the use of the power meter?)
This is observed using another CCD camera. We have uploaded two movie files (File Name: “Step 5.4 Angle 0 deg.mp4” and “Step 5.4 Angle 0.35 deg.mp4”) recorded in the CCD software. For 0 deg angle one can see the bright spots appear as a flash, whereas for 0.35 deg angle one can see the bright spots moving to one side while we are translating the nanofiber in the Y-axis. 
Yes, steps 2.2.6 and 2.2.7 are similar if the video does not show adjustment of the rotation stage. Only difference is that step 2.2.7 is more precise alignment. We agree that this can be filmed only once. 
5.5. Once the power is maximized, use the rotation stage to rotate the fiber to the angle of fabrication. [TEXT: Fabrication angle: = 0.5º] Next, block the femtosecond laser with the power meter. Adjust the pulse energy so that it is 0.27 milliJoules. (Authors: Can the reading on the power meter be seen by a camera?) Also, change the femtosecond laser setting to be single-shot.

Yes, the power meter reading can be seen by a camera.

5.6. Proceed to remove the power meter from the laser path. Complete the fabrication by firing a single femtosecond laser pulse.
6. Fabrication of Defect-induced Photonic Crystal Cavity 
6.1. Begin with an aligned setup. Check the alignment by observing the ablation on a glass plate.  With the height set to give the strongest ablation line access the region between the cylindrical lens and the phase mask. There, insert a 0.5 millimeter copper wire at the center of the laser beam, just before the phase mask. The wire should be perpendicular to the ablation line. (Authors: Is this correct? How easy is it for a camera to see what takes place in the region? How is the wire supported?)
There is not enough space between the cylindrical lens and the phase mask. The wire is inserted just before the cylindrical lens.
Yes, the wire should be perpendicular to the ablation line.

If we view or image the line focused laser spot on the glass plate, then we can see the shadow of the wire appearing as a dark region.
The wire is supported by a post mounted on a translation stage.  

6.2. Use a femtosecond laser pulse to produce an ablation pattern. [TEXT: pulse: 5 s; power 1 mJ] Check the ablation pattern on the glass plate to see if the wire produces a gap at its center. If not, move the copper wire along the direction of the ablation line. Ablate a new section of the glass plate. Stop when the gap is in the center of the ablation pattern.
6.3. Before continuing, fix the wire in place. (Authors: How is the wire fixed in place?) Remove the glass plate and place the fiber in its holder in the apparatus. Send a probe laser pulse through the fiber and observe the scattering with the CCD camera.

The translation stage supporting the wire is locked at this position.

6.4. The fiber should be approximately parallel to the ablation line recorded in the CCD software. Translate the stage along the fiber length to center the nanofiber on the ablation line before switching off the probe. Turn on the femtosecond pulse and translate the fiber in the horizontal plane perpendicular to its length.

6.5. The goal is to maximize the overlap of the fiber with the femtosecond pulse. Check by measuring the power of the scattered light with the photodiode. After maximizing the overlap, set the angle of fabrication. [TEXT: Fabrication angle:  = 0º]

6.6. Block the femtosecond laser with the power meter. Adjust the pulse energy so that it is 0.27 milliJoules and change the femtosecond laser setting to be single-shot. Remove the power meter from the laser path and fire a single femtosecond laser pulse to complete the fabrication.
SCREEN CAPTURES:  Authors: if we are going to show how techniques are performed on computers, you will be asked to make movie files of the software in use.  Filming screens from a video camera often results in artifacts due to the screen refresh. When you receive the final script, and a shot is listed a “SCREEN CAPTURE” you will need to make a movie file of the actions required.  Make exactly one file per requested SCREEN CAPTURE containing only the requested actions.  Do not bundle several action sequences into one large file.  Name the file according to the shot number.  Then, upload each of these files to your project folder.
OPTIONAL: Author Protocol Interviews: In this section, please submit a brief statement stressing the required technique for the single most critical step of the procedure.  This will be an interview style shot, interjected into the appropriate point of the protocol section of the video. If there is no single critical step, then there is no need to fill this out.  If there are two critical steps, please fill out two statements, but this is the maximum.  Each statement, should be 40 words or less.  Please specify who will speak these parts and which step(s) in the protocol the statement pertains to.  Use the step numbers given above.
Author name, Step            :     (write your 1st  optional statement here)    

Author name, Step            :     (write your 2nd optional statement here)    
7. Results: Transmission Spectra of One-dimensional Photonic Crystal Cavities Produced by Femtosecond Laser Ablation
7.1. This scanning electron microscope image is of a typical segment of a fabricated nanofiber sample. The nano-craters are formed on the shadow side of the fiber. Here, the periodicity is 350 nanometers. The nano-craters are almost circular with a diameter of around 210 nanometers. (Figure 2)

7.2. This transmission spectrum from the apodized photonic crystal cavity is for light polarized along the direction of the nano-craters. The spectrum shows a stop band region from about 794 to 799 nanometers in which the transmission is only a few percent. (Authors: Please provide the panels of Figure 4 separately and without the panel labels (a, b). Also, please remove the insets from both panels.)
The panels of Figure 4 are uploaded. The file names are “Fig 4a.eps” and “Fig 4b.eps”. 
7.3. Compare this with the transmission spectrum of light polarized perpendicular to the nano-crater faces. (Authors: Is this correct?) It also has a stop band, but at longer wavelengths, from approximately 796 to 803 nanometers. Both spectra have peaks that correspond to cavity modes.  

The polarization definition is confusing.  We suggest the following.

Step 7.2.  This transmission spectrum from the apodized photonic crystal cavity is for light polarized perpendicular to the nano-crater faces.

Step 7.3. Compare this with the transmission spectrum of light polarized parallel to the nano-crater faces.

7.4. The transmission spectra for the same polarization modes in the defect-induced photonic crystal cavities show similar behavior. In these cases, the cavity modes are at either side of the stop band. Note that the spacing at shorter wavelengths is much larger than that at larger wavelengths. (Authors: Please provide the panels of Figure 5 separately and without the panel labels (a, b). Also, please remove the insets from both panels.)
The panels of Figure 5 are uploaded. The file names are “Fig 5a.eps” and “Fig 5b.eps”.
RESULTS INSTRUCTIONS FOR AUTHORS:
Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors will ensure that the results are written in our format.   

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.  

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.  The results section is limited to 200 words total. If your results section contains more than 3-4 , please choose the most important figures to illustrate your results. Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image. Each image or movie file supplied for the video results section should be referenced by its specific file name.

Below is an example of results text:

EXAMPLE REPRESENTATIVE RESULTS

5.  Evaluation of Morpholino Injection and Knockdown

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The    
        uninjected control at 48 hours post fertilization looks normal, as expected 
        -LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms
                     containing the first of two EGF-like repeats, exhibit brain edema.


        -LAB MEDIA: 0123_PIname_Figure2.tif


5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization, 
        the heads of the uninjected controls look normal 
        -LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia     
                     -LAB MEDIA: 0123_PIname_Figure4.jpg

Please visit the following URL to see an example of how the results will look when complete:
http://www.jove.com/video/1597/results-example-mably?status=a3603k
8. Conclusion (said by authors on camera)
Authors: Below are statements we would like you to complete that summarize and conclude the video. Please choose the statement(s) you wish to conclude the video and indicate the name of the author who will give the statement. Please restrict the length of each statement to no more than 40 words. You may revise the given prompts as necessary to better fit your protocol.
8.1. Author Name: Once mastered, this technique can be done in ____________ (hours/min) if it is performed properly.
8.2. Author Name: While attempting this procedure, it’s important to remember to ___________.
8.3. Author Name: Following this procedure, other methods like _____________ can be performed in order to answer additional questions like _____________.
8.4. Author Name: After its development, this technique paved the way for researchers in the field of __________ to explore _____________ (subdivision of field, disease, natural phenomenon) in __________ (model organism, patient demographic, organ system).
8.5. Author Name: After watching this video, you should have a good understanding of how to _____________ (restate overall goal of the procedure mention specific steps).
8.6. Author Name: Don't forget that working with _____________ (reagent, pathogen, instrumentation) can be extremely hazardous and precautions such as ____________ should always be taken while performing this procedure.   
*Note to the Authors: Interview statements will be edited to conform to the length restrictions. I am happy to help if you have any questions.
Kohzo Hakuta:

This single-shot optical fabrication method enables faster fabrication, it is immune to mechanical instabilities and ensures high optical quality. Such fabrication technique may be implemented to make various nanophotonic devices from micro/nanofibers and may be adapted to other nanofabrication processes.   

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation
It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.
 2016, Journal of Visualized Experiments


