## Sheet1
Materials
Name | Company | Catalog Number | Comments
Mylar Transparency Masks, 5" | FineLine Plotting
5" Quartz Plates | United Silica | Custom
4" Silicon Wafers, Test Grade | University Wafer | 452
SU8 2005, 2025, 2050 photoresist | Microchem | Y111045, Y111069, Y111072
Az50XT | Integrated Micromaterials | AZ50XT-Q
SU8 Developer | Microchem | Y020100
AZ400K 1:3 Developer | Integrated Micromaterials | AZ400K1:3-CS
Pyrex 150 mm glass dish | Sigma-Aldrich | CLS3140150-1EA
Wafer Petri Dishes, 150 mm | VWR | 25384-326
Wafer Tweezers | Electron Microscopy Sciences (EMS) | 78410-2W
Trichloro(1H,1H,2H,2H-perfluorooctyl)silane (PFOTS) | Sigma-Aldrich | 448931-10G
2" x 3" glass slides | Thomas Scientific | 6686K20
RTV 615 elastomeric base and curing agent PDMS set | Momentive | RTV615-1P
Tygon Tubing, 0.02" O.D. | Fischer Scientific | 14-171-284
Capillary PEEK tubing, 510 um OD, 125 um ID | Zeus | Custom | 360 um PEEK is readily available by Idex (catalog number: 1571)
Cyro 4 mL tube | Greiner Bio-One | 127279
Epoxy, 30-minute | Permatex | 84107
Metal Pins, 0.025" OD, .013" ID | New England Small Tube | NE-1310-02
Poly(ethylene glycol) diacrylate, Mn 700 | Sigma-Aldrich | 455008-100ML
Lithium Phenyl(2,4,6-trimethylbenzoyl)phosphinate photoinitator | Tokyo Chemical Industry Co. | L0290 | We typically synthesize LAP in-house.
HEPES | Sigma-Aldrich | H4034-25G
Light mineral oil | Sigma-Aldrich | 330779-1L
Span-80 | Sigma-Aldrich | 85548
ABIL EM 90 | UPI Chem | 420095
Equiptment | Equivalent equiptment or homebuilt setups will work equally as well
Name | Company | Catalog Number | Comments
Mask Aligner | Karl Suss | MA6
Profilometer | KLA-Tencor | Alpha-Step D500
Spin Coater | Laurell Technologies | WS-650-23 | Any spincoater can be used that accepts 100 mm wafers
Vacuum Dessicator, Bell-Jar Style | Bel-Art | 420100000
Oven | Cole-Palmer | WU-52120-02
UV Spot Curing System with 3 mm LLG option | Dymax | 41015 | UV LEDs, Xenon Arc Lamps, or other UV sources of the same intensity work equally as well
MFCS Microfluidic Fluid Control System | Fluidgent | MFCS-EZ | Syringe pumps, custom pneumatics or other control systems can also be used
Automated control scripting | MATLAB
Hotplate | Tory Pines Scientific | HP30 | Any hotplate with uniform heating (i.e. aluminum or ceramic plates) will suffice.