## Sheet1
REAGENTS:
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1,2-Dioleoyl-sn-glycero-3-phosphocholine (DOPC) | Avanti Polar Lipids | 850375C | Vesicular membrane molecule
Texas Red 1,2-dihexadecanoyl-sn-glycero-3-phosphoethanolamine, triethylammonium salt (Texas Red DHPE) | Thermo Fisher Scientific | T1395MP
Liquid paraffin | Wako Pure Chemical Industries | 128-04375 | Oil, Density (20℃) 0.86 -0.89 g/mL
1 M Tris-HCl (pH 7.5) | Nippon Gene Co. | 318-90225 | Buffer solution
D(+)-Glucose | Wako Pure Chemical Industries | 049-31165 | For outer water solution
Sucrose | Wako Pure Chemical Industries | 196-00015 | For inner water solution
Polybead carboxylate microspheres 1.0 µm | Polysciences | 08226-15 | Nonfluorescent, 2R = 1.0 µm
Fluoresbrite YG carboxylate microspheres 1.0 µm | Polysciences | 15702-10 | Fluorescent, 2R = 1.0 µm
Fluoresbrite YG carboxylate microspheres 0.10 µm | Polysciences | 16662-10 | Fluorescent, 2R = 0.10 µm
Fluorescein sodium salt (uranine) | Sigma Aldrich Japan | F6377-100G
GFP standard (recombinant) | Vector Laboratories | MB-0752
EQUIPMENT:
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Centrifuge 5427R | Eppendorf | 5409000233 | Centrifuge rotor: FA-45-48-11
Physcotron | Microtec Co. | NS-310EIII | Handy micro-homogenizer
Generator shaft | Microtec Co. | NS-4 | Homogenizer attachment
Frame-Seal incubation chambers for in situ PCR and hybridization | Bio-Rad Laboratories | SLF0201 | Hybridization chamber volume: 25 µL Chamber size: 9 × 9 × 0.3 mm
Frame-Seal incubation chambers for in situ PCR and hybridization | Bio-Rad Laboratories | SLF0601 | Hybridization chamber volume: 65 µL Chamber size: 15 × 15 × 0.3 mm
Microman E | Gilson | FD10006 | Pipette for viscous liquid. We measured liquid paraffin by using this.
Inverted microscope | Olympus Co. | IX73
Mirror unit | Olympus Co. | U-FBNA | Excitation filter: 470-495 nm Emission filter: 510-550 nm
Mirror unit | Olympus Co. | U-FMCHE | Excitation filter: 565–585 nm Emission filter: 600-690 nm

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=