## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
3'' <111> silicon wafer | Addison Engineering
SU-8 2000 and 3000 Series | MicroChem
SYLGARD® 184 SILICONE ELASTOMER KIT | ellsworth | 2065622 | Include Sylgard® silicone elastomer base and curing agent
Petri dishes | VWR | 391-1502
Harris Uni-core™ punch(I.D. 0.75 mm) | Sigma-Aldrich | 29002513
24 mm x 40 mm SLIP-RITE® cover glass | Thermo Fisher Scientific | 102440
3M Scotch Tape | ULINE | S-10223
VWR® Razor Blades | VWR | 55411-050
PURE ETHANOL, KOPTEC | VWR | 64-17-5
WHOOSH-DUSTER™ | VWR | 16650-027
5mL BD Syringe (Luer-Lock™Tip) | Becton, Dickinson and Company. | 309646
PTFE Standard Wall Tubing (100ft, AWG Size:22, Nominal ID: 0.028) | COMPONENT SUPPLY COMPANY | SWTT-22
Needle Assortment | COMPONENT SUPPLY COMPANY | NEKIT-1
Desiccator | HACH | 2238300
Lab Oven | FISHER SCIENTIFIC | 13246516GAQ
Nikon TE2000 microscope with 40x and 60x objective | Nikon
Zeiss Axio Observer Z1 with 40x and 60x objective | Zeiss
Syringe Pump | Longerpump | TS-1B

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=