Submission ID #: 55464 

Editor Name: Melissa Ceo
Videographer name: Howard Wan
Film Date: 1/27/2017
Authors and Affiliations: Cristina Lento, Shaolong Zhu, Kerene A. Brown, Ruth Knox, Peter Liuni, Derek J. Wilson 
Department of Chemistry, York University, 

Title: Time-Resolved ElectroSpray Ionization Hydrogen-Deuterium Exchange Mass Spectrometry for Studying Protein Structure and Dynamics
Corresponding Author: 

Derek J. Wilson

Department of Chemistry, 

The Centre for Research in Mass Spectrometry, 

The Centre for Research on Biomolecular Interactions, 

York University

331C Life Sciences Building

4700 Keele St., 

Toronto, ON, Canada, M3J 1P3

Email: dkwilson@yorku.ca 
Phone: (416) 736-2100 ext. 20786
Co-authors:

clento@yorku.ca 
zhushaol@yorku.ca 
kbrown92@yorku.ca 
ruthknox@yorku.ca 
pliuni@yorku.ca 
A.  Will you require JoVE to record video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N  (If you can record images/videos using your own camera/software, then mark No)   If yes, please list make and model of your microscope: _____________________________________________
B.   Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N) N If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 2.1, 2.3, 2.5, 2.14, 2.15
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 2.5
E.  Will the filming need to take place in multiple locations? (Y/N) N 
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal (read by voice talent at JoVE):
Conformational flexibility plays a critical role in protein function, and the overall goal of time-resolved electrospray ionization hydrogen-deuterium exchange mass spectrometry is to probe rapid structural changes that drive function in ordered and disordered proteins. (Intro) 
*Note to the Authors: The interview statements have been edited to conform to the specified number and length restrictions.

B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.1. Kerene A. Brown: This method can help answer key questions in the structural biology field, such as characterization of transient protein conformations not amenable to classical high-resolution techniques like X-ray crystallography and NMR. 
1.2. Ruth Knox: The main advantage of this technique is that reactions can be monitored on the millisecond time scale, which is important for characterizing loop regions, molten globules, and intrinsically disordered proteins.   

C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.3. Cristina Lento: The implications of this technique extend toward therapy of neurodegenerative disorders, because they often involve the misfolding or aggregation of intrinsically disordered protein regions. 

1.4. Cristina Lento: Though this method can provide insight into weakly structured proteins, it can also be applied to other systems, such as enzymes undergoing catalytic turnover and characterization of protein-protein or protein-ligand interactions. 
1.5. Cristina Lento: Generally, individuals new to this method will struggle because of the technical steps involved. 
Protocol (read by voice talent at JoVE):
2. Preparation of the Microfluidic Device

2.1. To begin this procedure, laser-ablate an input channel for introducing the reagents, a proteolysis chamber, and an output channel…[1-MED/WIDE] on a standard PMMA block using a laser engraver [2-CU-TXT]. 

2.1.1. Talent approaches computer connected to laser engraver, sits down, and starts engraving process in the software.
2.1.2. PMMA block in engraver during engraving process. TEXT: See text for details on etching.
2.2. Following this, cut a 30 gauge stainless steel metal capillary into two 10-centimeter pieces using a rotary tool with a 1/64 inch thick cut-off disc [1-MED]. Use sandpaper to smooth the ends of the capillaries, which can be facilitated by viewing under a light microscope [2-MED-over the shoulder]. 
2.2.1. *Film as written.
2.2.2. Talent places one of the capillaries under the microscope, looks into the microscope, and sands the ends of the capillary with the sandpaper.
2.3. Now, melt the capillaries into the etched PMMA block using a soldering iron [1-CU]. 
2.3.1. *Film as written.
2.4. To construct a continuous-flow time-resolved kinetic mixer, insert a 40-centimeter fused silica glass capillary into a 28 gauge stainless steel metal capillary of approximately 15 centimeters [1-MED-over the shoulder-TXT].

2.4.1. *Film as written. TEXT: ID: 75 μm, OD: 150 μm. (Video Editor: overlay should appear at mention of “fused silica glass capillary”). 
NOTE: One of the 2.5.1 takes is actually depicting 2.4.1.

2.5. Next, produce a 2-millimeter notch using low power laser engraver settings on one end of the inner glass capillary and seal this end of the inner glass capillary [1-CU-TXT]. 
2.5.1. Inner glass capillary in engraver during engraving and sealing processes. TEXT: See Figure 2. 
2.6. Kerene A. Brown: This is a critical step that ensures orthogonal and efficient mixing of the protein, which exits through the notch, with the oncoming deuterium. The 2-millimeter intercapillary space between the notch and end of the capillary is the mixing volume.  
2.6.1. Talent speaks toward the camera, interview style.
2.7. Attach appropriate sized fittings and tubing sleeves, and incorporate a tee connector which will be used to deliver deuterium [1A]. Next, line up the inner glass capillary with the end of the metal capillary, which can be facilitated by viewing under a light microscope [1B-MED-over the shoulder].  Mark this as the zero millimeter position [2-MED]. Then, attach a 40-centimeter fused silica glass capillary to the opposite end of the kinetic mixer on the mixing tee [3-CU-TXT]. 
2.7.1 A) ADDED: Talent attaches the appropriate fittings and tubing sleeves to the mixer, with the incorporation of the mixing tee.

2.7.1. B) Talent places capillaries under the microscope, looks into the microscope, and lines up the inner glass capillary with the end of the metal capillary.

2.7.2. *Film as written.
2.7.3. *Film as written. TEXT: ID: 75 μm, OD: 150 μm. (Video Editor: overlay should appear at mention of “fused silica glass capillary”).

2.8. For pepsin activation, suspend 20 milligrams of pepsin from porcine gastric mucosa in 1 milliliter of coupling buffer [1-MED-TXT]. Add 50 milligrams of NHS-activated agarose beads to the re-suspended protease…[2-MED-over the shoulder] and rotate gently overnight at 4 degrees Celsius [3-MED].  
2.8.1. *Film as written. TEXT: 0.1 M NaH2PO4H2O, 0.15 M NaCl, pH 6.0. (Video Editor: overlay should appear at mention of “coupling buffer”).
2.8.2. *Film as written.
2.8.3. Talent places the sample in a shaker in the cold room and turns the shaker on.
2.9. On the following day, spin down the mixture at 1000 x g for 2 minutes at room temperature to collect the resin [1-MED-TXT]. Then, aspirate the unbound protease [2-MED-over the shoulder].
2.9.1. Talent places sample in centrifuge, inputs settings, and turns the centrifuge on. TEXT: 1,000 x g, 2 min, RT.
2.9.2. *Film as written.
2.10. Following this, incubate the agarose in 1 milliliter of blocking buffer and rotate gently at room temperature for 1 hour [1-MED-TXT].   
2.10.1. Talent adds blocking buffer to the sample, places the sample in a shaker, and turns the shaker on. TEXT: 1 M Tris-HCl, pH 6.0. (Video Editor: overlay should appear at mention of “blocking buffer”).

2.11. After collecting the resin and aspirating the blocking buffer, incubate the pepsin-agarose with 1 milliliter of 5 percent acetic acid for 5 minutes [1-MED-TXT]. 
2.11.1. Talent adds acetic acid to the sample. TEXT: 5% CH3COOH, pH 2.4, 5 min.
2.12. Spin down the mixture at 1000 x g for 2 minutes at room temperature to collect the resin [1-MED-over the shoulder]. Then, aspirate the supernatant [2-MED].
2.12.1. Talent places the sample in centrifuge, inputs settings, and turns the centrifuge on, with centrifuge settings visible in frame if possible.
2.12.2. *Film as written.
2.13. After repeating the previous steps for a total of three washes, store the beads in 1 milliliter of acetic acid at 4 degrees Celsius for long-term use [1-MED].
2.13.1. Talent places the sample in the refrigerator.
2.14. To assemble the device, fill a proteolysis chamber with the slurry of activated pepsin-agarose beads in 5 percent acetic acid using a sterile spatula [1-MED-over the shoulder]. 
2.14.1. *Film as written.
2.15. Place the PMMA microfluidic platform in between two blank PMMA blocks as a cover to seal the device, lined with silicone rubber to create a liquid tight seal [1-CU]. Use metallic clamping plates to pressure-seal the device [2-MED-over the shoulder]. Then, attach the mixing tee to the inlet of the device using the appropriate fittings [3].
2.15.1. *Film as written.
2.15.2. *Film as written.
2.15.3. Talent attaches the mixing tee to the device.
2.16. Now, flow 5 percent acetic acid through the acid line at a rate of 10 microliters per minute [1-MED-over the shoulder]. Then, flow 50 millimolar ammonium acetate buffer though the protein line at a rate of 1 microliter per minute [2-CU]. 
2.16.1. Talent sets the syringe pump attached to the acetic acid syringe to the appropriate flow rate and turns the syringe pump on, with flow rate setting visible in frame if possible.
2.16.2. Syringe pump with ammonium acetate buffer syringe as talent sets flow rate and turns the syringe pump on.
2.17. Couple the device to the front end of a modified quadrupole time-of-flight, or Q-TOF mass spectrometer using an adjustable insulated stage to achieve optimal electrospray conditions [1-MED].  
2.17.1. Talent optimizes the position of the device with voltage supplied to the output channel.
3. Time-Resolved ElectroSpray Ionization Hydrogen-Deuterium Exchange

3.1. After setting the ESI-MS conditions, acquire a pepsin only spectrum [1-MED-over the shoulder-TXT] [2-LM].  
3.1.1. Talent at computer acquires spectrum in the software. Frame the over the shoulder shot to accommodate an inset in the top right. TEXT: See text for details on ESI-MS conditions. 

3.1.2. *To be submitted by Author.
3.2. Next, introduce 50 to 100 micromolar of tau or phospho-tau protein at a rate of 1 microliter per minute where the 50 millimolar ammonium acetate buffer was previously flowing [1-MED-TXT]. 
3.2.1. Talent attaches the tau phospho-tau syringe to device and syringe pump, sets the appropriate flow rate and turns the syringe pump on, with flow rate setting visible in frame if possible. TEXT: 50 – 100 μM tau/phospho-tau protein, 1 μL/min.
3.3. After allowing the system to equilibrate for at least 10 minutes before acquisition, acquire a protein only spectrum [1-MED-over the shoulder-TXT] [2-LM].
3.3.1. Talent at computer acquires spectrum in the software. Frame the over the shoulder shot to accommodate an inset in the top right. TEXT: See text for details on ESI-MS conditions. 
3.3.2. *To be submitted by Author.
3.4. While the tau or phospho-tau protein is flowing, introduce deuterium oxide at a rate of 3 microliters per minute via the tee connector…[1-MED] and allow to react in the kinetic mixer [2-MED-over the shoulder-TXT] [3-LM]. 
3.4.1. Talent introduces the deuterium line, sets the syringe pump attached to the deuterium oxide syringe to the appropriate flow rate and turns the syringe pump on on, with flow rate setting visible in frame if possible.
3.4.2. Talent at computer acquires spectrum in the software. Frame the over the shoulder shot to accommodate an inset in the top right. TEXT: Allow system to equilibrate for at least 10 min before acquisition. 
3.4.3. *To be submitted by Author.
3.5. In order to increase the labeling time, manually pull back the position of the inner glass capillary to achieve mixing times of 42 milliseconds to 8 seconds, allowing the system to equilibrate for at least 10 minutes in between each pull-back [1-MED-TXT]. This animation depicts the experimental workflow for a typical experiment. Protein exits through the notch and mixes with the oncoming deuterium. Backbone amide hydrogens are exchanged during the allotted reaction time, which can be varied by pulling back the protein capillary. The reaction is then quenched and digested on a microfluidic platform containing an outlet ESI needle. The resulting spectrum contains digested protein. The percentage of deuterium uptake is calculated for individual peptides, and then mapped onto the 3-D protein structure [2].
3.5.1. *Film as written. TEXT: 42 ms – 8 s.
3.5.2. *Animation submitted by Author.

4. Results: Detection of Protein Structural Changes by Time-resolved ElectroSpray Ionization Hydrogen-Deuterium Mass Spectrometry
4.1. Digestion profiles of native and phospho-tau were similar, yielding a sequence coverage of 77.1 and 71.7 percent, respectively [1-LM]. The best fitting isotopic distributions and the associated deuterium uptake values for four sample peptides are shown here [2-LM]. 
4.1.1. 55464fig3.jpg, 55464fig3large.jpg, 3.tif: Show image a and highlight the numbers to the left of (Native) and (Hyperphos.) at the top of the figure.
4.1.2. 55464fig3.jpg, 55464fig3large.jpg, 3.tif: Show image a and highlight the dots on the spectra at mention of “the best fitting isotopic distribution”. Highlight all of the deuterium percentages in the plots and the reaction times to the right of the figure at mention of “associated deuterium uptake values”.
4.2. Observed kinetic plots of percent deuterium uptake versus time for each peptide are used to extract the observed experimental rate [1-LM]. The calculated “random coil” profiles are shown for comparison and are used to extract the theoretical intrinsic rate [2-LM]. 
4.2.1. 55464fig3.jpg, 55464fig3large.jpg, 3.tif: Show image b and highlight solid lines in each plot. 
4.2.2. 55464fig3.jpg, 55464fig3large.jpg, 3.tif: Show image b and highlight dotted lines in each plot. 
4.3. As expected, no protection factors were observed in the range normally associated with secondary structure elements confirming that native tau exhibits weak internal hydrogen bonding [1-LM]. Significant protection is observed at the N and C-termini, the central domain and the aggregation-prone regions [2-LM]. Degree of protection factors are colored as a rainbow scheme as shown here. [3-LM]. In hyperphosphorylated tau, a general increase is observed in deuterium uptake across the protein. There are significant increases at the N- and C- termini and in the hexapeptide 2 region [4-new LM, check with Michael].
4.3.1. 55464fig4.jpg, 55464fig4large.jpg, 4.tif: Highlight image a.
4.3.2. 55464fig4.jpg, 55464fig4large.jpg, 4.tif: Highlight image b.
4.3.3. 55464fig4.jpg, 55464fig4large.jpg, 4.tif: Highlight the legend on the left. 
5. Conclusion (said by authors on camera)
5.1. Kerene A. Brown: Once mastered, this technique can be done in a few hours if it is performed properly.
5.2. Kerene A. Brown: While attempting this procedure, it’s important to use reagents of HPLC grade or higher to minimize contaminants, as they could interfere with analysis.
5.3. Ruth Knox: Following this procedure, other methods like covalent labeling, chemical crosslinking, computational modeling and docking studies can be performed in order to map three-dimensional protein structures and confirm areas of protein-protein or protein-ligand interactions.

5.4. Ruth Knox: After its development, this technique paved the way for researchers in the field of structural biology to explore intrinsically disordered proteins and domains most common in neurodegenerative disease.
5.5. Cristina Lento: After watching this video, you should have a good understanding of how to use time-resolved electrospray ionization hydrogen-deuterium exchange mass spectrometry to study protein structure and dynamics.

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2016, Journal of Visualized Experiments


